BIDDING DOCUMENTS

for

Procurement of Goods and Related Services for

Supply, Installation, Testing, Commissioning and Maintenance of Real Time Data Acquisition System for the Krishna and Bhima River Basins in Maharashtra

ICB No: HP II / MAHA (SW) / 1

India: Hydrology Project Phase-II

(Loan: 4749-IN)

Chief Engineer,

Hydrology Project,

Government of Maharashtra

Nashik- 422004 (India)

Bidding documents issued to …………………………………………………………………..

…………………………………………………………………………………………………. on …../…../2010.

Superintending Engineer

Hydrology Project Circle (Analysis)

Nashik- 422004 (India)

Table of Contents

PART 1 – Bidding Procedures	1

Section I.  Instructions to Bidders	3

Section II.  Bidding Data Sheet (BDS)	29

Section III.  Evaluation and Qualification Criteria	35

Section IV.  Bidding Forms	49

Section V.  Eligible Countries	65

PART 2 – Supply Requirements	67

Section VI.  Schedule of Requirements	69

PART 3 - Contract	161

Section VII.  General Conditions of Contract	163

Section VIII.  Special Conditions of Contract	183

Section IX.  Contract Forms	187

Figure 1 to 10 (Drawings)	195

Invitation for Bids (IFB)	207

# PART 1 – Bidding Procedures

Section I. Instructions to Bidders

Table of Clauses

A.	General	5

1.	Scope of Bid	5

2.	Source of Funds	5

3.	Fraud and Corruption	5

4.	Eligible Bidders	7

5.	Eligible Goods and Related Services	8

B.	Contents of Bidding Documents	9

6.	Sections of Bidding Documents	9

7.	Clarification of Bidding Documents	10

8.	Amendment of Bidding Documents	10

C.	Preparation of Bids	11

9.	Cost of Bidding	11

10.	Language of Bid	11

11.	Documents Comprising the Bid	11

12.	Bid Submission Form and Price Schedules	11

13.	Alternative Bids	12

14.	Bid Prices and Discounts	12

15.	Currencies of Bid	15

16.	Documents Establishing the Eligibility of the Bidder	15

17.	Documents Establishing the Eligibility of the Goods and Related Services	15

18.	Documents Establishing the Conformity of the Goods and Related Services	15

19.	Documents Establishing the Qualifications of the Bidder	16

20.	Period of Validity of Bids	17

21.	Bid Security and Bid-Securing Declaration	17

22.	Format and Signing of Bid	19

D.	Submission and Opening of Bids	19

23.	Submission, Sealing and Marking of Bids	19

24.	Deadline for Submission of Bids	20

25.	Late Bids	20

26.	Withdrawal,  Substitution, and Modification of Bids	20

27.	Bid Opening	20

E.	Evaluation and Comparison of Bids	22

28.	Confidentiality	22

29.	Clarification of Bids	22

30.	Responsiveness of Bids	22

31.	Non-conformities, Errors, and Omissions	23

32.	Preliminary Examination of Bids	23

33.	Examination of Terms and Conditions; Technical Evaluation	24

34.	Conversion to Single Currency	24

35.	Domestic Preference	24

36.	Evaluation of Bids	24

37.	Comparison of Bids	25

38.	Postqualification of the Bidder	25

39.	Purchaser’s Right to Accept Any Bid, and to Reject Any or All Bids	26

F.	Award of Contract	26

40.	Award Criteria	26

41.	Purchaser’s Right to Vary Quantities at Time of Award	26

42.	Notification of Award	26

43.	Signing of Contract	27

44.	Performance Security	27

| Section I. Instructions to Bidders |
| --- |
|  | General |
| Scope of Bid | The Purchaser indicated in the Bidding Data Sheet (BDS), issues these Bidding Documents for the supply of Goods and Related Services incidental thereto as specified in Section VI, Schedule of Requirements. The name and identification number of this International Competitive Bidding (ICB) procurement are specified in the BDS. The name, identification, and number of lots of are provided in the BDS. Throughout these Bidding Documents: the term “in writing” means communicated in written form (e.g. by mail, e-mail, fax, telex) with proof of receipt; if the context so requires, “singular” means “plural” and vice versa; and “day” means calendar day. |
| Source of Funds | The Borrower or Recipient (hereinafter called “Borrower”) specified in the BDS has applied for or received financing (hereinafter called “funds”) from the International Bank for Reconstruction and Development or the International Development Association (hereinafter called “the Bank”) toward the cost of the project named in the BDS. The Borrower intends to apply a portion of the funds to eligible payments under the contract for which these Bidding Documents are issued. Payments by the Bank will be made only at the request of the Borrower and upon approval by the Bank in accordance with the terms and conditions of the financing agreement between the Borrower and the Bank (hereinafter called the Loan Agreement), and will be subject in all respects to the terms and conditions of that Loan Agreement. The Loan Agreement prohibits a withdrawal from the loan account for the purpose of any payment to persons or entities, or for any import of goods, if such payment or import, to the knowledge of the Bank, is prohibited by decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations. No party other than the Borrower shall derive any rights from the Loan Agreement or have any claim to the funds. |
| Fraud and Corruption | 3.1 It is the Bank’s policy to require that Borrowers (including beneficiaries of Bank loans), as well as bidders, suppliers, and contractors and their agents (whether declared or not), personnel, subcontractors, sub-consultants, service providers and suppliers under Bank-financed contracts, observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, the Bank: (a) defines, for the purposes of this provision, the terms set forth below as follows: (i) “corrupt practice” is the offering, giving, receiving or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party; (ii) “fraudulent practice” is any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; (iii) “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party; (iv) “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party; (v) “obstructive practice” is (aa) deliberately destroying, falsifying, altering or concealing of evidence material to the investigation or making false statements to investigators in order to materially impede a Bank investigation into allegations of a corrupt, fraudulent, coercive or collusive practice; and/or threatening, harassing or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation; or (bb) acts intended to materially impede the exercise of the Bank’s inspection and audit rights provided for under sub-clause 3.1 (e) below. (b) will reject a proposal for award if it determines that the bidder recommended for award has, directly or through an agent, engaged in corrupt, fraudulent, collusive, coercive or obstructive practices in competing for the contract in question; (c) will cancel the portion of the loan allocated to a contract if it determines at any time that representatives of the Borrower or of a beneficiary of the loan engaged in corrupt, fraudulent, collusive, or coercive practices during the procurement or the execution of that contract, without the Borrower having taken timely and appropriate action satisfactory to the Bank to address such practices when they occur; and (d) will sanction a firm or an individual, at any time, in accordance with prevailing Bank’s sanctions proceduresa, including by publicly declaring such firm or individual ineligible, either indefinitely or for a stated period of time:(i) to be awarded a Bank-financed contract; and (ii) to be a nominatedb subcontractor, consultant, manufacturer or supplier, or service provider of an otherwise eligible firm being awarded a Bank-financed contract. 3.2 In further pursuance of this policy, Bidders shall permit the Bank to inspect any accounts and records and other documents relating to the Bid submission and contract performance, and to have them audited by auditors appointed by the Bank. 3.3 Furthermore, Bidders shall be aware of the provision stated in Sub-Clause 35.1 (a) (iii) of the General Conditions of Contract. |
| Eligible Bidders | A Bidder, and all parties constituting the Bidder, may have the nationality of any country, subject to the restrictions specified in Section V, Eligible Countries. A Bidder shall be deemed to have the nationality of a country if the Bidder is a citizen or is constituted, incorporated, or registered and operates in conformity with the provisions of the laws of that country. This criterion shall also apply to the determination of the nationality of proposed subcontractors or suppliers for any part of the Contract including Related Services. A Bidder shall not have a conflict of interest. All bidders found to have conflict of interest shall be disqualified. Bidders may be considered to have a conflict of interest with one or more parties in this bidding process, if they: are or have been associated in the past, with a firm or any of its affiliates which have been engaged by the Purchaser to provide consulting services for the preparation of the design, specifications, and other documents to be used for the procurement of the goods to be purchased under these Bidding Documents ; or (b) submit more than one bid in this bidding process, except for alternative offers permitted under ITB Clause 13. However, this does not limit the participation of subcontractors in more than one bid; 4.3-4.4 A firm that has been sanctioned by the Bank in accordance with the above ITB Clause 3.1 (d), or in accordance with the Bank’s Guidelines on Preventing and Combating Fraud and Corruption in Projects Financed by IBRD Loans and IDA Credits and Grants, shall be ineligible to be awarded a Bank-financed contract, or benefit from a Bank-financed contract, financially or otherwise, during such period of time as the Bank shall determine. The list of debarred firms is available at the electronic address specified in the BDS. 4.5 Government-owned enterprises in the Borrower’s Country shall be eligible only if they can establish that they (i) are legally and financially autonomous, (ii) operate under commercial law, and (iii) are not a dependent agency of the Purchaser. 4.6 Bidders shall provide such evidence of their continued eligibility satisfactory to the Purchaser, as the Purchaser shall reasonably request. |
| Eligible Goods and Related Services | All the Goods and Related Services to be supplied under the Contract and financed by the Bank may have their origin in any country in accordance with Section V, Eligible Countries. For purposes of this Clause, the term “goods” includes commodities, raw material, machinery, equipment, and industrial plants; and “related services” includes services such as insurance, installation, training, and initial maintenance. The term “origin” means the country where the goods have been mined, grown, cultivated, produced, manufactured or processed; or, through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components. |
|  | Contents of Bidding Documents |
| Sections of Bidding Documents | The Bidding Documents consist of Parts 1, 2, and 3, which include all the Sections indicated below, and should be read in conjunction with any Addendum issued in accordance with ITB Clause 8. PART 1 Bidding Procedures Section I. Instructions to Bidders (ITB) Section II. Bidding Data Sheet (BDS) Section III. Evaluation and Qualification Criteria Section IV. Bidding Forms Section V. Eligible Countries |
|  | PART 2 Supply Requirements Section VI. Schedule of Requirements PART 3 Contract Section VII. General Conditions of Contract (GCC) Section VIII. Special Conditions of Contract (SCC) Section IX. Contract Forms |
|  | The Invitation for Bids issued by the Purchaser is not part of the Bidding Documents. The Purchaser is not responsible for the completeness of the Bidding Documents and their addendum, if they were not obtained directly from the Purchaser. The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Documents. Failure to furnish all information or documentation required by the Bidding Documents may result in the rejection of the bid. |
| Clarification of Bidding Documents | A prospective Bidder requiring any clarification of the Bidding Documents shall contact the Purchaser in writing at the Purchaser’s address specified in the BDS. The Purchaser will respond in writing to any request for clarification, provided that such request is received no later than twenty-one (21) days prior to the deadline for submission of bids. The Purchaser shall forward copies of its response to all those who have acquired the Bidding Documents directly from it, including a description of the inquiry but without identifying its source. Should the Purchaser deem it necessary to amend the Bidding Documents as a result of a clarification, it shall do so following the procedure under ITB Clause 8 and ITB Sub-Clause 24.2. 7.2 The bidders or his official representatives are invited to attend a pre-bid meeting which will take place at the address on date and time specified in the BDS. The purpose of the meeting will be to clarify issues and to answer questions on any matter that may be raised at that stage. The bidders are requested to submit any questions in writing or by cable to reach the Purchaser not later than one week before the meeting. The minutes of the meeting, including the text of the questions raised (without identifying the source of enquiry) and the responses given will be transmitted without delay to all bidders who have purchased the bidding documents. Any modification of the bidding documents listed in ITB Sub-Clause 6.1 which may become necessary as a result of the pre-bid meeting shall be made by the Purchaser exclusively through the issue of an Addendum pursuant to ITB Clause 8 and not through the minutes of the pre-bid meeting. Non-attendance at the pre-bid meeting will not be a cause for disqualification of a bidder. |
| Amendment of Bidding Documents | At any time prior to the deadline for submission of bids, the Purchaser may amend the Bidding Documents by issuing addendum. Any addendum issued shall be part of the Bidding Documents and shall be communicated in writing to all who have obtained the Bidding Documents directly from the Purchaser. To give prospective Bidders reasonable time in which to take an addendum into account in preparing their bids, the Purchaser may, at its discretion, extend the deadline for the submission of bids, pursuant to ITB Sub-Clause 24.2 |
|  | Preparation of Bids |
| Cost of Bidding | The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Purchaser shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process. |
| Language of Bid | The Bid, as well as all correspondence and documents relating to the bid exchanged by the Bidder and the Purchaser, shall be written in the language specified in the BDS. Supporting documents and printed literature that are part of the Bid may be in another language provided they are accompanied by an accurate translation of the relevant passages into the language specified in the BDS, in which case, for purposes of interpretation of the Bid, such translation shall govern. |
| Documents Comprising the Bid | The Bid shall comprise the following: Bid Submission Form and the applicable Price Schedules, in accordance with ITB Clauses 12, 14, and 15; Bid Security or Bid-Securing Declaration, in accordance with ITB Clause 21, if required; written confirmation authorizing the signatory of the Bid to commit the Bidder, in accordance with ITB Clause 22; documentary evidence in accordance with ITB Clause 16 establishing the Bidder’s eligibility to bid; documentary evidence in accordance with ITB Clause 17, that the Goods and Related Services to be supplied by the Bidder are of eligible origin; documentary evidence in accordance with ITB Clauses 18 and 30, that the Goods and Related Services conform to the Bidding Documents; documentary evidence in accordance with ITB Clause 19 establishing the Bidder’s qualifications to perform the contract if its bid is accepted; and any other document required in the BDS. |
| Bid Submission Form and Price Schedules | The Bidder shall submit the Bid Submission Form using the form furnished in Section IV, Bidding Forms. This form must be completed without any alterations to its format, and no substitutes shall be accepted. All blank spaces shall be filled in with the information requested. The Bidder shall submit the Price Schedules for Goods and Related Services, according to their origin as appropriate, using the forms furnished in Section IV, Bidding Forms |
| Alternative Bids | Unless otherwise specified in the BDS, alternative bids shall not be considered. |
| Bid Prices and Discounts | The prices and discounts quoted by the Bidder in the Bid Submission Form and in the Price Schedules shall conform to the requirements specified below. All lots and items must be listed and priced separately in the Price Schedules. The price to be quoted in the Bid Submission Form shall be the total price of the bid, excluding any discounts offered. The Bidder shall quote any unconditional discounts and indicate the method for their application in the Bid Submission Form. The terms EXW, CIP, and other similar terms shall be governed by the rules prescribed in the current edition of Incoterms, published by The International Chamber of Commerce, as specified in the BDS. Prices shall be quoted as specified in each Price Schedule included in Section IV, Bidding Forms. The dis-aggregation of price components is required solely for the purpose of facilitating the comparison of bids by the Purchaser. This shall not in any way limit the Purchaser’s right to contract on any of the terms offered. In quoting prices, the Bidder shall be free to use transportation through carriers registered in any eligible country, in accordance with Section V Eligible Countries. Similarly, the Bidder may obtain insurance services from any eligible country in accordance with Section V Eligible Countries. Prices shall be entered in the following manner: For Goods manufactured in the Purchaser’s Country: (i) the price of the Goods quoted EXW (ex works, ex factory, ex warehouse, ex showroom, or off-the-shelf, as applicable), including all customs duties and sales and other taxes already paid or payable on the components and raw material used in the manufacture or assembly of the Goods; (ii) any Purchaser’s Country sales tax and other taxes which will be payable on the Goods if the contract is awarded to the Bidder; and (iii) the price for inland transportation, insurance, and other local services required to convey the Goods to their final destination (Project Site) specified in the BDS. (iv) Bidders may like to ascertain availability of Deemed Export or other Benefits. They are solely responsible for obtaining such benefits which they have considered in their bid and in case of failure to receive such benefits for reasons whatsoever, the Purchaser will not compensate the bidder separately. Where the bidder has quoted taking into account such benefits, he must give all information required for issue of the Project Authority/ Payment and other Certificates in terms of the Import Export Policy or Central Excise Notifications along with his bid in Form Serial No. 8 of Section VI. The Project Authority/payment/other Certificates will be issued on this basis only and no subsequent change will be permitted. Where such Certificates are issued by the Purchaser, Excise Duty will not be reimbursed separately. Bids which do not conform to this provision, will be treated as non-responsive and rejected. For Goods manufactured outside the Purchaser’s Country, to be imported: the price of the Goods, quoted CIP named place of destination, in the Purchaser’s Country, or CIF named port of destination, as specified in the BDS; the price for inland transportation, insurance, and other local services required to convey the Goods from the named place of destination to their final destination (Project Site) specified in the BDS; in addition to the CIP prices specified in (b)(i) above, the price of the Goods to be imported may be quoted FCA (named place of destination) or CPT (named place of destination), if so specified in the BDS; For Goods manufactured outside the Purchaser’s Country, already imported: [For previously imported Goods, the quoted price shall be distinguishable from the original import value of these Goods declared to customs and shall include any rebate or mark-up of the local agent or representative and all local costs except import duties and taxes, which have been and/or have to be paid by the Purchaser. For clarity the bidders are asked to quote the price including import duties, and additionally to provide the import duties and the price net of import duties which is the difference of those values.] the price of the Goods, including the original import value of the Goods; plus any mark-up (or rebate); plus any other related local cost, and custom duties and other import taxes already paid or to be paid on the Goods already imported. the custom duties and other import taxes already paid (need to be supported with documentary evidence) or to be paid on the Goods already imported; the price of the Goods, obtained as the difference between (i) and (ii) above; any Purchaser’s Country sales and other taxes which will be payable on the Goods if the contract is awarded to the Bidder; and the price for inland transportation, insurance, and other local services required to convey the Goods from the named place of destination to their final destination (Project Site) specified in the BDS. for Related Services, other than inland transportation and other services required to convey the Goods to their final destination, whenever such Related Services are specified in the Schedule of Requirements: the price of each item comprising the Related Services (inclusive of any applicable taxes). Prices quoted by the Bidder shall be fixed during the Bidder’s performance of the Contract and not subject to variation on any account, unless otherwise specified in the BDS. A Bid submitted with an adjustable price quotation shall be treated as non responsive and shall be rejected, pursuant to ITB Clause 30. However, if in accordance with the BDS, prices quoted by the Bidder shall be subject to adjustment during the performance of the Contract, a bid submitted with a fixed price quotation shall not be rejected, but the price adjustment shall be treated as zero. If so indicated in ITB Sub-Clause 1.1, bids are being invited for individual contracts (lots) or for any combination of contracts (packages). Unless otherwise indicated in the BDS, prices quoted shall correspond to 100 % of the items specified for each lot and to 100% of the quantities specified for each item of a lot. Bidders wishing to offer any price reduction (discount) for the award of more than one Contract shall specify the applicable price reduction in accordance with ITB Sub-Clause 14.4 provided the bids for all lots are submitted and opened at the same time. |
| Currencies of Bid | The Bidder shall quote in the currency of the Purchaser’s Country the portion of the bid price that corresponds to expenditures incurred in the currency of the Purchaser’s country, unless otherwise specified in the BDS. The Bidder may express the bid price in the currency of any country in accordance with Section V, Eligible countries. If the Bidder wishes to be paid in a combination of amounts in different currencies, it may quote its price accordingly but shall use no more than three currencies in addition to the currency of the Purchaser’s Country. |
| Documents Establishing the Eligibility of the Bidder | To establish their eligibility in accordance with ITB Clause 4, Bidders shall complete the Bid Submission Form, included in Section IV, Bidding Forms. |
| Documents Establishing the Eligibility of the Goods and Related Services | To establish the eligibility of the Goods and Related Services in accordance with ITB Clause 5, Bidders shall complete the country of origin declarations in the Price Schedule Forms, included in Section IV, Bidding Forms. |
| Documents Establishing the Conformity of the Goods and Related Services | To establish the conformity of the Goods and Related Services to the Bidding Documents, the Bidder shall furnish as part of its Bid the documentary evidence that the Goods conform to the technical specifications and standards specified in Section VI, Schedule of Requirements. The documentary evidence may be in the form of literature, drawings or data, and shall consist of a detailed item by item description of the essential technical and performance characteristics of the Goods and Related Services, demonstrating substantial responsiveness of the Goods and Related Services to the technical specification, and if applicable, a statement of deviations and exceptions to the provisions of the Schedule of Requirements. The Bidder shall also furnish a list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the Goods during the period specified in the BDS following commencement of the use of the goods by the Purchaser. Standards for workmanship, process, material, and equipment, as well as references to brand names or catalogue numbers specified by the Purchaser in the Schedule of Requirements, are intended to be descriptive only and not restrictive. The Bidder may offer other standards of quality, brand names, and/or catalogue numbers, provided that it demonstrates, to the Purchaser’s satisfaction, that the substitutions ensure substantial equivalence or are superior to those specified in the Schedule of Requirements. |
| Documents Establishing the Qualifications of the Bidder | The documentary evidence of the Bidder’s qualifications to perform the contract if its bid is accepted shall establish to the Purchaser’s satisfaction: (a) that, if required in the BDS, a Bidder that does not manufacture or produce the Goods it offers to supply shall submit the Manufacturer’s Authorization using the form included in Section IV, Bidding Forms to demonstrate that it has been duly authorized by the manufacturer or producer of the Goods to supply these Goods in the Purchaser’s Country; that, if required in the BDS, in case of a Bidder not doing business within the Purchaser’s Country, the Bidder is or will be (if awarded the contract) represented by an Agent in the country equipped and able to carry out the Supplier’s maintenance, repair and spare parts-stocking obligations prescribed in the Conditions of Contract and/or Technical Specifications; and that the Bidder meets each of the qualification criterion specified in Section III, Evaluation and Qualification Criteria. |
| Period of Validity of Bids | Bids shall remain valid for the period specified in the BDS after the bid submission deadline date prescribed by the Purchaser. A bid valid for a shorter period shall be rejected by the Purchaser as non responsive. In exceptional circumstances, prior to the expiration of the bid validity period, the Purchaser may request bidders to extend the period of validity of their bids. The request and the responses shall be made in writing. If a Bid Security is requested in accordance with ITB Clause 21, it shall also be extended for a corresponding period. A Bidder may refuse the request without forfeiting its Bid Security. A Bidder granting the request shall not be required or permitted to modify its bid, except as provided in ITB Sub-Clause 20.3. In the case of fixed price contracts, if the award is delayed by a period exceeding fifty-six (56) days beyond the expiry of the initial bid validity, the Contract price shall be adjusted as specified in the request for extension. Bid evaluation shall be based on the Bid Price without taking into consideration the above correction. |
| Bid Security | The Bidder shall furnish as part of its bid, a Bid Security or a Bid-Securing Declaration, if required, as specified in the BDS. The Bid Security shall be in the amount specified in the BDS and denominated in the currency of the Purchaser’s Country or a freely convertible currency, and shall: at the bidder’s option, be in the form of either a letter of credit, or a bank guarantee from a banking institution, or a bond issued by a surety; be issued by a reputable institution selected by the bidder and located in any eligible country. If the institution issuing the bond is located outside the Purchaser’s Country, it shall have a correspondent financial institution located in the Purchaser’s Country to make it enforceable. be substantially in accordance with one of the forms of Bid Security included in Section IV, Bidding Forms, or other form approved by the Purchaser prior to bid submission; be payable promptly upon written demand by the Purchaser in case the conditions listed in ITB Clause 21.5 are invoked; be submitted in its original form; copies will not be accepted; remain valid for a period of 28 days beyond the validity period of the bids, as extended, if applicable, in accordance with ITB Clause 20.2; If a Bid Security or a Bid- Securing Declaration is required in accordance with ITB Sub-Clause 21.1, any bid not accompanied by a substantially responsive Bid Security or Bid Securing Declaration in accordance with ITB Sub-Clause 21.1, shall be rejected by the Purchaser as non-responsive. The Bid Security of unsuccessful Bidders shall be returned as promptly as possible upon the successful Bidder’s furnishing of the Performance Security pursuant to ITB Clause 44. The Bid Security may be forfeited or the Bid Securing Declaration executed: if a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Bid Submission Form, except as provided in ITB Sub-Clause 20.2; or if the successful Bidder fails to: sign the Contract in accordance with ITB Clause 43; furnish a Performance Security in accordance with ITB Clause 44. The Bid Security or Bid- Securing Declaration of a JV must be in the name of the JV that submits the bid. If the JV has not been legally constituted at the time of bidding, the Bid Security or Bid-Securing Declaration shall be in the names of all future partners as named in the letter of intent mentioned in Section IV “Bidding Forms,” Bidder Information Form Item 7. 21.7 If a bid security is not required in the BDS, and if a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Letter of Bid Form, except as provided in ITB 20.2, or if the successful Bidder fails to: sign the Contract in accordance with ITB 43; or furnish a performance security in accordance with ITB 44; the Borrower may, if provided for in the BDS, declare the Bidder disqualified to be awarded a contract by the Purchaser for a period of time as stated in the BDS. |
| Format and Signing of Bid | The Bidder shall prepare one original of the documents comprising the bid as described in ITB Clause 11 and clearly mark it “Original.” In addition, the Bidder shall submit copies of the bid, in the number specified in the BDS and clearly mark them “Copy.” In the event of any discrepancy between the original and the copies, the original shall prevail. The original and all copies of the bid shall be typed or written in indelible ink and shall be signed by a person duly authorized to sign on behalf of the Bidder. Any interlineation, erasures, or overwriting shall be valid only if they are signed or initialed by the person signing the Bid. |
|  | Submission and Opening of Bids |
| Submission, Sealing and Marking of Bids | Bidders may always submit their bids by mail or by hand. When so specified in the BDS, bidders shall have the option of submitting their bids electronically. Bidders submitting bids by mail or by hand, shall enclose the original and each copy of the Bid, including alternative bids, if permitted in accordance with ITB Clause 13, in separate sealed envelopes, duly marking the envelopes as “Original” and “Copy.” These envelopes containing the original and the copies shall then be enclosed in one single envelope. The rest of the procedure shall be in accordance with ITB sub-Clauses 23.2 and 23.3. Bidders submitting bids electronically shall follow the electronic bid submission procedures specified in the BDS. The inner and outer envelopes shall: Bear the name and address of the Bidder; be addressed to the Purchaser in accordance with ITB Sub-Clause 24.1; bear the specific identification of this bidding process indicated in ITB 1.1 and any additional identification marks as specified in the BDS; and bear a warning not to open before the time and date for bid opening, in accordance with ITB Sub-Clause 27.1. 23.3 If all envelopes are not sealed and marked as required, the Purchaser will assume no responsibility for the misplacement or premature opening of the bid. |
| Deadline for Submission of Bids | Bids must be received by the Purchaser at the address and no later than the date and time specified in the BDS. The Purchaser may, at its discretion, extend the deadline for the submission of bids by amending the Bidding Documents in accordance with ITB Clause 8, in which case all rights and obligations of the Purchaser and Bidders previously subject to the deadline shall thereafter be subject to the deadline as extended. |
| Late Bids | The Purchaser shall not consider any bid that arrives after the deadline for submission of bids, in accordance with ITB Clause 24. Any bid received by the Purchaser after the deadline for submission of bids shall be declared late, rejected, and returned unopened to the Bidder. |
| Withdrawal, Substitution, and Modification of Bids | A Bidder may withdraw, substitute, or modify its Bid after it has been submitted by sending a written notice in accordance with ITB Clause 23, duly signed by an authorized representative, and shall include a copy of the authorization (the power of attorney) in accordance with ITB Sub-Clause 22.2, (except that no copies of the withdrawal notice are required). The corresponding substitution or modification of the bid must accompany the respective written notice. All notices must be: submitted in accordance with ITB Clauses 22 and 23 (except that withdrawal notices do not require copies), and in addition, the respective envelopes shall be clearly marked “Withdrawal,” “Substitution,” or “Modification;” and received by the Purchaser prior to the deadline prescribed for submission of bids, in accordance with ITB Clause 24. Bids requested to be withdrawn in accordance with ITB Sub-Clause 26.1 shall be returned unopened to the Bidders. No bid may be withdrawn, substituted, or modified in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the Bidder on the Bid Submission Form or any extension thereof. |
| Bid Opening | The Purchaser shall conduct the bid opening in public at the address, date and time specified in the BDS. Any specific electronic bid opening procedures required if electronic bidding is permitted in accordance with ITB Sub-Clause 23.1, shall be as specified in the BDS. First, envelopes marked “Withdrawal” shall be opened and read out and the envelope with the corresponding bid shall not be opened, but returned to the Bidder. If the withdrawal envelope does not contain a copy of the “power of attorney” confirming the signature as a person duly authorized to sign on behalf of the Bidder, the corresponding bid will be opened. No bid withdrawal shall be permitted unless the corresponding withdrawal notice contains a valid authorization to request the withdrawal and is read out at bid opening. Next, envelopes marked “Substitution” shall be opened and read out and exchanged with the corresponding Bid being substituted, and the substituted Bid shall not be opened, but returned to the Bidder. No Bid substitution shall be permitted unless the corresponding substitution notice contains a valid authorization to request the substitution and is read out at bid opening. Envelopes marked “Modification” shall be opened and read out with the corresponding Bid. No Bid modification shall be permitted unless the corresponding modification notice contains a valid authorization to request the modification and is read out at Bid opening. Only envelopes that are opened and read out at Bid opening shall be considered further. All other envelopes shall be opened one at a time, reading out: the name of the Bidder and whether there is a modification; the Bid Prices, including any discounts and alternative offers; the presence of a Bid Security or Bid-Securing Declaration, if required; and any other details as the Purchaser may consider appropriate. Only discounts and alternative offers read out at Bid opening shall be considered for evaluation. No Bid shall be rejected at Bid opening except for late bids, in accordance with ITB Sub-Clause 25.1. The Purchaser shall prepare a record of the Bid opening that shall include, as a minimum: the name of the Bidder and whether there is a withdrawal, substitution, or modification; the Bid Price, per lot if applicable, including any discounts, and alternative offers if they were permitted; and the presence or absence of a Bid Security or Bid-Securing Declaration, if one was required. The Bidders’ representatives who are present shall be requested to sign the attendance sheet. A copy of the record shall be distributed to all Bidders who submitted bids in time, and posted online when electronic bidding is permitted. |
|  | Evaluation and Comparison of Bids |
| Confidentiality | Information relating to the examination, evaluation, comparison, and postqualification of bids, and recommendation of contract award, shall not be disclosed to bidders or any other persons not officially concerned with such process until publication of the Contract Award. Any effort by a Bidder to influence the Purchaser in the examination, evaluation, comparison, and postqualification of the bids or contract award decisions may result in the rejection of its Bid. Notwithstanding ITB Sub-Clause 28.2, from the time of bid opening to the time of Contract Award, if any Bidder wishes to contact the Purchaser on any matter related to the bidding process, it should do so in writing. |
| Clarification of Bids | To assist in the examination, evaluation, comparison and post-qualification of the bids, the Purchaser may, at its discretion, ask any Bidder for a clarification of its Bid. Any clarification submitted by a Bidder in respect to its Bid and that is not in response to a request by the Purchaser shall not be considered. The Purchaser’s request for clarification and the response shall be in writing. No change in the prices or substance of the Bid shall be sought, offered, or permitted, except to confirm the correction of arithmetic errors discovered by the Purchaser in the Evaluation of the bids, in accordance with ITB Clause 31. |
| Responsiveness of Bids | The Purchaser’s determination of a bid’s responsiveness is to be based on the contents of the bid itself. A substantially responsive Bid is one that conforms to all the terms, conditions, and specifications of the Bidding Documents without material deviation, reservation, or omission. A material deviation, reservation, or omission is one that: affects in any substantial way the scope, quality, or performance of the Goods and Related Services specified in the Contract; or limits in any substantial way, inconsistent with the Bidding Documents, the Purchaser’s rights or the Bidder’s obligations under the Contract; or if rectified would unfairly affect the competitive position of other bidders presenting substantially responsive bids. If a bid is not substantially responsive to the Bidding Documents, it shall be rejected by the Purchaser and may not subsequently be made responsive by the Bidder by correction of the material deviation, reservation, or omission. |
| Nonconformities, Errors, and Omissions | Provided that a Bid is substantially responsive, the Purchaser may waive any non-conformities or omissions in the Bid that do not constitute a material deviation. Provided that a bid is substantially responsive, the Purchaser may request that the Bidder submit the necessary information or documentation, within a reasonable period of time, to rectify nonmaterial nonconformities or omissions in the bid related to documentation requirements. Such omission shall not be related to any aspect of the price of the Bid. Failure of the Bidder to comply with the request may result in the rejection of its Bid. Provided that the Bid is substantially responsive, the Purchaser shall correct arithmetical errors on the following basis: if there is a discrepancy between the unit price and the line item total that is obtained by multiplying the unit price by the quantity, the unit price shall prevail and the line item total shall be corrected, unless in the opinion of the Purchaser there is an obvious misplacement of the decimal point in the unit price, in which case the line item total as quoted shall govern and the unit price shall be corrected; if there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected; and if there is a discrepancy between words and figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetic error, in which case the amount in figures shall prevail subject to (a) and (b) above. If the Bidder that submitted the lowest evaluated Bid does not accept the correction of errors, its Bid shall be rejected. |
| Preliminary Examination of Bids | The Purchaser shall examine the bids to confirm that all documents and technical documentation requested in ITB Clause 11 have been provided, and to determine the completeness of each document submitted. The Purchaser shall confirm that the following documents and information have been provided in the Bid. If any of these documents or information is missing, the offer shall be rejected. Bid Submission Form, in accordance with ITB Sub-Clause 12.1; Price Schedules, in accordance with ITB Sub-Clause 12.2; Bid Security or Bid Securing Declaration, in accordance with ITB Clause 21, if applicable. |
| Examination of Terms and Conditions; Technical Evaluation | The Purchaser shall examine the Bid to confirm that all terms and conditions specified in the GCC and the SCC have been accepted by the Bidder without any material deviation or reservation. The Purchaser shall evaluate the technical aspects of the Bid submitted in accordance with ITB Clause 18, to confirm that all requirements specified in Section VI, Schedule of Requirements of the Bidding Documents have been met without any material deviation or reservation. If, after the examination of the terms and conditions and the technical evaluation, the Purchaser determines that the Bid is not substantially responsive in accordance with ITB Clause 30, it shall reject the Bid. |
| Conversion to Single Currency | For evaluation and comparison purposes, the Purchaser shall convert all bid prices expressed in amounts in various currencies into an amount in a single currency specified in the BDS, using the selling exchange rates established by the source and on the date specified in the BDS. |
| Domestic Preference | Domestic preference shall not be a factor in bid evaluation, unless otherwise specified in the BDS. |
| Evaluation of Bids | The Purchaser shall evaluate each bid that has been determined, up to this stage of the evaluation, to be substantially responsive. To evaluate a Bid, the Purchaser shall only use all the factors, methodologies and criteria defined in ITB Clause 36. No other criteria or methodology shall be permitted. To evaluate a Bid, the Purchaser shall consider the following: evaluation will be done for Items or Lots, as specified in the BDS; and the Bid Price as quoted in accordance with clause 14; price adjustment for correction of arithmetic errors in accordance with ITB Sub-Clause 31.3; price adjustment due to discounts offered in accordance with ITB Sub-Clause 14.4; adjustments due to the application of the evaluation criteria specified in the BDS from amongst those set out in Section III, Evaluation and Qualification Criteria; adjustments due to the application of a margin of preference, in accordance with ITB Clause 35 if applicable. The Purchaser’s evaluation of a bid will exclude and not take into account: In the case of Goods manufactured in the Purchaser’s Country, sales and other similar taxes, which will be payable on the goods if a contract is awarded to the Bidder; in the case of Goods manufactured outside the Purchaser’s Country, already imported or to be imported, customs duties and other import taxes levied on the imported Good, sales and other similar taxes, which will be payable on the Goods if the contract is awarded to the Bidder; any allowance for price adjustment during the period of execution of the contract, if provided in the bid. The Purchaser’s evaluation of a bid may require the consideration of other factors, in addition to the Bid Price quoted in accordance with ITB Clause 14. These factors may be related to the characteristics, performance, and terms and conditions of purchase of the Goods and Related Services. The effect of the factors selected, if any, shall be expressed in monetary terms to facilitate comparison of bids, unless otherwise specified in Section III, Evaluation and Qualification Criteria. The factors, methodologies and criteria to be used shall be as specified in ITB 36.3 (d). If so specified in the BDS, these Bidding Documents shall allow Bidders to quote separate prices for one or more lots, and shall allow the Purchaser to award one or multiple lots to more than one Bidder. The methodology of evaluation to determine the lowest-evaluated lot combinations, is specified in Section III, Evaluation and Qualification Criteria. |
| Comparison of Bids | The Purchaser shall compare all substantially responsive bids to determine the lowest-evaluated bid, in accordance with ITB Clause 36. |
| Postqualification of the Bidder | The Purchaser shall determine to its satisfaction whether the Bidder that is selected as having submitted the lowest evaluated and substantially responsive bid is qualified to perform the Contract satisfactorily. The determination shall be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the Bidder, pursuant to ITB Clause 19. An affirmative determination shall be a prerequisite for award of the Contract to the Bidder. A negative determination shall result in disqualification of the bid, in which event the Purchaser shall proceed to the next lowest evaluated bid to make a similar determination of that Bidder’s capabilities to perform satisfactorily. |
| Purchaser’s Right to Accept Any Bid, and to Reject Any or All Bids | The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to Bidders. |
|  | Award of Contract |
| Award Criteria | The Purchaser shall award the Contract to the Bidder whose offer has been determined to be the lowest evaluated bid and is substantially responsive to the Bidding Documents, provided further that the Bidder is determined to be qualified to perform the Contract satisfactorily. |
| Purchaser’s Right to Vary Quantities at Time of Award | At the time the Contract is awarded, the Purchaser reserves the right to increase or decrease the quantity of Goods and Related Services originally specified in Section VI, Schedule of Requirements, provided this does not exceed the percentages specified in the BDS, and without any change in the unit prices or other terms and conditions of the bid and the Bidding Documents. |
| Notification of Award | Prior to the expiration of the period of bid validity, the Purchaser shall notify the successful Bidder, in writing, that its Bid has been accepted. Until a formal Contract is prepared and executed, the notification of award shall constitute a binding Contract. The Purchaser shall publish in UNDB online and in the dgMarket the results identifying the bid and lot numbers and the following information: (i) name of each Bidder who submitted a Bid; (ii) bid prices as read out at bid opening; (iii) name and evaluated prices of each Bid that was evaluated; (iv) name of bidders whose bids were rejected and the reasons for their rejection; and (v) name of the winning Bidder, and the price it offered, as well as the duration and summary scope of the contract awarded. After publication of the award, unsuccessful bidders may request in writing to the Purchaser for a debriefing seeking explanations on the grounds on which their bids were not selected. The Purchaser shall promptly respond in writing to any unsuccessful Bidder who, after Publication of contract award, requests a debriefing. Upon the successful Bidder’s furnishing of the signed Contract Form and performance security pursuant to ITB Clause 44, the Purchaser will promptly notify each unsuccessful Bidder and will discharge its bid security, pursuant to ITB Clause 21.4. |
| Signing of Contract | Promptly after notification, the Purchaser shall send the successful Bidder the Agreement and the Special Conditions of Contract. Within twenty-eight (28) days of receipt of the Agreement, the successful Bidder shall sign, date, and return it to the Purchaser. Notwithstanding ITB 43.2 above, in case signing of the Contract Agreement is prevented by any export restrictions attributable to the Purchaser, to the country of the Purchaser, or to the use of the products/goods, systems or services to be supplied, where such export restrictions arise from trade regulations from a country supplying those products/goods, systems or services, the Bidder shall not be bound by its bid, always provided, always provided, however, that the Bidder can demonstrate to the satisfaction of the Purchaser and of the Bank that signing of the Contact Agreement has not been prevented by any lack of diligence on the part of the Bidder in completing any formalities, including applying for permits, authorizations and licenses necessary for the export of the products/goods, systems or services under the terms of the Contract. |
| Performance Security | Within twenty eight (28) days of the receipt of notification of award from the Purchaser, the successful Bidder, if required, shall furnish the Performance Security in accordance with the GCC, using for that purpose the Performance Security Form included in Section IX Contract forms, or another Form acceptable to the Purchaser. The Purchaser shall promptly notify the name of the winning Bidder to each unsuccessful Bidder and discharge the Bid Securities of the unsuccessful bidders pursuant to ITB Sub-Clause 21.4. Failure of the successful Bidder to submit the above-mentioned Performance Security or sign the Contract shall constitute sufficient grounds for the annulment of the award and forfeiture of the Bid Security or execution of the Bid-Securing Declaration. In that event the Purchaser may award the Contract to the next lowest evaluated Bidder, whose offer is substantially responsive and is determined by the Purchaser to be qualified to perform the Contract satisfactorily. |

| Section II. Bidding Data Sheet (BDS) The following specific data for the goods to be procured shall complement, supplement, or amend the provisions in the Instructions to Bidders (ITB). Whenever there is a conflict, the provisions herein shall prevail over those in ITB. |
| --- |
| ITB Clause Reference | Data |
|  | A. General |
| ITB 1.1 | The Purchaser is The Chief Engineer, Hydrology Project, Nashik-422 004 (India) |
| ITB 1.1 | The name of the ICB: Supply, Installation, Testing, Commissioning and Maintenance of Real Time Data Acquisition System for the Krishna and Bhima River Basins in Maharashtra. Identification Number of the ICB: HP II / MAHA (SW) / 1 The number, identification and names of the lots comprising this ICB: HP II / MAHA (SW) / 1 comprises single lot. |
| ITB 2.1 | The Borrower is Government of India |
| ITB 2.1 | The name of the Project: India: Hydrology Project Phase-II (Loan:4749-IN) |
| ITB 4.3 | A list of firms debarred from participating in World Bank projects is available at http://www.worldbank.org/debarr |
|  | B. Contents of Bidding Documents |
| ITB 7.1 | For Clarification of bid purposes only, the Purchaser’s address is: Attention: The Chief Engineer, Hydrology Project, Water Resources Department, Govt. of Maharashtra Address: Jalvidnyan Bhavan, Dindori Road, MERI Campus City: Nashik Pin Code: 422004 Country: India Telephone: +91 253 2530227 Facsimile No. : +91 253 2530227 Electronic mail address: cehp.nashik@mahahp.org |
| ITB 7.2 | The pre- bid meeting shall take place at: Office of the Chief Engineer, Hydrology Project, Water Resources Department, Govt. of Maharashtra Address: Jalvidnyan Bhavan, Dindori Road, MERI Campus City: Nashik Pin Code: 422004 Country: India Telephone: +91 253 2530227 Facsimile No. : +91 253 2530227 Electronic mail address: cehp.nashik@mahahp.org Date: ….. /…. / 2010 Time: 1400 hrs (IST) |
|  | C. Preparation of Bids |
| ITB 10.1 | The language of the bid is English |
| ITB 11.1(h) | The Bidder shall submit the following additional documents in its bid: Operation and maintenance plan for 5 (five) years in accordance with TS para 5.8. Training course plan, in accordance with TS para 5.9. Manufacturer’s certificate for equipments proposed regarding model is well proven and widely used, produced by a primary brand name and tested in large number of installations including model being in production at least 2 years, in accordance with TS para 5.10.1. Complete specifications for electronic current meters, in accordance with TS para 5.10.16. Diagrams showing the application of grounding and surge protection with model, make and manufacturer, in accordance with TS para 5.10.8. Details and standard drawings for civil works, in accordance with TS para 5.11. |
| ITB 13.1 | Alternative bids shall not be considered. |
| ITB 14.5 | The Incoterms edition is Incoterms 2000 |
| ITB 14.6 (b) (i) and (c) (iii) | Place of Destination : As per details given in Appendix A and drawings showing the locations of the proposed RTDAS stations (Figure 3 to 10). |
| ITB 14.6 (a) (iii);(b)(ii) and (c)(v) | Final destination (Project Site): As per details given in Appendix A and drawings showing the locations of the proposed RTDAS stations (Figure 3 to 10). |
| ITB 14.6 (b) (iii) | In addition to the CIP price specified in ITB 14.6 (b)(i), the price of the Goods manufactured outside the Purchaser’s Country shall be quoted: Incoterms 2000 |
| ITB 14.7 | The prices quoted by the Bidder shall not be adjustable. |
| ITB 14.8 | Prices quoted for each lot shall correspond at least to 100 % of the items specified for each lot. Prices quoted for each item of a lot shall correspond at least to 100 % of the quantities specified for this item of a lot. |
| ITB 14.9 | Bidders may like to ascertain availability of Deemed Export or other Benefits. They are solely responsible for obtaining such benefits which they have considered in their bid and in case of failure to receive such benefits for reasons whatsoever, the Purchaser will not compensate the bidder separately. Where the bidder has quoted taking into account such benefits, he must give all information required for issue of the Project Authority/ Payment and other Certificates in terms of the Import Export Policy or Central Excise Notifications along with his bid in Form Serial No. 8 of Section VI. The Project Authority/payment/other Certificates will be issued on this basis only and no subsequent change will be permitted. Where such Certificates are issued by the Purchaser, Excise Duty will not be reimbursed separately. Bids which do not conform to this provision, will be treated as non-responsive and rejected. |
| ITB 15.1 | The Bidder is required to quote in the currency of the Purchaser’s Country the portion of the bid price that corresponds to expenditures incurred in that currency. |
| ITB 18.3 | Period of time the Goods are expected to be functioning (for the purpose of spare parts): Five years after Final Acceptance. |
| ITB 19.1(a) | Manufacturer’s authorization is required |
| ITB 19.1(b) | After sales service is required |
| ITB 20.1 | The bid validity period shall be 120 days. |
| ITB 21.1 | Bid shall include a Bid Security (issued by bank) included in Section IV Bidding Forms. |
| ITB 21.2 | The amount of the Bid Security shall be Rs. 1.25 Million or its equivalent in a freely convertible currency. |
| ITB 21.7 | If the Bidder incurs any of the actions prescribed in subparagraphs (a) or (b) of this provision, the Borrower will declare the Bidder ineligible to be awarded contracts by the Purchaser for a period of 5 years. |
| ITB 22.1 | In addition to the original of the bid, the number of copies is Five (5) |
|  | D. Submission and Opening of Bids |
| ITB 23.1 | Bidders shall not have the option of submitting their bids electronically. |
| ITB 23.1(b) | If bidders shall have the option of submitting their bids electronically, the electronic bidding submission procedures shall be: Not applicable as Bidders shall not have the option of submitting their bids electronically. |
| ITB 23.2(c) | The inner and outer envelopes shall not bear the additional identification marks. |
| ITB 24.1 | For bid submission purposes only, the Purchaser’s address is : Attention: The Superintending Engineer, Hydrology Project Circle (Analysis) Address: Jalvidnyan Bhavan, Dindori Road, MERI Campus, City: Nashik Pin Code: 422004 Country: India Telephone: +91 253 2533408 Facsimile number: +91 253 2533408 Electronic mail address:sehpca.nashik@mahahp.org The deadline for bid submission is: Date: …/…/2010 Time: 1400 hrs (IST) |
| ITB 27.1 | The bid opening shall take place at: Office of the Superintending Engineer, Hydrology Project Circle (Analysis), Jalvidnyan Bhavan, Dindori Road, MERI Campus, Nashik Pin Code : 422004 Country: India Date: …/…/2010 Time: 1500 hrs (IST) |
| ITB 27.1 | If electronic bid submission is permitted in accordance with ITB sub-clause 23.1, the specific bid opening procedures shall be: Not applicable as Bidders shall not have the option of submitting their bids electronically. |
|  | E. Evaluation and Comparison of Bids |
| ITB 34.1 | Bid prices expressed in different currencies shall be converted in Indian National Rupee (INR) The source of exchange rate shall be State Bank of India BC Selling Rate. The date for the exchange rate shall be deadline for submission of bids |
| ITB 35.1 | Domestic preference shall be a bid evaluation factor. |
| ITB 36.3(a) | Evaluation will be done for whole job included in single lot. Note: If a Price Schedule shows items listed but not priced, their prices shall be assumed to be included in the prices of other items. An item not listed in the Price Schedule shall be assumed to be not included in the bid, and provided that the bid is substantially responsive, the average price of the item quoted by substantially responsive bidders will be added to the bid price and the equivalent total cost of the bid so determined will be used for price comparison. |
| ITB 36.3(d) | The adjustments shall be determined using the following criteria, from amongst those set out in Section III, Evaluation and Qualification Criteria: Deviation in Delivery schedule: No Deviation in payment schedule: No The cost of major replacement components, mandatory spare parts, and service: No The availability in the Purchaser’s Country of spare parts and after-sales services for the equipment offered in the bid: Yes The projected operating and maintenance costs during the life of the equipment: No The performance and productivity of the equipment offered: No |

|  | Specific additional criteria: (1) Evidence / certification for INSAT satellite data radio and antenna communication equipments meeting the requirements of ISRO and all other regulating agencies of India, in accordance with TS para 5.10.2. Evidence / certification for GSM/GPRS data radio and antenna communication equipments meeting the requirements of GSM/GPRS provider and regulating agencies of India, in accordance with TS para 5.10.3. The functionality will have to be demonstrated as part of the bid acceptance process, in accordance with this para. Examples of similar gate sensor installations with comparisons between actual and calculated discharge for the proposed sensor solution, in accordance with TS para 5.2.6. (4) Guarantee by the manufacturer that all equipments being provided will be supported for a minimum of 10 years after the commissioning of RTDAS, in accordance with TS para 3 (16). |
| --- | --- |
| ITB 36.6 | Bidders shall not be allowed to quote separate prices for one or more lots. |
|  | F. Award of Contract |
| ITB 41.1 | The maximum percentage by which quantities may be increased is: Twenty percentage. The maximum percentage by which quantities may be decreased is: Twenty percentage. However, the increase or decrease in the quantity of Goods and related services within the sub-items on account of changes in data communication technology and sensor technology shall not be considered as variation in quantities specified in Schedule of Requirements. |

Section III.  Evaluation and Qualification Criteria

This Section complements the Instructions to Bidders. It contains the criteria that the Purchaser may use to evaluate a bid and determine whether a Bidder has the required qualifications. No other criteria shall be used.

Contents

1. Domestic Preference (ITB 35.1)

2. Evaluation Criteria (ITB 36.3 (d))

3. Multiple Contracts (ITB 36.6)

4. Postqualification Requirements (ITB 38.2)

1. Domestic Preference (ITB 35.1)

If the Bidding Data Sheet so specifies, the Purchaser will grant a margin of preference to goods manufactured in the Purchaser’s country for the purpose of bid comparison, in accordance with the procedures outlined in subsequent paragraphs.

Bids will be classified in one of three groups, as follows:

(a)	Group A:  Bids offering goods manufactured in the Purchaser’s Country, for which (i) labor, raw materials, and components from within the Purchaser’s Country account for more than thirty (30) percent of the EXW price; and (ii) the production facility in which they will be manufactured or assembled has been engaged in manufacturing or assembling such goods at least since the date of bid submission.

(b)	Group B:  All other bids offering Goods manufactured in the Purchaser’s Country.

(c)	Group C:  Bids offering Goods manufactured outside the Purchaser’s Country that have been already imported or that will be imported.

To facilitate this classification by the Purchaser, the Bidder shall complete whichever version of the Price Schedule furnished in the Bidding Documents is appropriate provided, however, that the completion of an incorrect version of the Price Schedule by the Bidder shall not result in rejection of its bid, but merely in the Purchaser’s reclassification of the bid into its appropriate bid group.

The Purchaser will first review the bids to confirm the appropriateness of, and to modify as necessary, the bid group classification to which bidders assigned their bids in preparing their Bid Forms and Price Schedules.

All evaluated bids in each group will then be compared to determine the lowest evaluated bid of each group.  Such lowest evaluated bids shall be compared with each other and if as a result of this comparison a bid from Group A or Group B is the lowest, it shall be selected for the award.

If, as a result of the preceding comparison, the lowest evaluated bid is from Group C, the lowest evaluated bid from Group C bids will then be further compared with the lowest evaluated bid from Group A, after adding to the evaluated bid price of goods offered in the bid for Group C, for the purpose of further comparison only an amount equal to fifteen (15) percent of the CIP (named place of destination) bid price. The lowest-evaluated bid determined from this last comparison shall be selected for the award.”

2. Evaluation Criteria (ITB 36.3 (d))

The Purchaser’s evaluation of a bid may take into account, in addition to the Bid Price quoted in accordance with ITB Clause 14.6, one or more of the following factors as specified in ITB Sub-Clause 36.3(d) and in BDS referring to ITB 36.3(d), using the following criteria and methodologies.

(a)	Delivery schedule: No deviation in delivery schedule

The Goods specified in the List of Goods are required to be delivered within the acceptable time range (after the earliest and before the final date, both dates inclusive) specified in Section VI, Delivery Schedule.  No credit will be given to deliveries before the earliest date, and bids offering delivery after the final date shall be treated as non responsive. Similarly no credit will be given to deliveries within the acceptable period.

(b)	No deviation in payment schedule is allowed.

(c)  Cost of major replacement components, mandatory spare parts, and service: The list of items and quantities of major assemblies, components, and selected spare parts, likely to be required during the initial period of operation specified in the BDS Sub-Clause 18.3 shall be identified by the bidder along with their unit cost and an adjustment equal to the total cost of these items, shall be added to the bid price, for evaluation purposes only. Similarly, the operation and maintenance costs and GSM/GPRS usage fees for five years shall be added to the bid price for bid evaluation only.

(d)	Availability in the Purchaser’s Country of spare parts and after sales services for equipment offered in the bid and an adjustment equal to the cost to the Purchaser of establishing the minimum service facilities and parts inventories, as outlined in BDS Sub-Clause 36.3(d), if quoted separately, shall be added to the bid price, for evaluation purposes only.

(e)	Projected operating and maintenance costs during the life of equipments:No.

(g)	Specific additional criteria

(1)	Evidence / certification for INSAT satellite data radio and antenna communication equipments meeting the requirements of ISRO and all other regulating agencies of India, in accordance with TS para 5.10.2.

- Evidence / certification for GSM/GPRS data radio and antenna communication equipments meeting the requirements of GSM/GPRS provider and regulating agencies of India, in accordance with TS para 5.10.3. The functionality will have to be demonstrated as part of the bid acceptance process, in accordance with this para.

- Examples of similar gate sensor installations with comparisons between actual and calculated discharge for the proposed sensor solution, in accordance with TS para 5.2.6.

(4) Guarantee by the manufacturer that all equipments being provided will be supported for a minimum of 10 years after the commissioning of RTDAS, in accordance with TS para 3 (16).

3. Multiple Contracts (ITB 36.6)

Not applicable as bid consists of single lot.

4. Postqualification Requirements (ITB 38.2)

After determining the lowest-evaluated bid in accordance with ITB Sub-Clause 37.1, the Purchaser shall carry out the postqualification of the Bidder in accordance with ITB Clause 38, using only the requirements specified.  Requirements not included in the text below shall not be used in the evaluation of the Bidder’s qualifications.

(a) 	Financial Capability

The Bidder shall furnish documentary evidence that it meets the following financial requirement(s):

i.            Capacity to have a cash flow - The bidder must provide a letter from a reputed bank stating the availability of liquid assets and/or credit facilities exclusively for this contract only, of no less than INR 75 Million. In the case of joint Ventures, the cumulative liquid assets of the members of joint venture will be considered.

ii.           The Minimum required annual turnover in respect of supply, Installation and commissioning of goods for the successful bidder in any two of the last five (5) years shall be of INR 250 Million. In the case of joint Ventures, the cumulative turnover of the members of joint venture will be considered, but each member of joint venture must at least meet 25% of this requirement.

(b)	Experience and Technical Capacity

The Bidder shall furnish documentary evidence to demonstrate that it meets the following experience requirement(s):

1.               That he has successfully supplied, installed and commissioned same or similar nature of equipments against at least one (01) contract, during last five years. In the case of joint Venture, any one members of the JV, individually or as a member of a joint Venture can meet this requirement. The list of supplied & installed equipments shall include:

i.       Name and address of Purchaser with contact details as email

address/phone No

ii.     Contract no and date.

iii.    Equipments/items ordered/supplied & installed with their respective

quantities.

iv.      Scheduled completion date and actual completion date.

v.        Details of Complaint, if any, received from the purchaser about the

performance of the Equipments/items.

All the equipments need not be in one contract, it could be in different contracts.

In case the bidder is not the manufacturer or producer of the goods it offers to supply and has submitted the bid in accordance with ITB clause 19.1 (a), the bid shall include the above information about the manufacturer whose goods has been offered.

(c)	The Bidder shall furnish documentary evidence to demonstrate that the Goods it offers meet the following usage requirement and also the usage requirements specified in Technical Specifications of this bidding document.

i.      Flow, level, and Canal automation etc.

ii.       Control panels etc.

In case the bidder is not the manufacturer or producer of the goods it offers to supply and has submitted the bid in accordance with ITB clause 19.1 (a), the bid shall include the above information about the manufacturer whose goods has been offered.

(d)       Bids from two or more firms as Joint Venture partners shall comply with the following requirements:

(i)	The bid, and in case of a successful bid the Form of Agreement, shall be signed by all the partners so as to be legally binding on all partners;

(ii)	One of the partners shall be nominated as being in-charge; and this authorization shall be evidenced by submitting a power of attorney signed by legally authorized signatories of all partners;

(iii)	The partner in-charge shall be authorized to incur liabilities and receive instructions for and on behalf of any and all partners of the Joint Venture and the entire execution o the contract including payment shall be done exclusively with the partner in-charge;

(iv)	Bid and performance securities of a Joint Venture must be in the name of Joint Venture submitting the bid;

(v)	All partners of the Joint Venture shall be liable jointly and severally for the execution of the contract in accordance with the contract terms, and a statement to this effect shall be included in the authorization mentioned under (ii) above as well as in the Form of Bid and in the Form of Agreement (in the case of a successful bid);

(vi)	In the event of any default by any partner/partners of Joint Venture, the other partner/partners shall accept the liability and execute the contract in full;

(vii)	Responsibilities in respect of supply of the lead firm as well as each of the Joint Venture partners shall be clearly indicated in the JV agreement;

(viii)	The Joint Venture agreement shall not be cancelled or amended unilaterally without consent of the Purchaser and a statement to this effect should appear in the JV agreement;

(ix)	A copy of the JV agreement entered into by the Joint Venture partners and registered shall be submitted with the bid; Alternatively a letter of intent to execute a JV agreement in the event of a successful bid shall be signed by all partners and submitted with the bid together with a copy of proposed agreement;

(x)	The JV partner in-charge should be responsible for supply of at least up to 40% of the total requirement.  The other partners shall be responsible for not less than 25% of the total requirement.

(xi)	Reports on the financial standing of each partner including profit and loss statements, balance sheets and auditor’s reports for the past 5 years, and an estimated financial projection for the next two years shall be furnished along with the bid;

(xii)	A firm can submit only one bid in the same bidding process, either individually as a bidder or as a partner of a Joint Venture.  A bidder who submits or participates in more than one bid will cause all the bids in which the bidder has participated to be disqualified.

(xiii)           Bids from agents are not acceptable in the case of JV and such bids will be treated as non-responsive.

Proforma 1

FORMAT FOR QUALIFICATION APPLICATION

All the bidders must submit the qualification application along with the information in the following formats together with the relevant documentation:

FINANCIAL BUSINESS AND TECHNICAL CAPABILITY

Name and address of Bidder

Phone:				Telex:				Fax :

1.	Latest Balance Sheet filed with----------------------------on-------------------------- (Attach audited copies of annual accounts of past 5 years. Indigenous bidders to attach copy of accounts audited under section 44 AB of Income Tax Act. In case the accounts are not required to be audited, the information in this statement should be attested by a Chartered Accountant or Manager of a reputable Bank.

2.	Latest Profit & Loss Statement from---------------------------to---------------------filed with--------------------------on----------------------------------------. (Attach an audited copy)

3.	Net Sales (in respective currency)

a)	Current period

b)	During the last financial year

c)	During the year before last financial year

4.	Bidders’ Financial arrangements (check appropriate item)

a)	Own Resources

b)	Bank Credits

c)	others (specify)

5.	Certificate of Financial Soundness from bankers of Bidders.

6.	Income Tax clearance [for Bidders from India only]

Please enclose copies of following documents:

a)	Details of Income Tax registration; and

b)	Last Income Tax clearance certificate

7.	SALES:

a)Value of current orders to be executed in respective currency

i)Govt. Department

ii)Commercial

b)Value of anticipated sales for next financial year in respective currency

i)Govt. Department

ii)Commercial

8.	Licensed capacity to  manufacture

| Description of equipt. | Size cap. | Licensed capacity | No. of Units Manufactured |
| --- | --- | --- | --- |
|  |  |  | Current Yr | Last Yr | 2nd Last Yr |

9.    List, if any of bidder’s rate contract with the following organizations:

|  | Organization | Yes/No | If Yes, date contract finalized |
| --- | --- | --- | --- |
| a. | Directorate General of Supplies and Disposal, Government of India |  |  |
| b. | Central equipment Stores Purchase Organization for state Governments |  |  |
| c. | Others |  |  |

Proforma 2

CAPABILITY STATEMENT OF PERSONNEL, EQUIPMENT,

PLANT AND PAST PERFORMANCE

| 1. | Name and address of the bidder | Phone : |
| --- | --- | --- |
| 2. | Classifications: | 1) | Manufacturer |
|  | Circle what is applicable | 2) | Authorized Agent |
|  |  | 3) | Dealer |
|  |  | 4) | Others, please specify |
| 3. | Plant: |  |  |
| a) | Location |  |  |
| b) | Description, Type and size of building |  |  |
| c) | Is property on lease or free hold? If on lease indicate date of expiry of lease in each case. |

4.

a) Type of equipments relevant to this bid/assignment manufactured and supplied during last 5 years

| Name of equipment | Capacity/ Size | Nos. Manufactured | Projects to which supplies are made | No. of orders on hand | Are the equipments functioning satisfactorily? (Attach a certificate from the Purchaser) |
| --- | --- | --- | --- | --- | --- |

b)	Type of equipments relevant to this bid/assignment manufactured, supplied, installed and commissioned during last 5 years.

| Name of equipment | Capacity/ Size | Nos. Manufactured | Projects to which supplied, installed and commissioned | No. of orders on hand | Are the equipments functioning satisfactorily? (Attach a certificate from the Purchaser) |
| --- | --- | --- | --- | --- | --- |

5.	a)	Types of equipments relevant to this bid/assignment supplied during last 5 years other than those covered under 4 (a) & 4 (b) above.

| Name of equipment | Capacity/ Size and model | Nos. Manufactured and Country of origin | Total Nos. supplied in India | Projects to which supplies are made | No. of orders on hand | Are the equipments functioning satisfactorily? (Attach a certificate from the Purchaser) |
| --- | --- | --- | --- | --- | --- | --- |

b)	Type of equipments relevant to this bid/assignment supplied, installed and commissioned during last 5 years other than those covered under 4 (a) and (b) above

| Name of equipment | Capacity/ Size and model | Nos. Manufactured and Country of origin | Total Nos. supplied in India | Projects to which supplies are made | No. of orders on hand | Are the equipments functioning satisfactorily? (Attach a certificate from the Purchaser) |
| --- | --- | --- | --- | --- | --- | --- |

6.	Plant facilities:

|  |  | Sq. Meter | Remarks |
| --- | --- | --- | --- |
| a) | Space available for manufacture | ------------------ |  |
| b) | Space available for storage | ------------------ |  |
| c) | Space available for inspection items offered | ------------------ |  |
| d) | Space available for storage items offered | ------------------ |  |
| e) | Are buildings fire resistant? |  | Yes/ No |
| f) | Are premises approved by Municipal fire Production? |  | -------------- |
| g) | Are buildings under Municipal fire Productions? |  | -------------- |
| h) | Are power and fuel supply adequate to meet production requirements? |  | -------------- |
| i) | Are adequate transportation facilities available? |  | -------------- |
| j) | Are safety measures adequate for performance of proposed contract? |  | -------------- |
| k) | Is adequate material handling available? |  | -------------- |

7.	Details of testing / Quality Control facilities available

| a. | List testing-equipment available |  |
| --- | --- | --- |
| b. | Give details of tests which can be carried out on items offered. |  |
| c. | Details of the testing / Quality Control organization available. |  |

8.	Personnel/ Organization:

1.	Production

2.	Marketing

3.	Installation and Commissioning

4.	Service

5.	Spare parts

6.	Administrative

9.	Nearest service center to Purchaser:

Location.......................................................

Phone No............................................................

10.	Details of organization at Service Centre

| a) | No. of skilled employees | ------------------------------------ |
| --- | --- | --- |
| b) | No. of unskilled employees | ----------------------------------- |
| c) | No. of engineering employees | ----------------------------------- |
| d) | No. of administrative employees | ----------------------------------- |
| e) | List of special repair/ workshop facility available | ----------------------------------- |
| f) | The storage space available for spare parts | ----------------------------Sq.m |
| g) | Value of minimum stock of spares available at all the service centers in respective currency | ----------------------------------- |
| h) | List of the models/ types by number of equipment serviced by the center in last 2 years. |

11.	Names of two buyers to whom similar equipment are supplied installed and commissioned in the past and to whom reference may be made by the purchaser regarding the bidder’s technical and delivery ability :

1. -----------------------------------------------------------------------

2. -----------------------------------------------------------------------

12.	List of components usually subcontracted..........................................................................................................

13.	Schedules for furnishing technical data and certified drawings after receipt of orders.......................................................................................................................

14.	Workload as percentage of total capacity for the current and forthcoming financial year on quarterly basis.........................................................................................................................

Section IV. Bidding Forms

Table of Forms

Bidder Information Form	51

Joint Venture Partner Information Form	52

Bid Submission Form	53

Price Schedule: Goods Manufactured Outside the Purchaser’s Country, to be Imported	57

Price Schedule: Goods Manufactured Outside the Purchaser’s Country, already imported	58

Price Schedule: Goods Manufactured in the Purchaser’s Country	59

Price and Completion Schedule - Related Services	60

Bid Security (Bank Guarantee) 	61

Bid Security (Bid Bond)	62

Bid-Securing Declaration 	63

Manufacturer’s Authorization 	64

Bidder Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid Submission]

ICB No.: [insert number of bidding process]

Page ________ of_ ______ pages

1. Bidder’s Legal Name [insert Bidder’s legal name]

2. In case of JV, legal name of each party: [insert legal name of each party in JV]

3. Bidder’s actual or intended Country of Registration: [insert actual or intended Country of Registration]

4. Bidder’s Year of Registration: [insert Bidder’s year of registration]

5. Bidder’s Legal Address in Country of Registration: [insert Bidder’s legal address in country of registration]

6. Bidder’s Authorized Representative Information Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address]

7. Attached are copies of original documents of: [check the box(es) of the attached original documents] ( Articles of Incorporation or Registration of firm named in 1, above, in accordance with ITB Sub-Clauses 4.1 and 4.2. In case of JV, letter of intent to form JV or JV agreement, in accordance with ITB Sub-Clause 4.1. In case of government owned entity from the Purchaser’s country, documents establishing legal and financial autonomy and compliance with commercial law, in accordance with ITB Sub-Clause 4.5.

Joint Venture Partner Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below].

Date: [insert date (as day, month and year) of Bid Submission]

ICB No.: [insert number of bidding process]

Page ________ of_ ______ pages

1. Bidder’s Legal Name: [insert Bidder’s legal name]

2. JV’s Party legal name: [insert JV’s Party legal name]

3. JV’s Party Country of Registration: [insert JV’s Party country of registration]

4. JV’s Party Year of Registration: [insert JV’s Part year of registration]

5. JV’s Party Legal Address in Country of Registration: [insert JV’s Party legal address in country of registration]

6. JV’s Party Authorized Representative Information Name: [insert name of JV’s Party authorized representative] Address: [insert address of JV’s Party authorized representative] Telephone/Fax numbers: [insert telephone/fax numbers of JV’s Party authorized representative] Email Address: [insert email address of JV’s Party authorized representative]

7. Attached are copies of original documents of: [check the box(es) of the attached original documents] ( Articles of Incorporation or Registration of firm named in 2, above, in accordance with ITB Sub-Clauses 4.1 and 4.2. In case of government owned entity from the Purchaser’s country, documents establishing legal and financial autonomy and compliance with commercial law, in accordance with ITB Sub-Clause 4.5.

Bid Submission Form

[The Bidder shall fill in this Form in accordance with the instructions indicated No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid Submission]

ICB No.: [insert number of bidding process]

Invitation for Bid No.: [insert No of IFB]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To:  [insert complete name of Purchaser]

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Documents, including Addenda No.: ______________[insert the number and issuing date of each Addenda];

- We offer to supply in conformity with the Bidding Documents and in accordance with the Delivery Schedules specified in the Schedule of Requirements the following Goods and Related Services _______________________ [insert a brief description of the Goods and Related Services];

- The total price of our Bid, excluding any discounts offered in item (d) below, is: ______________________________[insert the total bid price in words and figures, indicating the various amounts and the respective currencies];

- The discounts offered and the methodology for their application are:

Discounts.  If our bid is accepted, the following discounts shall apply._______  [Specify in detail each discount offered and the specific item of the Schedule of Requirements to which it applies.]

Methodology of Application of the Discounts. The discounts shall be applied using the following method:__________ [Specify in detail the method that shall be used to apply the discounts];

- Our bid shall be valid for the period of time specified in ITB Sub-Clause 20.1, from the date fixed for the bid submission deadline in accordance with ITB Sub-Clause 24.1, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- If our bid is accepted, we commit to obtain a performance security in accordance with ITB Clause 44 and GCC Clause 18 for the due performance of the Contract;

- We, including any subcontractors or suppliers for any part of the contract, have nationality from eligible countries________ [insert the nationality of the Bidder, including that of all parties that comprise the Bidder, if the Bidder is a JV, and the nationality each subcontractor and supplier]

- We have no conflict of interest in accordance with ITB Sub-Clause 4.2;

- Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the contract—has not been declared ineligible by the Bank, under the Purchaser’s country laws or official regulations, in accordance with ITB Sub-Clause 4.3;

- The following commissions, gratuities, or fees have been paid or are to be paid with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, its full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity]

| Name of Recipient | Address | Reason | Amount |
| --- | --- | --- | --- |

(If none has been paid or is to be paid, indicate “none.”)

(k)	We understand that this bid, together with your written acceptance thereof included in your notification of award, shall constitute a binding contract between us, until a formal contract is prepared and executed.

(l)	We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

Signed:_______________ [insert signature of person whose name and capacity are shown]

In the capacity of _______[insert legal capacity of person signing the Bid Submission Form]

Name:____________ [insert complete name of person signing the Bid Submission Form]

Duly authorized to sign the bid for and on behalf of:_____ [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

Price Schedule Forms

[The Bidder shall fill in these Price Schedule Forms in accordance with the instructions indicated.  The list of line items in column 1 of the Price Schedules shall coincide with the List of Goods and Related Services specified by the Purchaser in the Schedule of Requirements.]

| Price Schedule: Goods Manufactured Outside the Purchaser’s Country, to be Imported |
| --- |
|  | (Group C bids, goods to be imported) Currencies in accordance with ITB Sub-Clause 15 | Date:_________________________ ICB No: _____________________ Alternative No: ________________ Page N( ______ of ______ |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| Line Item N( | Description of Goods | Country of Origin | Delivery Date as defined by Incoterms | Quantity and physical unit | Unit price cip [insert place of destination] in accordance with ITB 14.6(b)(i) | CIP Price per line item (Col. 5x6) | Price per line item for inland transportation and other services required in the Purchaser’s country to convey the Goods to their final destination specified in BDS | Total Price per Line item (Col. 7+8) |
| [insert number of the item] | [insert name of good] | [insert country of origin of the Good] | [insert quoted Delivery Date] | [insert number of units to be supplied and name of the physical unit] | [insert unit price CIP per unit] | [insert total CIP price per line item] | [insert the corresponding price per line item] | [insert total price of the line item] |
|  | Total Price |  |
| Name of Bidder [insert complete name of Bidder] Signature of Bidder [signature of person signing the Bid] Date [Insert Date] |

| Price Schedule: Goods Manufactured Outside the Purchaser’s Country, already imported |
| --- |
|  | (Group C bids, Goods already imported) Currencies in accordance with ITB Sub-Clause 15 | Date:_________________________ ICB No: _____________________ Alternative No: ________________ Page N( ______ of ______ |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| Line Item N( | Description of Goods | Country of Origin | Delivery Date as defined by Incoterms | Quantity and physical unit | Unit price including Custom Duties and Import Taxes paid, in accordance with ITB 14.6(c)(i) | Custom Duties and Import Taxes paid per unit in accordance with ITB 14.6(c)(ii) , [to be supported by documents] | Unit Price net of custom duties and import taxes, in accordance with ITB 14.6 (c) (iii) (Col. 6 minus Col.7) | Price per line item net of Custom Duties and Import Taxes paid, in accordance with ITB 14.6(c)(i) (Col. 5(8) | Price per line item for inland transportation and other services required in the Purchaser’s country to convey the goods to their final destination, as specified in BDS in accordance with ITB 14.6 (c)(v) | Sales and other taxes paid or payable per item if Contract is awarded (in accordance with ITB 14.6(c)(iv) | Total Price per line item (Col. 9+10) |
| [insert number of the item] | [insert name of Goods] | [insert country of origin of the Good] | [insert quoted Delivery Date] | [insert number of units to be supplied and name of the physical unit] | [insert unit price per unit] | [insert custom duties and taxes paid per unit] | [insert unit price net of custom duties and import taxes] | [ insert price per line item net of custom duties and import taxes] | [insert price per line item for inland transportation and other services required in the Purchaser’s country] | [insert sales and other taxes payable per item if Contract is awarded] | [insert total price per line item] |
|  | Total Bid Price |  |
| Name of Bidder [insert complete name of Bidder] Signature of Bidder [signature of person signing the Bid] Date [insert date] |

| Price Schedule: Goods Manufactured in the Purchaser’s Country |
| --- |
| Purchaser’s Country ______________________ | (Group A and B bids) Currencies in accordance with ITB Sub-Clause 15 | Date:_________________________ ICB No: _____________________ Alternative No: ________________ Page N( ______ of ______ |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Line Item N( | Description of Goods | Delivery Date as defined by Incoterms | Quantity and physical unit | Unit price EXW | Total EXW price per line item (Col. 4(5) | Price per line item for inland transportation and other services required in the Purchaser’s Country to convey the Goods to their final destination | Cost of local labor, raw materials and components from with origin in the Purchaser’s Country % of Col. 5 | Sales and other taxes payable per line item if Contract is awarded (in accordance with ITB 14.6(a)(ii) | Total Price per line item (Col. 6+7) |
| [insert number of the item] | [insert name of Good] | [insert quoted Delivery Date] | [insert number of units to be supplied and name of the physical unit] | [insert EXW unit price] | [insert total EXW price per line item] | [insert the corresponding price per line item] | [Insert cost of local labor, raw material and components from within the Purchase’s country as a % of the EXW price per line item] | [insert sales and other taxes payable per line item if Contract is awarded] | [insert total price per item] |
|  | Total Price |  |
| Name of Bidder [insert complete name of Bidder] Signature of Bidder [signature of person signing the Bid] Date [insert date] |

| Price and Completion Schedule - Related Services |
| --- |
|  | Currencies in accordance with ITB Sub-Clause 15 | Date:_________________________ ICB No: _____________________ Alternative No: ________________ Page N( ______ of ______ |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| Service N( | Description of Services (excludes inland transportation and other services required in the Purchaser’s country to convey the goods to their final destination) | Country of Origin | Delivery Date at place of Final destination | Quantity and physical unit | Unit price | Total Price per Service (Col. 5*6 or estimate) |
| [insert number of the Service ] | [insert name of Services] | [insert country of origin of the Services] | [insert delivery date at place of final destination per Service] | [insert number of units to be supplied and name of the physical unit] | [insert unit price per item] | [insert total price per item] |
|  | Total Bid Price |  |
| Name of Bidder [insert complete name of Bidder] Signature of Bidder [signature of person signing the Bid] Date [insert date] |

Bid Security (Bank Guarantee)

[The Bank shall fill in this Bank Guarantee Form in accordance with the instructions indicated.]

________________________________
[Bank’s Name, and Address of Issuing Branch or Office]

Beneficiary:	___________________ [Name and Address of Purchaser]

Date:	________________

BID GUARANTEE No.:	_________________

We have been informed that [name of the Bidder] (hereinafter called "the Bidder") has submitted to you its bid dated (hereinafter called "the Bid") for the execution of [name of contract] under Invitation for Bids No. [IFB number] (“the IFB”).

Furthermore, we understand that, according to your conditions, bids must be supported by a bid guarantee.

At the request of the Bidder, we [name of Bank] hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of [amount in figures] ([amount in words]) upon receipt by us of your first demand in writing accompanied by a written statement stating that the Bidder is in breach of its obligation(s) under the bid conditions, because the Bidder:

(a) 	has withdrawn its Bid during the period of bid validity specified by the Bidder in the Form of Bid; or

(b) 	having been notified of the acceptance of its Bid by the Purchaser during the period of bid validity, (i) fails or refuses to execute the Contract Form; or (ii) fails or refuses to furnish the performance security, if required, in accordance with the Instructions  to Bidders.

This guarantee will expire: (a) if the Bidder is the successful bidder, upon our receipt of copies of the contract signed by the Bidder and the performance security issued to you upon the instruction of the Bidder; or (b) if the Bidder is not the successful bidder, upon the earlier of (i) our receipt of a copy of your notification to the Bidder of the name of the successful bidder; or (ii) twenty-eight days after the expiration of the Bidder’s Bid.

Consequently, any demand for payment under this guarantee must be received by us at the office on or before that date.

This guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 458.

_____________________________

[signature(s)]

Bid Security (Bid Bond)

[The Surety shall fill in this Bid Bond Form in accordance with the instructions indicated.]

BOND NO. ______________________

BY THIS BOND [name of Bidder] as Principal (hereinafter called “the Principal”), and [name, legal title, and address of surety], authorized to transact business in [name of country of Purchaser], as Surety (hereinafter called “the Surety”), are held and firmly bound unto [name of Purchaser] as Obligee (hereinafter called “the Purchaser”) in the sum of [amount of Bond] [amount in words], for the payment of which sum, well and truly to be made, we, the said Principal and Surety, bind ourselves, our successors and assigns, jointly and severally, firmly by these presents.

WHEREAS the Principal has submitted a written Bid to the Purchaser dated the ___ day of ______, 20__, for the construction of [name of Contract] (hereinafter called the “Bid”).

NOW, THEREFORE, THE CONDITION OF THIS OBLIGATION is such that if the Principal:

- withdraws its Bid during the period of bid validity specified in the Form of Bid; or

- having been notified of the acceptance of its Bid by the Purchaser during the period of Bid validity; (i) fails or refuses to execute the Contract Form; or (ii) fails or refuses to furnish the Performance Security, if required,  in accordance with the Instructions to Bidders.

then the Surety undertakes to immediately pay to the Purchaser up to the above amount upon receipt of the Purchaser’s first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser shall state that the demand arises from the occurrence of any of the above events, specifying which event(s) has occurred.

The Surety hereby agrees that its obligation will remain in full force and effect up to and including the date 28 days after the date of expiration of the Bid validity as stated in the Invitation to Bid or extended by the Purchaser at any time prior to this date, notice of which extension(s) to the Surety being hereby waived.

IN TESTIMONY WHEREOF, the Principal and the Surety have caused these presents to be executed in their respective names this ____ day of ____________ 20__.

Principal: _______________________	Surety: _____________________________
	Corporate Seal (where appropriate)

_______________________________	____________________________________
(Signature)	(Signature)
(Printed name and title)	(Printed name and title)

Bid-Securing Declaration

[The Bidder shall fill in this Form in accordance with the instructions indicated.]

Date: [date (as day, month and year)]

Bid No.: [number of bidding process]

Alternative No.: [identification No if this is a Bid for an alternative]

To: [complete name of Purchaser]

We, the undersigned, declare that:

We understand that, according to your conditions, bids must be supported by a Bid-Securing Declaration.

We accept that we will automatically be suspended from being eligible for bidding in any contract with the Purchaser for the period of time of [number of months or years] starting on [date], if we are in breach of our obligation(s) under the bid conditions, because we:

(a) 	have withdrawn our Bid during the period of bid validity specified in the Form of Bid; or

(b) 	having been notified of the acceptance of our Bid by the Purchaser during the period of bid validity, (i) fail or refuse to execute the Contract; or (ii) fail or refuse to furnish the Performance Security, if required,  in accordance with the ITB.

We understand this Bid Securing Declaration shall expire if we are not the successful Bidder, upon the earlier of (i) our receipt of your notification to us of the name of the successful Bidder; or (ii) twenty-eight days after the expiration of our Bid.

Signed: [signature of person whose name and capacity are shown] In the capacity of [legal capacity of person signing the Bid Securing Declaration]

Name: [complete name of person signing the Bid Securing Declaration]

Duly authorized to sign the bid for and on behalf of: [complete name of Bidder]

Dated on ____________ day of __________________, _______ [date of signing]
Corporate Seal (where appropriate)

[Note: In case of a Joint Venture, the Bid Securing Declaration must be in the name of all partners to the Joint Venture that submits the bid.]

Manufacturer’s Authorization

[The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letterhead of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer.  The Bidder shall include it in its bid, if so indicated in the BDS.]

Date: [insert date (as day, month and year) of Bid Submission]

ICB No.: [insert number of bidding process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To:  [insert complete name of Purchaser]

WHEREAS

We [insert complete name of Manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of Manufacturer’s factories], do hereby authorize [insert complete name of Bidder] to submit a bid the purpose of which is to provide the following Goods, manufactured by us [insert name and or brief description of the Goods], and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 27 of the General Conditions of Contract, with respect to the Goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the Manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the Manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]

Section V.  Eligible Countries

Eligibility for the Provision of Goods, Works and Services in Bank-Financed Procurement

1.	In accordance with Para 1.8 of the Guidelines: Procurement under IBRD Loans and IDA Credits, dated May 2004, the Bank permits firms and individuals from all countries to offer goods, works and services for Bank-financed projects. As an exception, firms of a Country or goods manufactured in a Country may be excluded if:

Para 1.8 (a) (i): as a matter of law or official regulation, the Borrower’s Country prohibits commercial relations with that Country, provided that the Bank is satisfied that such exclusion does not preclude effective competition for the supply of the Goods or Works required, or

Para 1.8 (a) (ii): by an Act of Compliance with a Decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations, the Borrower’s Country prohibits any import of goods from that Country or any payments to persons or entities in that Country.

2.	For the information of bidders, at the present time firms, goods and services from the countries as specified in BDS referring to ITB 4.3 are excluded from this bidding.

# PART 2 – Supply Requirements

Section VI. Schedule of Requirements

Contents

1.  List of Goods and Delivery Schedule	71

2.	List of  Related Services and Completion Schedule 	76

3.	Technical Specifications	79

4.	Drawings	153

5. 	Inspections and Tests	157

1.  List of Goods and Delivery Schedule

| Line Item No. | Description of Goods | Quantity | Physical unit | Final (Project Site) Destination as specified in BDS | Delivery (as per Incoterms) Date |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Earliest Delivery Date | Latest Delivery Date | Bidder’s offered Delivery date |
| 1 | Automated Rainfall Stations |  |  |  |  |  |  |
|  | (a) INSAT data communications | 32 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (b) GSM/GPRS data communications | 88 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 2 | Automated Full Climate Stations |  |  |  |  |  |  |
|  | (a) INSAT data communications | 1 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (b) GSM/GPRS data communications | 31 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 3 | Automated River Water Level (stage) and River Discharge Stations |  |  |  |  |  |  |
|  | (a) INSAT data communications |  |  |  |  |  |  |
|  | (i) Shaft Encoder | 4 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Bubbler system | 3 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (iii) Radar sensor | 1 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (b) GSM/GPRS data communications |  |  |  |  |  |  |
|  | (i) Shaft Encoder | 3 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Radar sensor | 2 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 4 | Automated River Water Level (stage) and River Discharge Stations combined with Automated Rainfall Station |  |  |  |  |  |  |
|  | (a) INSAT data communications |  |  |  |  |  |  |
|  | (i) Bubbler system | 1 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Radar sensor | 1 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (b) GSM/GPRS data communications |  |  |  |  |  |  |
|  | (i) Shaft Encoder | 4 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Bubbler system | 2 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 5 | Automated River Water Level (stage) and River Discharge Stations combined with Automated Full Climate Station |  |  |  |  |  |  |
|  | (a) GSM/GPRS data communications |  |  |  |  |  |  |
|  | (i) Shaft Encoder | 6 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Bubbler system | 1 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (iii) Radar sensor | 3 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 6 | Automated Reservoir Water Level and Outflow Discharge Stations |  |  |  |  |  |  |
|  | (a) INSAT data communications |  |  |  |  |  |  |
|  | (i) Shaft Encoder | 5 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Bubbler system | 7 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (b) GSM/GPRS data communications |  |  |  |  |  |  |
|  | (i) Shaft Encoder | 2 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Bubbler system | 11 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 7 | Automated Reservoir Water Level and Outflow Discharge Stations combined with Automated Rainfall Station |  |  |  |  |  |  |
|  | (a) INSAT data communications |  |  |  |  |  |  |
|  | (i) Shaft Encoder | 3 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Bubbler system | 10 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (b) GSM/GPRS data communications |  |  |  |  |  |  |
|  | (i) Shaft Encoder | 3 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Bubbler system | 5 | one set | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 8 | Automated measurements of Gate Opening |  |  |  |  |  |  |
|  | (a) INSAT data communications |  |  |  |  |  |  |
|  | (i) Spillway gate sensors | 37 | one number | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (ii) Irrigation outlet sensors | 19 | one number | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (iii) Power outlet sensors | 3 | one number | Refer note 2 below this table | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 9 | Establishment of Data Center with Earth Receiving Station and GSM/GPRS ground station including quality control function, design, manufacture, testing, delivery at Pune alongwith the software solution, associated interface wiring, termination, commissioning, site acceptance testing, supply of mandatory spares, etc. as per technical specifications | 1 | one set | At Pune (Maharashtra) | 180 days following the date of effectiveness of the contract | 270 days following the date of effectiveness of the contract |  |
| 10 | Ruggedized Laptop / Tablet Computers as per technical specifications | 10 | one number | At Pune (Maharashtra) | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 11 | Ruggedized Personal Digital Assistants(PDAs) as per technical specifications | 10 | one number | At Pune (Maharashtra) | 270 days following the date of effectiveness of the contract | 360 days following the date of effectiveness of the contract |  |
| 12 | Ancillary Equipments and Tools |  |  |  |  |  |  |
|  | (a) Process Meters (Digital Volt Meter) | 10 | one number | At Pune (Maharashtra) | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
|  | (b) Watt Meters. | 10 | one number | At Pune (Maharashtra) | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 13 | Acoustic Doppler Current Profiler (ADCP) | 2 | one set | At Pune (Maharashtra) | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 14 | Acoustic Doppler Velocity meter (ADV) | 1 | one set | At Pune (Maharashtra) | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |
| 15 | Electronic Current meter | 3 | one set | At Pune (Maharashtra) | 135 days following the date of effectiveness of the contract | 180 days following the date of effectiveness of the contract |  |

Note: 1)The bidder shall fill in the column “Bidder’s offered Delivery date", i.e., the number of days following the date of effectiveness of the

Contract.

2) The Final (Project Site) Destination will be: As per details given in Appendix A and drawings showing the locations of the proposed RTDAS stations (Figure 3 to 10).

3) Set includes required sensors, data collection platform, solar power charging system & battery backup, grounding and surge protection, pole/mast and sensor supports and brackets, lightening protection, INSAT radio and antenna or GSM/GPRS radio and antenna as per the requirement of particular category of stations or their combinations as specified in the Schedule of Requirements and as per the Technical Specifications

2.	List of Related Services and Completion Schedule

| Service No. | Description of Service | Quantity | Physical Unit | Place where Services shall be performed | Final Completion Date(s) of Services |
| --- | --- | --- | --- | --- | --- |
| 1 | Training as per technical specifications | Lump sum | Job | As specified in technical specifications | 18 months following the date of effectiveness of the contract |
| 2 | Installation of entire RTDAS system including civil works as per technical specifications |  |  |  |  |
|  | (i) Automated Rainfall stations | 120 | one set | Refer note 2 below this table | 15 months following the date of effectiveness of the contract |
|  | (ii) Automated Full Climate stations | 32 | one set | Refer note 2 below this table | 15 months following the date of effectiveness of the contract |
|  | (iii) Automated River Water Level(stage) and River Discharge stations | 13 | one set | Refer note 2 below this table | 15 months following the date of effectiveness of the contract |
|  | (iv) Automated River Water Level(stage) and River Discharge stations combined with Automated Rainfall station | 8 | one set | Refer note 2 below this table | 15 months following the date of effectiveness of the contract |
|  | (v) Automated River Water Level(stage) and River Discharge stations combined with Automated Full Climate Station | 10 | one set | Refer note 2 below this table | 15 months following the date of effectiveness of the contract |
|  | (vi) Automated Reservoir Water Level and Outflow Discharge Stations | 25 | one set | Refer note 2 below this table | 15 months following the date of effectiveness of the contract |
|  | (vii) Automated Reservoir Water Level and Outflow Discharge Stations combined with Automated Rainfall station | 21 | one set | Refer note 2 below this table | 15 months following the date of effectiveness of the contract |
|  | (viii) Automated measurements of Gate Opening | 59 | one number | Refer note 2 below this table | 15 months following the date of effectiveness of the contract |
|  | (ix) Data Center with Earth Receiving station and GSM/GPRS ground station | Lump sum | Job | At Pune (Maharashtra) | 15 months following the date of effectiveness of the contract |
| 3 | Integration of real time data acquisition system and back-up acquisition system with SMS and manual entry as per technical specifications | Lump sum | Job | As specified in Schedule of Requirements: Drawings | 15 months following the date of effectiveness of the contract |
| 4 | Inspections and tests as per technical specifications | Lump sum | Job | As specified in Schedule of Requirements: Inspections and Tests | 18 months following the date of effectiveness of the contract |
| 5 | Tool kit for assembly, installation and maintenance as per technical specifications | Lump sum | Job | At Pune (Maharashtra) | 18 months following the date of effectiveness of the contract |
| 6 | Manuals, documentation and reports as per technical specifications | Lump sum | Job | At Pune (Maharashtra) | 18 months following the date of effectiveness of the contract |
| 7 | Initial maintenance upto Final Acceptance of the entire system as per technical specifications | Lump sum | Job | As specified in Schedule of Requirements: Drawings | 18 months following the date of effectiveness of the contract |

Note: 1. Final completion period from the date of effectiveness of the Contract to Final Acceptance of the entire system is 18 (Eighteen) calendar months followed by an Operation and Maintenance period of 5 (five) years.

2. Places where services shall be performed: As per details given in Appendix A and drawings showing the locations of the proposed RTDAS stations (Figure 3 to 10).

3.a) The approximate size required for all categories of stations (except Full Climatic Stations to be upgraded): 7m x 7m.

b) The size of Full Climatic Stations proposed for upgradations (please refer Appendix A): 18m x 15m.

4. a) The approximate trench size for the bubbler line is 0.6 m wide x 1m deep and its average approximate length is  300 m. It may vary as per site situation.

b) The average distance of RTDAS stations from Pune city is approximately 150 km. The distance may vary as per actual locations of stations.

3. Technical Specifications

3. Technical Specifications

Table of Contents

1.		General								…..83

2.		Real Time Data Acquisition System (RTDAS)			…..84

2.1	Objectives								…..84

2.2	General Technical Concept						…..84

2.2.1		Capacity and Implementation Constraints			…..84

2.2.2		General Approach						…..85

2.3	Design Principles							…..86

3.	Scope of Work		                                                            …..87

4.	Functional Requirements                                                                    …..89

5.		Technical Specifications						…..89

5.1	Classification of Remote Stations					…..89

5.2		Real Time Hydrologic Data Collection Network			…..89

5.2.1		Category I- Existing Cooperator Stations			…..89

5.2.2		Category II- Automated Rainfall Stations			…..90

5.2.3		Category III- Automated Full Climate Stations		…..91

5.2.4		Category IV- Automated River Water Level (stage)

and River Discharge Stations					…..92

5.2.5		Category V- Automated Reservoir Water Level

and Outflow Discharge Stations				…..94

5.2.6	Category VI- Automated Measurements of Gate Opening	…..94

5.3	    	Telemetry								…..95

5.4	    	Earth Receiving Station (ERS)					…..95

5.5	    	GSM/GPRS Data Collection Station	  		          	            …..96

5.6	    	Data Center								…..96

5.7	    	Installation								…..98

5.8	    	Operation and Maintenance					            …..98

5.9	    	Training								…..99

5.10    	Equipment Specifications						…..99

5.10.1  			Data Collection Platform					…..100

5.10.2  			INSAT Radio and Antenna					…..101

5.10.3  			GSM/GPRS Radio and Antenna				…..101

5.10.4  			Water Level Sensors					            …..102

5.10.5  		Automated Full Climate Sensors				…..103

5.10.6  		Gate Sensors	 					            …..106

5.10.7  			Solar Power and Battery					…..106

5.10.8  			Grounding and Surge Protection				…..106

5.10.9  			Mast and Supports						…..107

5.10.10			Data Center Equipments					…..107

5.10.11 			Ancillary Equipments and Tools				…..109

5.10.12 			Field Computers						…..110

5.10.13			Cabling and Connecting					…..112

5.10.14		ADCP River Discharge Measurement	                        …..113

5.10.15	ADV Velocity Measurement				      …..114

5.10.16	Electronic Current Meter				                  …..114

5.11		Construction Requirements & Workmanship 	                   	      …..114

5.11.1 		Civil works						      …..114

5.11.2 		Materials						                  …..115

5.11.3 		Excavation, Backfilling and Reinstatement 		      …..115

5.11.4 		Concrete, Formwork and Reinforcement		                  …..117

5.11.5 		Construction of Pipe Work				      …..119

5.11.6 		Manholes					  	                  …..121

5.11.7		Enclosures and Fencing					      …..121

Appendix A	       Details of proposed RTDAS stations			                  …..123

3. Technical Specifications

# 1.  General

The geographical area of Maharashtra state is 308 Thousands Km2. Major river basins in the state are the Krishna river with its major tributary as Bhima, Godavari, Tapi and the West flowing rivers of Konkan strip.  Maharashtra receives rainfall from both south-west and north-east monsoon. The state has very highly variable rainfall ranging from 6000 mm in upper catchments to 400 mm in shadow areas of lower catchments.  Majority of rainfall mainly occurs in a four months period between June to September with the number of rainy days varying between 40 to 100 (Figure 1). The state experiences flash floods particularly in Western Ghats including Krishna and Upper Bhima basins. For instance, Sangli and Kolhapur districts in Krishna Basin and Pune and Solapur districts in Bhima basin experienced severe flood several times during recent decade.

The Water Resources Department (WRD) of Government of Maharashtra (GoM) is entrusted with the surface water resources planning, development and management. A large number of major, medium and minor water resources development projects (reservoirs and weirs) have been constructed in Maharashtra. Though, the reservoirs in Maharashtra are not specifically provided with flood cushion, they have moderated flood peaks to considerable extent by proper reservoir operations. The reservoirs are multipurpose including hydropower, irrigation, domestic and industrial uses and are operated with rigid schedules as single entities based on the historical hydro-meteorological data and experience gained. These methods are often not adequate for establishing optimal operational decisions, especially where integrated operation of multiple reservoirs for flood management is contemplated. In addition, manual data observation and transmission results in a considerable time lag, between data observed in field and its communication to decision making level which sometime leaves little time, for flood forecasts.

The Ministry of Water Resources (MoWR), Government of India (GoI) has initiated Hydrology Project Phase II (HP-II) (www.hydrology-project.gov.in), which is a follow-on to the recently concluded Hydrology Project-I (HP-I). During HP1, the Hydrological Information System (HIS) was developed for the entire state of Maharashtra and the data is monitored manually 1-2 times a day. Under HP-II project, real time decision support system for flood forecasting in Bhakra Beas system and Decision Support System (DSS) for water resources planning and management are being developed. The Upper Bhima basin has been selected as a pilot basin for latter one i.e. DSS (planning). In addition, Government of Maharashtra has proposed to upgrade the existing HIS with real time data acquisition system (RTDAS) for Krishna and Bhima basins. Simultaneously, it is proposed to develop a real time streamflow forecasting (RTSF) and reservoir operation system (ROS) in Krishna and Bhima river basins to manage the floods and operate reservoirs optimally for multiple uses. It is envisaged that the system would facilitate reservoir operators to act on time and prepare stakeholders for the floods. The forecast of river flow and mapping of flood zone will help in taking the decisions such as evacuation of the likely affecting areas well in advance. In addition, the reservoir operation system would facilitate the optimization of the storages for ensuring flood cushion and improving agricultural productivity.

## 2. Real Time Data Acquisition System (RTDAS)

2.1 Objectives

The objective of the real time data acquisition system for the Krishna & Bhima river basins in Maharashtra is to provide reliable hydrologic information which is required to improve capabilities of flood management and water availability as well as streamflow forecasting.  There are several objectives that are addressed within this specification document. The key objectives of the real time hydrologic data acquisition system consist of the following:

- Install new equipments capable of providing measurements in real time at proposed RTDAS stations.

- Provide the number of rainfall, river water level (stage) and river discharge, reservoir water level and outflow discharge and full climatic stations to provide improved assessments of hydrologic conditions in the Krishna and Bhima River basins in Maharashtra.

- Utilize a combination of INSAT and GSM/GPRS data communications to relay data in real time.

- Contract station installation and maintenance to assure the proper operation of RTDAS.

- Contract extensive training for Maharashtra Government staff to fully understand the operation of the equipments in the event Maharashtra will assume operation and maintenance of the real time data acquisition system.

- Establish a real time data center at Pune.

- Acquire hardware and software to collect the real time hydrologic data in real time from both INSAT as well as the GSM/GPRS reporting stations.

- Acquire software to evaluate the real time hydrologic data in real time before passing the information to dissemination and forecasting models.

## General Technical Concept

### Capacity and Implementation Constraints

Currently, the State of Maharashtra is managing the existing hydro-meteorological network developed through HP I, extremely well.  The State currently outsources some of the task of hydro-meteorological data collection. The State has also had to make arrangements to pick up the data from the various automated and non-automated stations, subject the data to quality control and then store the data. With the implementation of this RTDAS, the relay of information from the remote stations to the office and data center will no longer be performed manually, though manual data collection will still be required in the event the failure of the transmission of data or otherwise been interrupted.  The State of Maharashtra has decided to continue to contract out services for the maintenance of this network which includes the collection of all data, with the eventual destination being the data center at Pune.

The State will develop a position within the organization that will serve as a specialized in all facets of the real time data acquisition system.  This specialized organization will be responsible for managing the contract of real time data acquisition system (RTDAS). The State of Maharashtra will likely incorporate this expertise within a group of State Government Engineers and Technicians.  These State staff will be critical in assuring the viability and sustainability of the RTDAS. This expertise may then be transferred in phases to field offices that are involved in the flood management and management of water resources of the state.

A great portion of the effort to operate and maintain the RTDAS network will however be performed by the bidder as described further in this document.

### General Approach

The concept of implementation on which the present technical specifications and special conditions are based intends to combine the advantages of modern Data Collection Platform (DCP), data storage, processing and data communication technologies with the requirements of high availability and sustainability required by such an important project. Preference will be given to robust, reliable technology.  Some data collection sites are located in very remote areas and should require annual maintenance only, so the selection of equipment and civil design will consider this aspect. The cost of servicing a real time hydrologic network will exceed the cost of the purchase several times over the life of the network.  It is, therefore, of central importance that the State of Maharashtra RTDAS network have the greatest possible reliability, thus minimizing the maintenance to the extent possible. Special protection against environmental factors is often justified, even at high initial costs.

Wherever possible, the bidder should combine data from stations or sensors in close proximity using wireless, unlicensed radio transmissions to a single point, then employing INSAT or GSM/GPRS data communications from a single location.  For instance, there are numerous locations where a rain gauge will be located within the proximity of a reservoir water level sensor, and/or gate opening sensor.  These sensors should be combined within a single station which will eliminate the costs of INSAT or GSM/GPRS transmitters and the recurring costs associated with these devices.  Unlicensed wireless communication devices are required to be certified for use in India by the competent authority. Maintenance is an integral part of any system and a system that has the challenges of unattended operation in remote, exposed areas stresses the need for a well thought out approach to maintenance. The corrective maintenance will be required for data collection issues, whether they may be component failures or due to environmental issues.  To minimize corrective maintenance and to increase the performance of the monitoring network, a well-organized preventative maintenance plan is highly recommended.  The preventative maintenance is required for all system components as well as the infrastructure in place to house the electronic data collection components. It is recognized that the maintenance of a monitoring network is often grossly underestimated as well as underperformed task. This leads to reduced life expectancy of the equipment and possibly the collection of misleading data during the period of operation. A strong maintenance plan will be the foundation for sustaining the State of Maharashtra’s monitoring network operation over the expected lifetime of the technology, which is considered to be 10-15 years.

The State of Maharashtra has proposed the data communication by station, which is included in the Appendix A tables.  Data communication will either be INSAT and/or GSM/GPRS, based on the crucial nature of the data and/or availability of GSM/GPRS.  The State of Maharashtra will make all the arrangements with the Indian Space Research Organisation and other government entities required for the use of INSAT.  The bidder will be responsible for making all arrangements for the sites requiring GSM/GPRS.

The Technical Specifications consist of the installation of the real time data acquisition system for the Krishna and Bhima river basins in Maharashtra.  This includes an Earth Receiving Station (ERS), which shall be able to receive data from INSAT/Kalpana 3 data relay transponder. This shall include the design, manufacture, factory testing, deliver to site, installation (including the associated interface wiring/termination), commissioning and site acceptance testing, supply of mandatory spares, training and documentation.  Data Collection Platforms (DCP), monitoring system hardware and software shall interface and be fully integrated and tested with the new Earth Receiving Station to be provided and established. The requirements are given below in respect of each major component of the system. The bidder shall ensure that the fundamental requirements stated in this document are not compromised.  Further details are also provided in Inspections and Tests.

## Design Principles

The following basic principles have been applied to the design of the real time hydrologic data acquisition system network for the Krishna and Bhima River basins in Maharashtra.

#### Meteorological Network

a)	Collect data being transmitted through INSAT by IMD, CWC, or ISRO that has hydrologic significance to the State.

b)	New stations being installed to improve estimations of areal precipitation and mean areal precipitation.

c)	Stations or sensors in close proximity to each other will be combined to reduce the number of reporting stations.  This is especially important if the station transmits via INSAT where the recurring INSAT charges are considerable.

d)	Climate stations will be fully automated and transmit data in real time.

e)	Evaporation will be calculated using the measured parameters at climate stations.

f)	Precipitation gauges (Rain gauges) will have the primary function of measuring accumulated precipitation accurately. Rain gauges will be equipped with either a siphon system or software to eliminate over or under-measurement due to varying rates of precipitation being measured by a tipping bucket.

g)	Precipitation gauges will be tipping bucket type, allowing for unlimited collection of precipitation.

#### River and Reservoir Network

a)	Reservoirs will be equipped with a float/encoder system. If a stilling well is not available, a bubbler system will be installed.

b)	If the bubbler system extends beyond the range of a 30 psi transducer, then a series of orifice lines will be used, and the lines will be manually switched according to the range being measured.

c)	Bidder will provide equipment to perform discharge measurements using ADCP, ADV, current meters and will also supply all ancillary equipment and expendables required to make the measurements as directed by the State of Maharashtra at newly proposed river water level (stage) and river discharge sites for establishing stage-discharge curve.

d)	Reservoir water level and outflow discharge monitoring stations will be established as indicated in Appendix A.

e)	Spillway Gate height measurements on selected reservoirs will be taken as indicated in Appendix A.

f)	Irrigation and/or power outlet discharge measurements on selected reservoirs will be taken as indicated in Appendix A.

g)	Reservoir data collection station/ network shall support manually entered gate operation informations and transmit this data as telemetered data.

# 3.  Scope of Work

The bidder shall be required to provide all of the following services for implementation of real time data acquisition system for the Krishna and Bhima river basins in Maharashtra:

- Supply, installation, testing, commissioning of the real time hydrologic data collection network and establish data communications using either INSAT or GSM/GPRS between the remote stations and the data center.

- Provide maintenance services for a five (5) year period to commence immediately after the Final Acceptance to include all components at the remote stations as well as all newly acquired equipments in the data center.

- Provide installation and maintenance reports as required by the Purchaser.

- Perform on-site assembly, start-up of the supplied goods.

- Establish an Earth Receiving Station (ERS) to collect INSAT DCP data at Pune.  This shall include a computer that will support the reception of the INSAT data stream. This consists of acquiring all hardware and software, installation, configuration, operation and maintenance services for five years.

- Establish a GSM/GPRS receiving station at Pune.  This will include a computer that will support the reception of the GSM/GPRS data stream. This consists of acquiring all hardware and software, installation, configuration, operation and maintenance services for five years.

- Establish data center at Pune to process information from the ERS as well as the GSM/GPRS data collection systems. This includes the supply of high availability servers.

- Provide software to be used in the data center at Pune.  This software shall store data collected by the ERS as well as the GSM/GPRS receiving stations. A non-proprietary software solution such as PostGreSQL is recommended to reduce out-year operating costs.  The software system will include data quality control that shall allow for the flagging and/or removal of data using threshold analysis.  Easy to use interface allowing sensor by sensor quality control for threshold and rate of change data screening is required.  The software will include a web based dissemination tool to allow for the viewing of graphs, plots and the export of data in comma separated variable (CSV) format.  The software shall also export data to the Decision Support System (DSS) via XML tagged data in real time, but just after the data has been screened by the automatic data quality control process. Data delivery to the DSS will be to a hot directory, with records being written to this directory after each transmission from INSAT and GSM/GPRS. In addition, it shall be possible to export data to Hydrological Information System (HIS) developed in HP (SW), Maharashtra.

- Provide ancillary equipments to the data center such as one colour laser printer, one black and white laser printer, modems and routers necessary to route data through an INTRANET.  Provide backup resources, such as high availability hard disk drives capable of backing up all system software with 20 years of data.

- Supply DCP programming and data download computers such as PDAs and Rugged Laptop/Tablet computers as specified in the Equipment Specifications.  These will be given to the State of Maharashtra. The bidder is required to acquire equipments that will be used solely by the bidder to provide the afore mentioned services, and will be of the same make and type as that provided to the State of Maharashtra.

- Supply tools required for assembly and maintenance of supplied goods.

- Supply on-site spares to repair any part of the remote stations upon determination of malfunction or failure.  This includes, but is not limited to, DCP, sensors and accessories required in the operation of the real time data acquisition system.

- Supply detailed operation and maintenance manual for each component in the system.

- Provide classroom and field trainings to the sufficient number of State of Maharashtra personnel on the data acquisition system. This includes operation and maintenance procedures. Training will also occur at selected field locations as selected by the Purchaser.

- Provision for Warranty services for one year after the Final Acceptance of real time data acquisition system.

- A guarantee by the manufacturer that all equipments being provided will be supported for a minimum of ten years after the commissioning of the real time data acquisition system.

- Integrate with real time data acquisition system (RTDAS) and back-up acquisition system with SMS/manual entry.

- For procured softwares, all licenses and maintenance agreements should be in the name of Purchaser and should seek full support and updates for such softwares for the duration of the warranty period.

# 4. Functional Requirements

Transition to automated observations with real time data communication can lead to a discontinuity in the measurement record if the process is not specified and managed carefully. The benefits of automation with real time data communication include cost effectiveness, high frequency data, better ability to detect problems with measurements, faster access to data, consistency and objectiveness in measurement, and ability to perform automatic quality monitoring.

All selected sites should conform to the extent practical to WMO guidelines.  The new real time data collection network sites have been proposed by the State of Maharashtra.  The State will be responsible for obtaining permission to use property. River stage and reservoir water elevation including gate openings will be logged every 15 minutes and transmit using both self-timed and random (event) transmission as allowed by ISRO.  Precipitation data (rainfall) will also be measured and logged every 15 minutes and transmitted using both self-timed and random transmissions.  The climate network will make measurements once an hour and transmit this data every hour.  The ERS shall collect the field data, store it and then pass the data to the data center and then on to the DSS and long term data storage.

The remote stations shall hold the data for at least one year, and shall record the latest data by replacing the oldest data.

## 5. Technical Specifications

5.1 Classification of Remote Stations

There are six categories of stations that will be the real time hydrologic data collection network for the State of Maharashtra.  These categories have been devised to make the needs of this specification more straightforward. The six categories of stations are listed below and are further referred to in the Appendix A.

Category I           Existing Cooperator Stations

Category II         Automated Rainfall Stations

Category III        Automated Full Climate Stations

Category IV        Automated River Water Level (stage) and River Discharge Stations

Category V          Automated Reservoir Water Level and Outflow Discharge Stations

Category VI        Automated Measurements of Gate Opening

## 5.2 Real time Hydrologic Data Collection Network:

These remote stations are described as follows:

### 5.2.1 Category I – Existing Cooperator Stations

This category consists of Automatic Rainfall Stations and Auto Weather Stations (AWS) that are operated by IMD, CWC and ISRO.  Data from these stations that are of interest to the hydrological assessment in the Krishna and Bhima river basins will be collected by the INSAT ERS located at the data center at Pune. The bidder is not responsible for the operation and maintenance of these stations, but only programming the ERS to collect the data, and then pass it on to the DSS.  A list of these stations is provided in Appendix A under Category I stations. The bidder will need to coordinate with the operating agency to get the decoding specifications so that the data can be received, decoded and made available to the DSS. There will be no civil works required by the bidder for these stations.

### 5.2.2 Category II – Automated Rainfall Stations

This category describes either new or upgraded data collection stations that will measure precipitation and transmit this data to data center at Pune. Some of these stations will use INSAT data communications while other stations will use the GSM/GPRS data communications. The type of data communications requested at each station is provided in Appendix A tentatively which will have to be finalized more precisely before implementation. All rain gauges will be tipping bucket type gauges.  There are no requirements to measure frozen precipitation.

The automated rainfall stations will be often times remotely located. The State of Maharashtra will provide the civil works related to preparing the site. The bidder will provide all accessories required to secure the DCP and radio (enclosure or building) and any other accessories needed for mounting the DCP or sensors. The bidder will provide a building / enclosure to mount the data logger, INSAT Satellite transmitter, batteries, solar charger and polyphasor. The enclosure/building must be water proof and sealed against the infestation of insects and rodents. The building will be contained within a fence for additional security. A typical example of the fence is provided below in Figure (i). Due consideration will be made as to not adversely affect the quality of measurement with the civil works that are constructed as part of the security measures.

Figure (i): Typical civil work arrangement for automated rainfall station

The rain gauge will be mounted 0.8 to 1m above the ground and will be located in such a way where the WMO guidelines on exposure are followed (i.e. structures, trees can not be closer than twice the difference between the orifice height and the height of the object).

### 5.2.3	Category III – Automated Full Climate Stations

The State of Maharashtra is proposing to install automated FCS either at new locations or upgrade the selective existing FCS to provide automatic measurement with data communication for the following parameters:

  - Temperature

  - Relative Humidity

  - Wind Speed

  - Wind Direction

  - Precipitation

  - Solar Radiation

The DCP will be able to use these parameters and compute derived parameters such as minimum/maximum thresholds, wind run and other parameters that are calculated from the existing network. These parameters will be used to compute the evaporation at climatic station. The list of these stations is provided in Appendix A. The specifications for these sensors are provided in the Equipment Specifications of this document. The sensors shall follow WMO guidelines for the placement of such sensors. The AFCS will need to be located adjacent to the existing FCS without interfering with the measurements of the FCS or the AFCS. The existing FCS will continue to be maintained and monitored by the State, while the AFCS will be installed and maintained by the bidder.

A stainless steel or FRP instrument box will be provided by the bidder to mount the DCP, INSAT/GSM/GPRS transmitter, batteries, solar charger, and lightening discharge protection device. The antenna and solar panel can be mounted on one of the poles supporting the stainless steel instrument box. The instrument box must be waterproof. Connections to the box must be performed in such a way as to prevent insects and other pests from entering the box. The bidder will provide all civil works for these stations including the enclosure or building for housing the equipments. A typical arrangement for AFCS is shown in the photograph below (Figure (ii))

Figure (ii): Typical civil work arrangement for automated full climate stations (AFCS)

### 5.2.4	Category IV – Automated River Water Level (stage) and River Discharge Stations

This category describes either new or upgraded data collection stations that will measure river stage and transmit this data to data center at Pune.  Some of these stations will use INSAT data communications while other stations will use the GSM/GPRS data communications.  The type of data communications requested at each station is provided in Appendix A tentatively which will have to be finalized more precisely before implementation. The bidder will provide all civil works for these stations, including a gauge house to protect the equipments from theft as well as environmental effects such as insect/rodent infestations or water intrusion. The water level measurement technology will either be made from a bubbler system, radar sensor or a stilling well/float encoder principal.  The type of measurement required at each site is provided in Appendix A tentatively which will have to be finalized more precisely before implementation.

River Water level recording stations will require a gauge house, defined as a suitable building to provide the protection of the equipments from both the environment and tampering.  A typical example of a building is provided below (Figure(iii)) The gauge house for a river water level measuring station does not need to be contained within a secondary security fence, because there will be no sensors outside the building except for the water level station. All cabling will be run within conduit, including the coaxial cable for the satellite transmitting antenna.  No wire shall be exposed and thus exposing the wire being tampered.  The exception to this where the connection is made to the sensor, immediately at the sensor. The typical arrangements for radar sensor are shown in the photographs below (Figure (iv)(a) and (iv)(b))

Figure (iii): A typical example of a gauge house building

Figure (iv)(a): Typical arrangement of radar sensor for bridge sites

Figure (iv)(b): Typical arrangement of radar sensor for bridge sites

### 5.2.5 	Category V – Automated Reservoir Water Level and Outflow Discharge Stations

This category describes data collection stations that will measure reservoir water elevation and transmit this data to data center at Pune.  Some of these stations will use INSAT data communications while other stations will use the GSM/GPRS data communications.  The type of data communications requested at each station is provided in Appendix A tentatively which will have to be finalized more precisely before implementation. The bidder will provide all civil works for these stations, including a gauge house (where it is not available) to protect the equipments from theft as well as environmental effects such as insect/rodent infestations or water intrusion. The water level measurement technology will either be a bubbler system or a stilling well/float encoder principal.  The type of measurement required at each site is provided in Appendix A tentatively which will have to be finalized more precisely before implementation. The data of spillway gate, irrigation and / or power outlet operations is generally available in the form of telephone, mobile, wireless or radio messages from dam operations staff. The reservoir data collection station/network must support manually entered gate operation informations and transmit this data to data center at Pune.

### 5.2.6 	Category VI – Automated Measurements of Gate Opening

This category describes the requirement for sensors placed on gates such as spillway gates and irrigation and/or power outlet to measure gate openings. The measured gate opening will be used along with water elevation to determine accurate discharge past the gates.  The bidder shall also be required to collect the information necessary to calculate discharge past the gates in real time, though this calculation can be made as part of computations in the data center immediately upon receipt of the data from either INSAT or GSM/GPRS. The site specific gate information is provided in Appendix A.

The reservoirs namely Koyna and Radhanagari will be provided with spillway gate sensors and the reservoirs namely Ujjani, Dhom and Kanher will be provided with irrigation and/or power outlet sensors. Khadakwasla, Vir and Warna reservoirs will be provided with both spillway gate sensors and outlet sensors. In some situations, the outflows might be measured directly in off-take canals downstream of the dam. The bidder shall propose measurement options for gauging such flows as an alternative to monitoring gate sensors.

The bidder shall be responsible for all civil works related to the installation of the sensor, though plans for civil works must be approved by the Purchaser prior to the acquisition, installation and commissioning of the sensor. Regardless of the sensor solution, the flows past the gates must be accurate to within 5% of the actual flow. Examples of similar installations by the bidder must be produced in the bid document with comparisons between actual and calculated discharge for the given sensor solution.

## 5.3 Telemetry

The data communications employed on RTDAS network will use a combination of INSAT satellite communications and GSM/GPRS radio communications.  INSAT satellite communications will be placed at sites which are of highest priority for real time data communication and/or that do not have available communication from GSM/GPRS. All stations have had in in-situ radio path survey, where a mobile phone signal was detected, and/or a line-of-sight path to the INSAT satellite was confirmed. It will be the responsibility of the bidder to confirm radio path and mobile network coverage. The recommended data communication technology is listed station by station in Appendix A tentatively. If the bidder suggests changing the data communication medium from what is suggested in Appendix A, then the bidder will provide these suggestions to the Purchaser prior to purchase, installation and commissioning.  The bidder will be ultimately responsible for establishing data communication at all sites.

Telecommunications and data collection platforms can be expensive.  The bidder is encouraged to combine sensors from measurement points into single data collection platforms and radio transmitter to reduce the cost of the network. The use of unlicensed spread-spectrum radios or other technology is an example of a means to move sensor data to a single data collection platform.  This has been described in para 2.2.2 (General Approach). By no means shall the optimum location of sensors be compromised by the requirement of optimum data communication path.

## 5.4	Earth Receiving Station (ERS)

One ERS shall be established at the State of Maharashtra’s office at Pune.  The State will provide a suitable location.  The ERS will be used to receive all INSAT transmissions before passing the information on to a secondary processing function which will perform the quality control, web based data visualization, while handing the data off to the DSS.  The bidder will provide all services to establish power to the ERS and communication from the ERS to the data center internet. The ERS will be able to collect any message being transmitted through INSAT and should be able to receive 1000 stations in real time. The bidder will provide all civil works related to the installation of the antenna, including cabling, wiring and other such infrastructure required to operate the ERS.

## 5.5	GSM/GPRS Data Collection Station

One GSM/GPRS data collection station shall be established at the State of Maharashtra’s office at Pune. The state will provide a suitable location. The GSM/GPRS data collection station shall be able to interrogate the DCPs based on a schedule of the State’s choosing and as implemented by the bidder.  The GSM/GPRS Data Collection Station will also be able to receive data sent by the remote stations, whether the data is sent via SMS text or over GPRS internet connectivity.  The data will automatically be fed to the same quality control process being used for the INSAT data stream.  The bidder will provide all services to establish power to the ERS and put the system on an INTRANET.  The bidder will provide all civil works related to the installation of the antenna, including cabling, wiring and other such infrastructure required to operate the GSM/GPRS data collection station.

## 5.6	Data Center

The objective of establishing of a Data Center is to ensure that the high quality data collection, compilation, processing and analyses are available for making sound water management decisions. The data center will be located at Pune, in office space provided by the State of Maharashtra.  The State of Maharashtra will provide the necessary electrical connections as well as network connections.  The State will also be responsible for providing environmental control, such as air conditioning.

The data center will receive data from the GSM/GPRS enabled remote stations and will store this data in the same data base as the INSAT data is being stored.  The system shall be able to accept coded SMS messages from manually operated remote stations and as a back-up to the RTDAS systems. The bidder will design and develop such a system and specifications for a data center, a back-up data center and servers, connectivity and evolve, test and implement a coding design in close consultation with the Consultant appointed for implementation of a real time streamflow forecasting and reservoir operation system. There will be a minimum of 100 days of data stored. Any or all of this data can be transferred to the DSS at any time. Figure (v) provides a system block diagram of data center components that will be provided by the bidder under this contract.  The components include ERS, GSM/GPRS communication system and data collection/application servers for the collection, quality control and relay of information to the DSS.  This infrastructure includes all networking devices to connect the equipment via INTRANET to the DSS. The Web Portal that serves the public and the organization is not part of this contract.  The bidder shall have responsibility in developing a web based tool to view the data, which will include ad-hoc graphical queries, ad-hoc data reports, including daily and monthly summaries of all data collected, along with tools for quality control. This will be used by data center personnel involved in reviewing the data and providing assessments on stations requiring maintenance.

Figure (v): A System Block Diagram of Data Center Components

The data flow will be as follows:

- Each DCP will automatically measure precipitation and reservoir/river water level every 15 minutes and other measurements every 60 minutes and transmit the data. It will store this observed data in its memory and then transmit it in self timed manner in its prescribed time slot every 15 minutes/hour.  Remote stations will also transmit based on event, such as a rise of water elevation over time, or the rate of precipitation.

(2)	Data communication will either go through INSAT or the GSM/GPRS network and received at the respective ground stations at Pune.

(3)	 The data will be brought into an application server(s) which will perform quality control processing, data visualization function, as well as passing the data off to the DSS.  The transfer to the DSS will entail creating XML data files in real time and placing them on a network directory.

(4)	 The application server(s) will also function as a tool to determine stations that are in need of maintenance and repair.  Software will provide station outage reports and a summary of total hours of station outage for each station as well as the entire network, by day, month and year or any period of time of interest to the State.

(5)	There will be two Web Portals, one for the general public and the other restricted and for use only by the Water Resources Department, Maharashtra to provide services. These two Web Portals are not part of this contract.

(6)	 A firewall will be provided to prevent unauthorized access from the INTERNET and will be located between the public web portal and the application server(s).

## 5.7 Installation

Installation of all data collection stations, sensors and data center components shall be provided by the bidder. The bidder will be required to devise acceptable mounts for sensors, as sensor placement should abide by WMO convention as applicable or by standard hydrological practices.  The bidder shall also devise acceptable mounts to the existing bridges that should take into account obtaining a good measurement as well as adequately securing the sensor from tampering and/or vandalism. The Purchaser may inspect some or all equipments prior to installation to assure the products meet specifications.  The Purchaser may also delegate this activity to a third party. Each station shall be commissioned by the Purchaser upon inspection of complete installation and functioning data collection activities. Installation shall be considered complete when all stations have been commissioned and operating for a 30 day period with no break in service for any station/sensor longer than 24 hours.

## 5.8 Operation and Maintenance

The bidder shall be responsible for Operation and Maintenance (O&M) of all stations/components after installation, commissioning, site acceptance and operational test.  All equipment maintenance costs, repairs, replacement and repairs to civil work shall be borne by the bidder during the maintenance period. A 5 (five) year contract for O&M support is envisaged to be the commitment of the bidder as part of this bid. The bidder shall propose a draft O&M contract. The bidder shall commit to provide an Operation and Maintenance Support for a period of 5 (five) years after Final Acceptance under a separate O&M contract to be executed then. The bidder shall provide along with the bid an O&M plan for 5 (five) years with cost estimates at current prices which shall be added to the bid price for evaluation. The scope of O&M support would include all materials and services including major replacement components, mandatory spare parts required to ensure smooth and sustainable operation of the entire system, even though they may not be expressly described here.

This operation and maintenance support contract shall refer to the complete real time hydrologic data collection network, proper functioning of ERS, GSM/GPRS data collection station and data center including the hardware and software components. Assistance and troubleshooting will be provided for all necessary maintenance, servicing, testing and recalibration operations. The bidder will intervene with his personnel within the agreed dates, on site in case of damages or malfunctioning of equipment or software and will proceed to the investigation of the cause and search for a prompt solution to ensure proper working of the system. The bidder shall set up offices at the space provided by the Purchaser at Pune, Satara, Sangli, Solapur, Shirur and Kolhapur. The bidder will provide 12 (twelve) people, two at each field office to provide prompt maintenance. The bidder will provide all equipment/computers, transportation and internet connectivity, necessary to maintain the network. Emergency maintenance shall be performed immediately upon notification of a sensor/station outage.  Preventative maintenance will be provided twice per year, once just prior to the monsoon season and once just after the monsoon season. The bidder will provide monthly maintenance reports during the course of the maintenance period.  The monthly maintenance reports will cite station and sensor outages, including the amount of time stations/sensors have been out of operation or incorrectly reporting.

The annual operation and maintenance charges shall be quoted on a year-by-year basis for the five year maintenance period. The Purchaser reserves the right to terminate the contract in full or in part at the end of any one year maintenance period. On hand over of the complete system to the State of Maharashtra at the end of the 5 year operation & maintenance period, the bidder shall supply a manual specifying all faults experienced by the system together with an account of how such faults have been rectified. The objective is that the Purchaser will know from lessons learnt during the 5 years   operation & maintenance period.

## 5.9 Training

Training shall be provided by the bidder in several phases.  The training shall be provided for the installation of stations/sensors as well as operation and maintenance of the stations/sensors.  The training shall include both classroom and field trainings. The State of Maharashtra’s officials shall also be trained on the operation of the ERS, GSM/GPRS data collection station and data center, along with the data quality control computer. Each training shall be for 20 people unless otherwise indicated. There shall be two weeks of training on the data collection platforms, radios, sensors etc.  There shall also be field trainings which will include on-site training at two river stage monitoring sites, two reservoir water elevation sites, two gate monitoring sites, two rainfall measurement sites and two automated full climate stations. There shall be two weeks of training on the operation and maintenance of the ERS and GSM/GPRS data collection station with a combination of classroom and hands-on training. There shall be one week of training for the data control computer function. The bidder shall prepare a training course plan and include the same in the bid document.

  - Equipment Specifications

The following equipment specifications will apply for all stations listed in Appendix A and equipments listed below. All sensors shall have operating temperature from 0 to +60ºC, relative humidity 0% to 100% non-condensing and located at an altitude ranging from 200 to 2000 m. Improvements/ modifications in the specifications as per suitability of technology adopted but for betterment and smooth running may be suggested.  The complete tool kit for installation and routine maintenance along with manuals, documentation etc. in English shall be provided in sufficient numbers in hard copy and also in appropriate electronic format for all the documents. The documentation will include user’s manuals and guidelines for operation and maintenance for all equipments and software components. The manuals shall also include the following:

- Specific equipment layout

- A procedural handbook

- System block diagrams (logical connections)

- Wiring diagrams

- Interface specifications, including communication protocols and configuration models

- Software licences

    - Data Collection Platform

The conditions and constraints of hydrologic monitoring with such a large network in the subject river basins in Maharashtra require long periods of autonomy. The Data Collection Platforms shall be capable of unattended operation for upto a year.  The continuous power is not available for most of the network, so the power will need to be supplied on-site with the use of solar panels.  The Data Collection Platforms shall meet or exceed the following specifications:

- The Data Collection Platform shall be a well proven and widely used model, produced by a primary brand name and tested in a large number of installations. A manufacturers certificate shall be provided that the model proposed has been in production at least 2 years.

- All data collection platforms shall be of the same make and model, with identical configurations so that the data collection platforms can be used throughout the entire network.

- Data collection platform shall survive reverse polarity connections (system will operate normally when polarity is applied properly without any other changes, such as fuses)

- Open design, operating a wide variety of sensors

- Flash memory that can store one year of data, expandable to 1 GB.

- The flash memory shall be non-volatile

- A/D resolution ≥ 16 bit

- Sensors shall have individual recording intervals

- Multi-tasking operating system capable of simultaneous data collection and transmission

- Digital display for the viewing of current data and setting datum

- 8 analog channels

- 4 digital input channels

- 4 digital output channels

- Input channels as required by the sensors selected

- Internal clock with drift less than 10 seconds per day (can be accomplished with GPS specified below)

- Internal battery backup for clock

- GPS time synching programmable, and as often as once per day

- 2 input channels for tipping bucket precipitation gauges (switch closure)

- SDI-12 input with a minimum of 26 addressable channels

- 2 input/output interfaces for the exclusive use of data communication, including the simultaneous use of INSAT and GSM/GPRS

- GSM/GPRS shall employ TCP/IP type capable of sending data based on threshold exceedance, as well as responding to queries through GPRS

- One 9-pin RS-232 input/output for data collection platform programming separate from the 2 input/output interfaces mentioned previously

- Windows software for data collection platform configuration and communication

- Language shall be in English

- Data collection platform shall have access restricted to authorized personnel via a password than can be invoked at the choosing of the client

- Input power 12V DC operating from 11 – 17 V DC

- Current drain ≤ 10 mA

- Full documentation and maintenance instructions in English, 50 printed copies, and 50 copies on CD or other modular memory modules such as USB flash drives

- Serial cable plus adopter (if required) for notebook connection

- All accessories (fixing units etc.) as required

    - INSAT Radio and Antenna

INSAT satellite data radio communication equipment shall meet the requirements of the Indian Space Research Organization (ISRO) and all other regulating agencies of India.  This not only consists of the transmitting radios located at each station, but also the Earth Receiving Station (ERS).  Evidence of meeting these requirements or certification will be required as part of the bid. The INSAT radio antenna shall also meet the requirements of ISRO and other regulating agencies of India. The Purchaser will make all arrangements for the acquisition of INSAT radio frequencies for all stations and provide satellite transmission assignments to the bidder.

    - GSM/GPRS Radio and Antenna

The GSM/GPRS data radio communications equipment shall meet the requirements of regulating agencies in India. Evidence of meeting these requirements or certification will be required as part of the bid.  The GSM/GPRS technology will allow for on-demand data collection and reprogramming of the data collection platform.  This functionality may be requested to be demonstrated as part of the bid acceptance process at the request of the Purchaser. The GSM/GPRS antenna shall also meet the requirements of the GSM/GPRS provider and regulatory agencies of India. The bidder will make all arrangements for GSM/GPRS access and will include the usage fees in the operation and maintenance contract.

    - Water Level Sensors

The State of Maharashtra’s stations will employ a variety of water level sensor technology.  Water level sensing technology includes shaft encoders, radar and bubbler systems.  The type of technology to be applied is specified in Appendix A.  The sensor shall be compatible with the data collection platform and capable of providing a measurement as often as once per minute.  The number of units required shall be established by the number of stations using a given technology as identified in Appendix A.

(a) The shaft encoder shall meet or exceed the following specifications:

- Shaft encoder shall have digital readout

- Measuring range: 0 – 80 m water column

- Power supply provided through data collection platform

- Shaft encoder will be compatible with data collection platform input

- Resolution shall be 3mm or less

- All standard accessories shall be included such as floats, wheels, tapes, counterweight and connecting parts

- The sensor shall keep track of rapid water level movements without suffering from  missing increments due to too slow operation

- Wheels and tapes shall be metric

- Tape shall be graduated

- Shaft encoder fabrication shall be of high quality using stainless steel or similar material that can resist corrosion

- Shaft encoder electronics are fully protected against ingress of water, moisture, dust etc.

- The Schedule of Requirements gives the numbers to be quoted for and their associated ranges and is provided in Appendix- A. The bidder shall specify for the closest standard range of the offered product with respect to the required measuring range. The quoted range shall be equal or larger than the required range.

(b) The radar sensor shall meet or exceed the following specifications:

- Power input: 10 – 15 V DC

- Power consumption: ≤ 20 mA Active, ≤ 10 mA sleep

- Power should be able to be cycled so that power is only applied prior and during measurement

- Range: 0-30 m water column

- Mounting supports shall be as required

- Accuracy(linearity, repeatability, hysteresis): 0.03% or less

- Resolution shall be 3 mm or less

- The Schedule of Requirements gives the numbers to be quoted for and their associated ranges and is provided in Appendix- A. The bidder shall specify for the closest standard range of the offered product with respect to the required measuring range. The quoted range shall be equal or larger than the required range.

(c) The bubbler system includes non-submersible pressure transducer, automatic    bubble system, orifice line and orifice which shall meet or exceed the following specifications:

- Continuous bubbler (line under pressure continuously) utilizing supply tank

- Bubble rate adjustable from 30 – 120 bubbles per minute

- Manual line purge with supply tank

- Range: 0 – 80 m water column

- Water level sensor technology shall be a non-submersible pressure transducer that will be located in the gauge house

- Range of bubbler and pressure transducer shall be 30 psi.  In the case, the range of water levels is greater than this, an orifice manifold system will be used to cover the entire range of water level with a single sensor.

- Maintenance free operation (no desiccant replacement) for upto three years

- Accuracy: 0.02% FSO or better

- Anodized pipe or similar material, orifice line and orifice cap will be supplied by the bidder.  In the case of measuring over a high range of water levels, several orifice lines shall be constructed with a minimum of 15% of the range of pressure transducer overlap between lines (~3m). In these cases the bubbler will come with a multiple orifice manifold where orifice lines are permanently fixed to the bubbler.

- Solar charging system and battery backup which will be included at every station shall be designed to accommodate the continuous operation of the bubbler.

- The Schedule of Requirements gives the numbers to be quoted for and their associated ranges and is provided in Appendix- A. The bidder shall specify for the closest standard range of the offered product with respect to the required measuring range. The quoted range shall be equal or larger than the required range.

    - Automated Full Climate Sensors

It is proposed to install automated full climate stations either at new locations or upgrade the selective existing stations. WMO data collection conventions such as data interval and averaging shall be applied to the automated full climate station data collection routine.  There will be no evaporation pan; instead the Penman equation will be used to calculate evaporation.  Exposure of climate station sensors is a very important consideration.  This will be carefully checked during the commissioning. The full climate station sensors will include temperature, relative humidity, wind speed, wind direction, atmospheric pressure, solar radiation and precipitation.

(a) The temperature sensor shall meet or exceed the following specifications:

- Range: -5 to +60ºC

- Accuracy: 0.1ºC or better

- Resolution: 0.1ºC

- Resistance type sensor or better

- 15 second response time

- Radiation shield

- All accessories to install sensor, including wire etc. as required

- Temperature sensor output shall be DC analog, RS232, or SDI12

- Suitable for climate monitoring

- Calibration equipment (10) required

(b) The relative humidity sensor shall meet or exceed the following specifications:

- Range: 0% to 100%

- Accuracy: 3% or better

- Resolution: 0.5%

- Sensor type: Capacitive/Solid state

- Operating Temperature: -5 to +60ºC

- DC analog output, RS232, or SDI12

- 60 second response time

- To be housed with the temperature sensor within the radiation shield

- Sensor mounting hardware and cables as required

- Calibration equipment (10) required

(c) The wind speed and direction sensor shall meet or exceed the following specifications:

- Ultrasonic type sensor (no moving parts)

- Range: 0 to 65 m/s range for speed, 0 to 360 degrees for direction

- Accuracy for speed: 0.20 m/s or 4% of reading, 2 degrees for wind direction

- Starting threshold: 0.5 m/s

- Resolution: 0.5 m/s for wind speed

- Resolution: 10 degrees for wind direction

- Sensor mounting hardware and cables as required

- Calibration equipment (10) required

(d) The atmospheric pressure sensor shall meet or exceed the following specifications:

- Range: 800 to 1100 hPa or as determined by sensor elevation

- Temperature compensated

- Accuracy: 0.5 hPa

- -5 to +60ºC operating temperature

- Sensor mounting hardware and cables as required

- Calibration equipment (10) required

(e) The solar radiation sensor shall meet or exceed the following specifications:

- Global radiation sensor matching response of existing manual solar radiation sensor

- Silicon photocell or thermopile

- Range: 0 to 1500 W/m2

- Accuracy: 5 %

- Resolution : 5 W/m2

(f) The precipitation/rainfall sensor shall meet or exceed the following specifications:

- Tipping bucket base and collector: durable and rigid of cast metal, moulded thermoplastic, FRP or equivalent; galvanized iron sheet is not permitted

- Rim material: gun metal/ brass/ stainless steel or equivalent

- Rainfall shall be measured using a tipping bucket method and shall be able to record rainfall cumulatively with the data collection platform

- Rainfall sensor shall be of such a design that it operates reliably and accurately under prevailing environmental and weather conditions

- Raingauge is easy to operate and easy to calibrate

- Minimum expected operational lifetime shall be 15 years or greater

- Bucket capacity: 1 mm equivalent rainfall

- Focus on rainfall gauge is the accurate measurement of rainfall totals, not necessarily rainfall rates. The use of a siphon system to normalize rainfall rate to achieve accurate total rainfall is specified, or software which will also normalize varying rainfall rates and errors caused by changing rainfall rates

- Intensity: 0 – 500 mm/hr

- Accuracy: 2% of reading

- Contact system using dual reed switches with varistor protection

- Insect covers on all openings

- Collecting funnel diameter: close to 200 mm internal diameter

- The gauge will have leg adjusters to set the level horizontally

- Certified calibration test document shall be included with every gauge. The calibration may be performed just prior to installation to assure accuracy of certified calibration test.

- Ability to service tipping bucket gauge without re-leveling the gauge.

- Calibration kit for tipping buckets (10 units)

- Necessary cables to connect precipitation gauge to data logger as required

These specifications will also apply for all automated rainfall stations.

    - Gate Sensors

Gate sensors shall be installed on gates indicated in Appendix A to measure gate opening, so that the discharge through gates can be calculated.  This may also require upstream and downstream water elevations to be known and shall be included with the gate sensor installation if not already available.  The gate opening sensor shall be able to resolve opening so that when combined with the water elevation sensors upstream and downstream (if needed) of the gate, will result in calculating the discharge with accuracy within 5% of the actual flow.

    - Solar Power and Battery

All systems will rely on solar power charging system and battery backup for extended operation during periods of extended cloudiness or loss of charging system.  The solar panel and battery system shall satisfy the following specifications:

- 12V solar photo voltaic system with the capacity to power all equipments associated with the station

- The solar panels shall be capable of not only powering the equipment, but charging the batteries to provide continuous operations

- The battery system must be capable of operating all components of the monitoring station for 20 days without charging

- The solar panel system shall be capable of full charging the battery system that has gone 20 days without charge within 2 days in full sunlight.

- A solar regulator will be supplied at each station to regulate power and maintain optimum battery and data collection platform operation

    - Grounding and Surge Protection

All systems shall require Single Point Grounding (SPG) to protect the equipment from Electromagnetic Pulse (EMP) surge and lightening damage. SPG is recognized as the most important part of any lightning protection system. Radio Frequency antenna shall be protected from power surge entering the Data Collection Platform and sensors with the use of a proven surge protector. Diagrams showing the application of grounding and surge protection, with model, make, and manufacturer is required as part of the bid package.

    - Mast and Supports

These shall satisfy the following specifications:

Mast:

- Height: as per need (3-5 m)

- Can be manufactured locally, according to the bidder’s instructions, if good (corrosion resistant) quality is available

- Including guys and all accessories/ tools for mast mounting must be able to resist a wind speed of 110 km/hour

- Bidder can propose alternative mounting according to site conditions but meet the strength conditions for wind

Sensor Supports and Brackets:

- Aluminium or stainless steel

- Sensor mounting supports and other accessories as required

Lightning Protection:

- Lightning rod, ground rod and conductors as required

- Lightning/ over voltage protection devices for sensors, data logger(DCP), transmitter and solar power supply as required

    - Data Center Equipments

A data center will be established by the bidder in consultation with the Consultant appointed for implementation of a real time streamflow forecasting and reservoir operation system. The Purchaser will provide the office space, power and environmental control required for the data center. The data center will have the following functions:

-	House the ERS receiver and ancillary equipments which will be used to collect INSAT DCP data directly from the INSAT satellite

-	House the GSM/GPRS receiver and ancillary equipments which will be used to collect GSM/GPRS data to and from the GSM/GPRS data communication network

-     House the computer system used with the ERS to collect data

-     House the computer system for the GSM/GPRS data collection

-   House a quality control computer which will be used to provide initial quality control, storage and visualization of data through both graphs and reports.  Provide Alert and Alarms based on the evaluation of the network performance statistics

The ERS shall meet or exceed the following specifications:

- Processor capable of running ERS Applications and ancillary functions as specified below

(a) Windows 7 Operating System

- 500 GB Hard drive with RAID 1 Technology or better

- ERS will be a complete ground station including receiving satellite dish, receiver, and all components required for the collection of INSAT DCP data

- ERS base station shall include an INSAT receiver which is approved by ISRO and other regulating agencies in India

- ERS shall be able to collect data from 1000 stations in real time, with no delays

- ERS shall pass data to the Quality Control and data visualization computer in real time

The GSM/GPRS ground station shall meet or exceed the following specifications:

- Processor capable of running GSM/GPRS Applications and ancillary functions as specified below

- Windows 7 Operating System

(b) 500 GB Hard Drive with RAID 1 Technology or better

- The GSM/GPRS ground station will be a complete ground station including receiving antenna, receiver and all components required for the collection of GSM/GPRS data to and from the GSM/GPRS data communication network

- The GSM/GPRS ground station shall be compatible and in accordance with the GSM/GPRS manufacturer and regulating agencies in India

- The GSM/GPRS ground station shall be able to communicate to all GSM/GPRS stations in operation by the Purchaser in real time

- The GSM/GPRS ground station shall be able to collect data from any of the Purchaser’s stations using GSM/GPRS data communication and retrieve data for upto one year old

- The GSM/GPRS ground station shall be able to accept coded SMS messages from manually operated hydro-climate stations and as a backup to the RTDAS systems

- The GSM/GPRS ground station shall be able to reprogram any station using the GSM/GPRS data communication.

- The GSM/GPRS ground station shall pass data to the Quality Control and data visualization computer in real time

The quality control function shall meet or exceed the following specifications:

- Processor suitable for running quality control function, data base application, web browser and all code to visualize data

- Cabinet rail mounted computer system

- Windows 7 Operating System

- 1 TB Hard Drive with RAID 1 Technology or better

- PostGreSQL data base for archiving data or other similar open source solution

- Apache Organization Web Server

- Web page to view data stream, tabular reports, plots, alarm conditions and acknowledgement and ERS and GSM/GPRS data collection system status

- Software to evaluate the streams of data from both INSAT and GSM/GPRS to include the following features:

  - Error checking of data streams for artifacts with both limit checking and delta checking

  - Tabular reports indicating network operation and station outages

  - Alert and Alarm conditions set based on low signal strength, battery and/or solar power condition, sensor malfunction, station outage.  Alert and alarms to be issued over SMS Text and email to be user configurable.

  - Tabular data reports showing daily, monthly station or group of station summaries

  - Plot of station or group of station data (time versus sensor parameter)

  - Production of qualified data to be sent to a hot directory in a standardized format to be picked up by the DSS.

  - Export data to Hydrological Information System (HIS) already developed by HP(SW), Maharashtra

  - Ability to re-process historical data to the hot directory and on to the DSS

  - The requirements of software have been described in the “Scope of Work”, para 3 of technical specifications.

Other requirements of the Data Center are as below:

- Network routers to connect computer in a network and to the Purchaser’s intranet

- Uninterruptable Power Supply to provide 30 minutes of operation on all data

collection and data processing computers in the data center as mentioned above

- Computer cabinet to hold all computers and Uninterruptable Power Supply

- Power strips with surge suppression for use on all equipment supplied by the bidder

- The Purchaser will provide environmental control, such as heating and air

conditioning

- The Purchaser will provide power distribution to computer cabinet(s)

    - Ancillary Equipments and Tools

Ancillary equipments and tools will be provided by the bidder to the Purchaser for the sole use by the Purchaser.  Equipments required for maintenance will be supplied in addition to the equipments provided by the bidder and shall remain the property of the Purchaser. The bidder will provide 10 Process Meters (Digital Volt Meter) and 10 Watt Meters.

The process meter shall meet or exceed the following specifications:

- Fluke 789 Process Meter of better

- Current Measurement:

  - Range 0-1A AC or DC

  - Resolution 1 mA

  - Accuracy 0.2% + 2 LSD

- Current Sourcing:

  - Range 0-20 mA or 4-20 mA

  - Resolution 0.05% of span

  - Drive Capability: 24V Compliance or 1200 Ohms @ 20 mA

- Frequency to 19.999 kHz, 0.005% +1 LSD

- Voltage Measurement:

  - Range 0-1000 V AC (true rms) or DC

  - Resolution 0.1mV to 1.0V

  - Accuracy 0.1%  Rdg + 1 LSD (VDC)

- Resistance Measurement to 40 MOhms, 0.2% +1 LSD

- Diode Test 2.0V shows diode voltage drop

- Display Current and % of span

- Auto step, auto ramp

- Operating Temperature: 0 to +60º C

- Storage Temperature: -5 to +60º C

- Batteries AA Alkaline

- Warranty 3 years

- Battery life 140 hours typical, 10 hours typical if sourcing @ 20 mA

The 10 Watt Meters shall meet or exceed the following specifications:

- Bird Model 4304A Watt Meter or better

- 5, 15, 50, 150, 500 W, with no scale limitations except power limited to 150W from 800-1000 MHz

- Frequency Range: 25 MHz – 1.0 GHz

- Accuracy: 25-100 MHz, ± 7% of full scale, using correction charts. 100-512 MHz, ± 6 of full scale, no correction needed. 512-1000 MHz, ± 7% of full scale, no correction needed

- Insertion Loss: 25-521 MHz, 1.05 max. (UHF female conn.), 512-1000 MHz, 1.07 max

- Connectors: To match that of INSAT antenna cable

    - Field Computers

Field computers will be provided by the bidder to the Purchaser for the sole use by the Purchaser.  Field computers required for maintenance will be supplied in addition to the equipments provided by the bidder and shall remain the property of the Purchaser. The field computers to be provided to the Purchaser shall include both ruggedized laptops and PDAs suitable for field work with serial port and wireless connection to communicate with the field equipment.  Both PDA’s and laptops shall have a wireless connection to use the mobile telephone (GPRS) network to gain access to the Internet while in the field.

The ruggedized laptop computers shall meet the following specifications:

- 10 (Ten) numbers new Ruggedized Laptop/Tablet Combination Computers

- Intel Core Duo 1.2 GHz Processor

- Windows Version 7 Premium Operating System

- Microsoft Office Professional 2007

- 2 GB RAM

- 12.1” wide WXGA Color TFT display or better with Sunlight readable screen

- Solid State Hard Drive 128GB

- 2 – USB 2.0 ports

- 9-pin Serial Port RS232

- RJ-45 Ethernet

- Waterproof membrane keyboard

- Built-in Wireless 802.11 a/b/g

- Extended life battery for > 8 hours of operation

- A/C adapter, 240V

- 12V Car Adapter

- Carry Bag

- Operating Temperature: 0 to +60ºC

- Storage Temperature: -5 to +60ºC

- Humidity: 0-100% non-condensing

- Shock: IEC 66-2-27/MIL-STD-810F Method 516.5 or better

- Drop: IEC 68-2-32/MIL-STD-810F Method 516.5 or better

- Regulation: That which is accepted by India

- The computer system will be compatible with software provided to access the Data Collection Platforms

The PDAs shall meet the following specifications:

- 10 (Ten) numbers new PDAs

- Windows Mobile 6

- Word, Excel, PowerPoint, Outlook Mobile, Pocket Internet Explorer

- Display: minimum 240x320 pixel color TFT with LED front light or back light

- Touch screen display

- Ports: 9-pin serial port – RS232, with serial interface cable

- Integrated GPS

- Integrated GPRS

- Integrated Bluetooth

- Integrated Wi Fi 802.11g

- 128 MB RAM

- 1 GB nonvolatile flash storage

- MIL-STD-810F, Method 516.5, Procedure IV tolerance to being dropped

- IP67, sealed against accidental immersion (1 m for 30 min)

- IP67, MIL-STD-810F, Method 510.4, Procedure I or 510.3 Procedure I &II, tolerance to dust

- Operating Temperature: 0 to +60ºC

- Humidity MIL-STD-810F, Method 507.4

- Li-ion rechargeable battery for minimum of 15 hours of operation time

- Total recharge time less than 5 hours

- A/C Charger

- 12V Vehicle Charging Cable

- Vehicle Mount

- Lanyard

- Hand Strap

- Screen Protector

- AA Battery Module

- Compatible with Data Collection Platform being provided by the bidder. Unit will be used for on-site programming and data collection

- All Documentation, including User Guides, in print form and on Compact Disk or some other similar form of data storage (USB Drive)

    - Cabling and Connecting

i. The term cable shall always include necessary type of connectors at both the ends for connecting between two equipments. The connectors shall be properly anchored with protective sheathing of the cable in such a way that the loads due to pulling and twisting shall be borne by the protective sheathing and the conductors shall not be subjected to any stress.

ii. The connectors shall be so fixed on the individual components of the system that the metal/ plastic connector shall always transfer the loads due to pulling and twisting directly to the protective body of the component and the internal interface cords / connections shall not be subjected to any load.

iii.Laying of necessary data and power supply cables connecting various components and embedding them or protecting them with necessary conduits.

iv.Wherever the cables are to be laid indoors and the length of the individual cable run exceeds 1 metre, the cable shall be housed in a protective conduit made of electrical supply grade conduit of appropriate diameter and the conduit shall be fixed with the wall at a height not less than 1 metre above the floor surface. Whenever the indoor cable is required to cross the floor, it shall be housed in a Galvanised Iron pipe of 12.5 mm internal diameter and the pipe shall be fixed to the floor with suitable protective covering to avoid tripping of personnel using the area or disturbance to the pipe due to such movement.

v. Wherever cables are to run through open ground including the public road and pathways, the cable shall be armoured and shall be water ingress proof upto static water pressure of 5 kg/cm2. All joints made in cable shall also meet the water proofing criteria. In addition, the cable shall be protected by housing the same in 12.5 mm Galvanised Iron pipe embedded at a depth of not less than 1.5 metre below the ground surface with a warning brick on the same. A sketch of the cable layout with respect to the identifiable marks of the area shall be prepared and handed over to the Purchaser for each such cable run on completion of the work of cable laying operation.

vi.The joints in the cable connecting between the sensor and data collection platform shall be avoided by measuring the appropriate length of the cable required and attaching the same in one piece. If the cable joints become necessary, prior permission of the Purchaser shall be obtained before executing the same. The joint fabricated through a splicing and jointing kit shall be stronger than the parent cable.

vii.The cable carrying data and electrical power shall be housed separately in different conduits separated by adequate distance to prevent leakage currents. The data cables shall also be laid out in such a way that the data integrity is not compromised due to mutual interference.

## 5.10.14 ADCP River Discharge Measurement

The State of Maharashtra requires two ADCPs (Acoustic Doppler Current Profiler). These ADCPs will be down-looking systems that shall be used for manual stream gauge measurement. The specifications of ADCP are provided below.

The ADCPs will be provided with all accessories to make measurements from a bridge, boat, tag line and from a cableway.  This includes a floating platform.  This equipment will be used by the bidder and serviced by the bidder for repair due to malfunction or other equipment breakdown.  This equipment will be used by the Purchaser during the maintenance transition period and stay in the possession of Purchaser at the end of the operation and maintenance contract.

ADCP Type		: Down-looking ADCP for manual measurement of discharge

Profiling Distance	: 0.3–10m

Profiling Velocity	: +/-20m/s

Velocity Accuracy	: 0.25% of measured velocity

Velocity Resolution	: 0.001m/s

Depth Range		: 0.3–30m of water column

Depth Accuracy	: 1%

Depth Resolution	: 0.001m

Discharge Distance 	: 0.3–10m

Computations		: All performed internally

Accessories		:  - Floating platform for the ADCP

- GPS for bottom tracking

- All necessary tethers and taglines

- Real time display for instantaneous readings

### 5.10.15 ADV Velocity Measurement

The Acoustic Doppler Velocity meter (ADV) will be used for velocity measurements in shallow water conditions that can generally be waded.  There will be one unit required including one set of all accessories needed to make measurements such as a display, wading rods, etc.  The ADV will be used by the bidder and serviced by the bidder for repair due to malfunction or other equipment breakdown.  This equipment will be used by Purchaser during the maintenance transition period, and stay in the possession of Purchaser at the end of the operation and maintenance contract. The specifications of ADV are provided below:

Profiling Distance	: 0.3–10m

Profiling Velocity	: +/-4m/s

Velocity Accuracy	: +/-1% of measured velocity

Velocity Resolution 	:  0.0001m/s

Input Power 		:  12V DC nominal

Environmental 	:  Operating temperature 0 -60º C

Depth Resolution	:  0.001m

5.10.16 Electronic Current Meters

The State of Maharashtra will require three sets of current meters with all accessories required to make discharge measurements over all ranges of flow encountered at newly proposed river water level (stage) sites for establishing stage-discharge curve. Accessories include Price-type current meters or equivalent.  The current meters should be able to measure the entire range of flows, typical of measurements made by either Type AA or Pygmy current meters. The bidder will provide the complete specifications of the equipment as part of the bid.

The current meter accessories will include wading rods, cranes, sounding weights to make measurements from a bridge, cableway or wading.  This equipment will be used by the bidder and serviced by the bidder for repair due to malfunction or other equipment breakdown.  This equipment will be used by Purchaser during the maintenance transition period, and stay in the possession of Purchaser at the end of the operation and maintenance contract.

# 5.11 Construction Requirements and Workmanship

5.11.1 Civil Works

The civil works shall be the bidder’s responsibility. The bidder shall furnish details and standard drawings of equipment mounting arrangements and installation. The bidder shall also provide detailed instructions regarding the requirements for lightening protection and power supply as well as recommendations for security arrangements needed for systems and sensors installed in open areas (e.g. fencing, locks etc.). The civil works shall be executed as per details given below and with the standard specifications of either BIS (Bureau of Indian Standards) or Public Works Department: Maharashtra as relevant.

5.11.2 Materials

# (1) Storage, handling and use of materials

# Materials and components shall be handled in such a manner as to avoid any damage or contamination and in accordance with all applicable recommendations of the manufacturers.

# (2) Bricks

Bricks, blocks and tiles shall be regular and uniform in shape and colour and all of a similar size to the respective type.

# (3) Cement

Cement shall be factory produced by a reputed manufacturer and stored in dry conditions until required.

# (4) Mortar

Mortar shall be mixed only as and when required in the proportions of 1 part cement to 3 parts sand with fresh, clean and clear water, until its colour and consistency are uniform. It shall be conveyed fresh as required for use and used within 20 minutes of mixing. Fine aggregates for mortar shall be washed natural sand or crushed natural stone.

# (5) Timber

# All timber to be used in the permanent works shall be new and free from bows or warps or significant knots.

# (6) Ferrous metal work

# Ferrous metal work exposed to the outside shall be treated with a continuous coating of bituminous primer over the whole exposed area. Where the metal work is of a decorative nature, it shall be primed and painted with a paint suitable for external use.

# (7) Nuts and bolts

# Bolt lengths shall be sufficient to ensure that nuts are full-threaded when tightened in their final position, with minimum two threads showing. Where bolting is incompatible with the

# material being fixed, suitable isolation washers and sleeves shall be used. Washers shall be provided under the head of the bolt and under the nut.

# (8) Natural stone

# Natural stone shall be of durable quality, uniform in texture and free from iron bands, spots, sandholes, flaws, shakes and other imperfections which would adversely affect its strength or appearance. The dimensions of stones shall be adequate for proper coursing and bonding.

# 5.11.3 Excavation, Backfilling and Reinstatement

# (1) Excavation

i.   The bidder shall carry out his operations in such a manner as to avoid damage to or deterioration

of, the formation of excavations.

ii.   The sides of excavations shall be adequately supported at all times.

iii. The bidder shall be responsible for the disposal off site of all surplus excavated material, but

no excavated material suitable for re-use shall be removed from the site. No surplus material

shall be disposed off on the site.

iv. The bidder shall not allow water to lie anywhere on the site. Where water is encountered in

excavation operations, it shall be disposed off to a suitable area away from the works and so as  not to inconvenience others. Any temporary sumps which are constructed for dewatering shall be backfilled at the end of operations, with material similar to that excavated.

v.   The bidder shall carry out excavation operations in all types of strata met with.

# (2) Trenches

i.  Trenches in rock for pipes upto 100 mm nominal bore shall be excavated to provide a minimum clearance of 100 mm around the outside of the pipe barrels and joints. For pipes with nominal bores exceeding 100 mm, the minimum clearance shall be 200 mm.

ii. Trenches for pipes shall be excavated to a sufficient depth to ensure a minimum cover of 500 mm to the top of the pipes. For pipes carrying water under pressure or for pipes laid with a water load above, this depth shall be increased to 900 mm.

iii. Where trench excavations encounter obstructions in the ground conditions (e.g. hard rock or major tree roots), the obstruction shall be bypassed by a separate trench enabling a straight line or minimum suitable radius, between the pipe source and destination locations. The trench shall be backfilled in a similar manner to other excavations as per the specification given below.

# (3) Backfilling

i. 	Backfilling shall, where practicable, be undertaken immediately the specified operations preceding it have been completed. Backfilling shall not, however, be commenced until the works to be covered have achieved a strength sufficient to withstand all loading imposed thereon.

ii. Backfilling shall be undertaken in such a manner as to avoid uneven loading or damage.

iii.Filling material to the permanent works shall be of a granular type, without clay or siltatious material (a well assorted mixture of grain size between 2 mm and 40mm diameter), deposited in 300 mm layers and compacted at each layer.

iv.Backfilling to a roadway surface shall be compacted and completed such that the finished surface is of a level flush and comparable to the adjoining area, after any settlement has     occurred. Where the surrounding surface is of a bituminous (tarmac) type, the backfilling shall be finished with similar.

v. Where the excavations have been supported and the supports are to be removed, these, where practicable, shall be withdrawn progressively as backfilling proceeds, in such a manner as to minimise the danger of collapse and all voids formed behind the supports shall be carefully filled and compacted.

# (4) Reinstatement

i.	Kerbs, channels and edgings disturbed by the works shall be re-laid with existing units, provided they are not damaged. Where existing units are not suitable for re-use, the bidder shall provide replacement units of similar texture, colour, type and quality, consistent with those adjacent.

ii.	The frames of all manholes and surface boxes shall be reinstated by bedding and haunching in mortar as specified. Chamber or frame tops shall be flush with the existing surface on all sides.

iii.On completion of work in unpaved land, the bidder shall break up the surface of all land affected, to a depth of atleast 300 mm and clear stones and extraneous material greater than 50 mm in size before placing and raking topsoil of atleast 300 mm in depth, to the finished surface level.

iv.The utmost care shall be taken to protect trees, crops and significant shrubs in the   vicinity of the site area. Any that are damaged or killed shall be replaced with a new plant or plants, of a similar species and type, in the area of the original.

v.Any existing services of pipes or cables shall be avoided if possible. Where temporary removal is required, the service shall be turned off and an accurate location of the point or points of interception marked. The bidder shall record these positions, depths, pipe and cable diameters and types of construction and shall reinstate them to their previous standard, following construction of the new works. Backfill shall be to the standard specified above.

vi.The bidder shall ensure that all pipes, whether new or reinstated, shall be clear of debris upon completion of the works.

vii.Embankments and other areas of fill shall be formed of suitable materials capable of normal compaction to form stable fill, deposited and compacted evenly as soon as practicable after excavation, in a maximum of 300 mm layers.

# 5.11.4 Concrete, Formwork and Reinforcement

# (1) Concrete

i. The cementitious content of any concrete shall be between 350 kg/m3 and 400 kg/m3, with a

maximum free water / cementitious content ratio of between 0.45 and 0.50. The mix and strength of such concrete shall not be inferior to M20.

ii.Calcium chloride or admixtures containing calcium chloride shall not be used in the production

of concrete.

iii.The nominal size of coarse aggregate shall be from 6 mm to 20 mm.

iv.The bidder shall not permit any cement to come into contact with water at a temperature above

60 degrees Celsius.

v. The concrete shall be mixed only as and when required, to a uniform colour and consistency.

vi.Workability of fresh concrete shall be such that the concrete can be handled and placed

without segregation and after compaction can completely fill the formwork and surround all

reinforcement and ducts.

vii.The quantity of water to be used shall not exceed that required to produce a concrete with appropriate workability to be placed and compacted in the required location. Water used in the concrete mix shall be fresh, clean and clear.

# (2) Formwork

i. Formwork shall be sufficiently rigid and tight to prevent loss of mortar from the concrete and

to maintain the correct position, shape and dimensions of the finished work. It shall be so

constructed as to removable from the cast concrete without shock or damage.

ii. The forms shall be capable of producing a consistent quality of surface.

iii.Where holes are required in forms to accommodate projecting reinforcement, fixing devices or

other built-in items, precautions shall be taken to prevent loss of mortar matrix.

iv.Formwork shall give access for the preparation of joint surfaces before the concrete has hardened.

v. Top formwork shall be provided to slopes 30 degrees or more from the horizontal.

vi. The bidder’s method of constructing formwork shall allow for props to soffit forms to remain

in position until the formwork is struck.

vii.Formwork shall be removed without shock to or disturbance of the concrete.

viii.Formwork to vertical or sloping surfaces shall not be removed until the concrete strength shall be sufficient to meet any wind loading upon the concrete likely to arise at the time when the formwork is removed. This shall be a period of minimum 2 days.

ix. The formwork for elevated slabs and beams shall remain in place for a minimum of 7 days.

x. All concrete surfaces shall have a fair finish, formed by formwork which is designed to produce a hard, smooth surface with true, clean arises. Only minor surface blemishes shall be permitted and there shall be no staining or discolouration. Any projections shall be removed and the surfaces made good. For finishes to surfaces not formed by formwork, the concrete shall be levelled and screeded with a wooden trowel, following which a fair finish shall be formed with firm pressure from a steel trowel, to produce a dense, smooth, uniform surface free from trowel marks.

xi. If any blemishes to the finished surface appear, they shall be made good with fresh, specially prepared cement and fine aggregate paste, whilst the concrete is still green where possible. After the concrete has been properly cured, the faces shall be rubbed down to produce a smooth and even surface, making every effort possible to match the colour of the concrete.

# (3) Reinforcement and other built-in items

i. Reinforcement and other built in items (such as pipes and sleeves) shall be firmly supported in

position and of sufficient strength to secure against displacement during the concrete pour.

ii.Non-structural connections for the positioning of reinforcement and other built in items shall

be made with tying wire or other fixing device. Precautions shall be made to ensure that

projecting end of tying wire or other fixing device or clips do not encroach into the concrete cover.

iii.All reinforcement and other built-in-items shall be clean and free of rust or other debris

bonding.

iv.Reinforcement shall be of HYSD/TMT variety manufactured by SAIL or its subsidiaries.

Cover to all reinforcement shall be 50 mm minimum.

v.Tie bolts for formwork shall be of the high tensile variety and shall be cast directly into the concrete. Only tie bolts which avoid embedding any metal parts permanently within 50 mm of the concrete surface shall be permitted. Voids remaining after the removal of all, or part of each tie bolt shall be filled flush with the surrounding concrete using a freshly prepared cement and fine aggregate paste. All such voids shall be prepared by removing surface laitance prior to filling to ensure bond is achieved.

# (4) Placing of concrete

i.  The interiors of all formwork shall be thoroughly cleaned out before any concrete is placed. The faces of the forms in contact with the concrete shall be clean and treated with a suitable releasing agent, where possible.

ii. Each batch of concrete shall be continuously and thoroughly compacted in its final position within 20 minutes of mixing. Sufficient compaction shall take place until the expulsion of air has virtually ceased, and in a manner which does not promote segregation of the ingredients, in order to avoid surface blemishes.

iii. Concrete to each discrete section shall be placed in one pour or in a continuous fashion such that fresh concrete shall not adjoin concrete which has been in place for more than 30 minutes. If this does occur, concreting to this section shall be stopped until the placed concrete has set, but not hardened and a construction joint shall be formed.

iv. The surface of any set concrete against which new concrete is to be cast, otherwise known as

a construction joint, shall be free from water or loose debris and shall be roughened to the

extent that the large aggregate is exposed but not disturbed. The joint surface shall be

cleaned immediately before the fresh concrete is placed against it.

v. 	All measures shall be taken to keep the temperature of fresh concrete below 32 degrees Celsius and to prevent excessive evaporation of surface water. This shall include placing and constantly keeping moist with cold water, hessian (or similar coarse weave natural material) and spraying the surface with curing agents to aid temperature escape, as soon after the formwork had been removed as possible.

vi. Where a kicker is used, it shall be at least 70 mm high and shall be incorporated with the previous concrete.

vii. Concrete shall not be allowed to taper off to a thickness of less than 50 mm. Vertical joints shall be formed against a stop board suitably notched to accommodate the reinforcement. The top surface of each lift of concrete shall be straight and level, unless described otherwise in the contract.

# (5) Tolerance for concrete structures

Concrete structures in the final work shall have no abrupt irregularities which are, to an extent, observable by eye. Subject to retaining the required concrete cover to reinforcement, other deviations from the surfaces described in the contract shall not deviate from line, level, vertically, cross sectional dimension or length by more than 10 mm.

# 5.11.5 Construction of Pipe Work

The cable runs along the ground for connecting the sensors to the DCP shall be made through the pipes of HDPE. The materials and manufacturing quality of the pipes shall be as per relevant Indian Standards.

# (1) General

i.	Suitable measures shall be taken to prevent extraneous material from entering pipes and to anchor each pipe to prevent flotation or other movement before the works are complete.

ii. Pipeline marker tape shall be laid between 100 mm and 300 mm above the pipe.

# (2) Pipe bedding and covering

i.  In case of laying pipes for carrying the air tubing for the bubbler system, the care should be taken to embed the pipe at a depth below the general profile of the river bank slope such that the same shall not be exposed on account of rainfall/drainage induced gully erosion in the monsoons. Such depths shall be determined by the Purchaser’s site in charge and the representative of the bidder.

ii.  For making horizontal runs of embedded pipes, crossing open ground and/ or walk ways frequented by traffic or cattle, a layer of warning bricks shall be laid over the pipe before filling up the trench.

iii. Bedding for pipes shall be constructed by spreading and compacting granular bedding material of atleast 100 mm thick over the full width of the pipe trench. After the pipes have been laid, additional material shall be placed and compacted equally on each side of the pipe. Where practicable, this shall be done in sequence with the removal of the trench supports.

iv. Bedding, haunching and fill material to pipe or cabling work shall be of a granular type, without clay or siltatious material (a well assorted mixture of grain size between 2 mm and 40 mm diameter).

v. After completion of the relevant operations, fill material shall be placed and compacted over the full width of the trench in layers not exceeding 150 mm before compaction, to a finished thickness of 250 mm above the crown of the pipes. Thereafter, layers shall be filled and compacted in 300 mm thicknesses, to 300 mm from the surrounding ground surface level. Topsoil shall then be placed to a level flush with the surrounding ground surface.

# (3) Pipe jointing

i. 	Pipe jointing surfaces and components shall be kept clean and free from   extraneous matter until the joints have been made or assembled. Care shall be taken to ensure that there is no ingress of grout or other extraneous material into the joint annulus after the joint has been made.

ii. Where pipes with flexible joints are required to be laid to curves, the deflection at any joint as laid shall not exceed three quarters of the maximum deflection recommended by the manufacturer.

iii.Fusion welding joints in high density and medium density polythene shall be made only between pipes having the same physical characteristics. No fusion joints between pipes from dissimilar materials shall be made. When solvent welding HDPE pipes are jointed outside the trench, they shall not be lowered into place until the period recommended by the manufacturer for complete setting of the joints has elapsed. A pipe section containing a completed weld shall achieve the same strength characteristics as the parent pipe.

iv.Flanged joints shall be properly aligned before any bolts are tightened.

v. For weld jointing of steel pipes, the ends of the pipes shall be cut and prepared, and be free from fins, planar defects, tears and other surface defects, prior to welding. Cleaning to base metal shall extend for atleast 25 mm from the end of the pipe on both internal and external faces.

vi.For cement mortar joints, the spigot of the pipe shall be entered into the socket of the last pipe laid until it bears on the back face of the socket and it shall be centered in the socket. Two turns of tarred yarn shall then be caulked into the back of the socket and cement mortar shall be pressed into the joint to fill the socket and shall be eveled off at 45 degrees from the outside edge of the socket.

# (4) Pipe protection

i. 	Where concrete surrounds are provided to pipes, they shall be supported on precast setting blocks, the top face of each block being covered with two layers of compressible packing.

ii. Where pipes with flexible joints are used, any concrete protection shall be interrupted over its full cross section of each pipe by a shaped compressible filler.

iii. Plastic pipes shall be wrapped with a layer of plastic sheeting before being surrounded by any concrete.

iv. Ferrous pipes shall be protected by a continuous coating of bitumen primer over the whole area to be protected.

# (5) Pipe cutting

Pipes shall be cut by a method which provides a clean, square profile, without splitting or fracturing the pipe wall and which causes minimal damage to any protective coating.

5.11.6 Manholes

Manholes shall be constructed with steps, ladders or slabs aligned correctly and of sufficient size to permit unrestricted access to workers.

5.11.7 Enclosures and Fencing

All enclosures should withstand hostile environments and must be protected against vandalism. The door must be secured using a tamper proof lock. Additional security devices may be recommended. Outdoor enclosures will contain all instrumentation except solar panels and sensors. The required degree of protection is IP65 or NEMA4. A radiation shield of a double wall must protect the enclosure against excessive heating by radiation. For fencing, Chain link fence with barbed wire is to be provided. The chain link fence material and installation as per guideline provided by CLFMI-Chain Link Fence Manufacturers Association, ASTM (American Society of Testing Material and ASTM F 1553”The Standard Guide for Specifying Chain Link Fence” or equivalent international standards.

APPENDIX A – Details of proposed RTDAS stations

| Category I – Existing Cooperator Stations of IMD, ISRO |
| --- |
| RTDAS Network : Krishna basin |
| Sr. No. | Name of Station | Latitude | Longitude | INSAT / GSM Option | Civil Works |
| 1 | RWRRS Mahabaleshwar, Satara | 17056’15” | 730 40’28” | INSAT | Not Required |
| 2 | KDMSD Koyanagar , Patan, Satara | 17026’36” | 73043’52” | INSAT | Not Required |
| 3 | ARS Radhanagari, Kolhapur | 160 24’20’’ | 730 57’35’’ | INSAT | Not Required |
| 4 | ARS Karad ,Satara | 17017’30” | 74008’22” | INSAT | Not Required |
| 5 | ARS Kasabe Digraj ,Sangli | 16053’46” | 74031’12” | INSAT | Not Required |
| 6 | HPSD RGS at Ambavade Khatav, Satara | 17°30’24” | 74°28’19” | INSAT | Not Required |
| 7 | CA Kolhapur | 16041’53” | 74°12’47” | INSAT | Not Required |
| 8 | ARS Gadhinglaj ,Kolhapur | 16012’40” | 74°21’47” | INSAT | Not Required |
| 9 | Satara ,IMD | 17035’24” | 74°01’12” | INSAT | Not Required |
|  | Total = 9 |  |  |  |  |

Category I -  Existing Cooperator Stations of IMD, ISRO

| RTDAS Network : Bhima basin (including Nira) |
| --- |
| Sr. No. | Name of Station | Latitude | Longitude | INSAT / GSM Option | Civil Works |
|  | Bhima Sub-basin: |  |  |  |  |
| 1 | TIFR,Junnar, Pune | 19° 12’ 27” | 73° 52’ 06” | INSAT | Not Required |
| 2 | SHPSD Shirur, Pune | 18° 49’ 49” | 74° 21’ 00” | INSAT | Not Required |
| 3 | ARS,Lonawala Maval, Pune | 18° 44’ 51” | 73° 24’ 12” | INSAT | Not Required |
| 4 | INS Shivaji, Lonawala | 18° 43’ 12” | 73° 22’ 26” | INSAT | Not Required |
| 5 | WRSD, Weghare Mulashi (Paud) | 18° 32’ 00” | 73° 37’ 00” | INSAT | Not Required |
| 6 | ZARS,Ganeshkhind,Pune | 18° 33’ 12” | 73° 44’ 18” | INSAT | Not Required |
| 7 | ARS,Wadgaon Maval,Pune | 18° 44’ 17” | 73° 38’ 20” | INSAT | Not Required |
| 8 | AS Manjari Farm,Pune | 18° 30’ 47” | 73° 51’ 23” | INSAT | Not Required |
| 9 | POCRTC,Pandharpur, Solapur | 17° 42’ 30” | 76° 20’ 00” | INSAT | Not Required |
| 10 | ARS Jeur, Karmala, Solapur | 18° 13’ 16” | 75° 09’ 41” | INSAT | Not Required |
| 11 | ZARS, Raviwarpeth, Solapur | 17° 48’ 04” | 75° 54’ 00” | INSAT | Not Required |
| 12 | ARS, Mohol, Solapur | 17° 49’ 19” | 75° 37’ 27” | INSAT | Not Required |
| 13 | KVK, Tuljapur, Osmanabad | 18° 00’ 45” | 76° 04’ 05” | INSAT | Not Required |
| 14 | CoA, Barshi Bypass Rd., Osmanabad | 18° 10’ 17” | 76° 02’ 19” | INSAT | Not Required |
| 15 | Swantra Pul Vasahat, Atpadi, Sangli | 17° 24’ 30” | 74° 55’ 30” | INSAT | Not Required |
| 16 | Jat tal Sangli | 17° 02’ 46” | 75° 13’ 19” | INSAT | Not Required |
| 17 | ARS, Chas, Ahmednagar | 19° 02’ 17” | 74° 39’ 06” | INSAT | Not Required |
| 18 | Rajgurunagar IMD | 18° 51’ 00” | 73° 53’ 04” | INSAT | Not Required |
|  | Nira Sub-basin: |  |  |  |  |
| 1 | Gudhe, Pune (Nira-Deoghar catchment) | 18° 04’ 21” | 73° 43’ 55” | INSAT | Not Required |
| 2 | CSRS, Padegaon, Satara | 18° 05’ 39” | 74° 12’ 52” | INSAT | Not Required |
|  | Total = 20 |  |  |  |  |

Category II – Automated Rainfall Stations

RTDAS Network : Krishna basin

| Sr. No. | River | Name of Station | Latitude | Longitude | New / Existing Station | GSM / GPRS Connectivity | INSAT / GSM Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Removal of old fencing | Providing chain link fencing with gate & locking arrangement | Foundation block & mounting for rain gauge, building for housing DCP, pole for mounting antenna, solar panel, etc. with accessories |
| 1 | Krishna | Dhom Dam | 170 58’ 23” | 730 49’ 13” | E | Yes | INSAT | - | ( | ( |
|  |  | Balkawadi | 17° 57’ 43” | 73° 42’ 38” | E | Yes | INSAT | - | ( | ( |
|  |  | Jambhali | 18° 01’ 35” | 73°42 ‘ 54” | N | Yes | GSM | - | ( | ( |
|  |  | Jor | 170 58’53 “ | 730 40’ 28” | N | No | INSAT | - | ( | ( |
|  |  | Nagewadi | 17°55’20” | 73°50’07” | E | Yes | GSM | - | ( | ( |
|  |  | Targaon | 17°30’47” | 74°09’17” | E | Yes | GSM | - | ( | ( |
|  |  | Upshinge | 17°36’58” | 74°13’42” | E | Yes | GSM | - | ( | ( |
|  |  | Shirdhon | 17°40’27” | 74°08’32” | E | Yes | GSM | - | ( | ( |
| 2 | Kudali | Ranjani | 17° 53’ 07” | 73° 47’ 36” | N | Yes | GSM | - | ( | ( |
| 3 | Venna | Malewadi | 17° 43’ 39” | 73 54’ 55” | E | Yes | GSM | - | ( | ( |
|  |  | Moleshwari | 17° 53’06” | 73° 43’ 30” | E | Yes | GSM | - | ( | ( |
|  |  | Medha | 17° 47 ‘39” | 73° 49’ 39” | N | Yes | GSM | - | ( | ( |
| 4 | Urmodi | Sandvali | 17°38’27” | 73°50’17” | E | Yes | GSM | - | ( | ( |
|  |  | Kas | 17°42’50” | 73°48’33” | E | Yes | GSM | - | ( | ( |
|  |  | Nagthane | 17°33’58” | 74°02’48” | E | Yes | GSM | - | ( | ( |
| 5 | Tarali | Thoseghar | 170 35’ 57” | 730 52’ 06” | E | Yes | GSM | - | ( | ( |
|  |  | Tarali | 170 32’ 01” | 730 53’ 55” | N | Yes | INSAT | - | ( | ( |
|  |  | Padloshi | 17°25’41” | 73°57’16” | E | Yes | GSM | - | ( | ( |
| 6 | Koyna | Koynanagar | 170 23’ 19” | 730 44’ 28” | E | Yes | INSAT | - | ( | ( |
|  |  | Bamnoli | 170 43’ 55” | 730 45’ 32” | E | Yes | INSAT | - | - | ( |
|  |  | Navaja | 170 26’ 36” | 730 43’ 52” | AWS | No | INSAT | - | ( | ( |
|  |  | walwan | 170 43’ 58” | 730 36’ 04” | E | No | INSAT | - | ( | ( |
|  |  | Kati | 170 29’ 12” | 730 48’ 48” | E | No | INSAT | - | ( | ( |
|  |  | Pratapgad | 170 56’ 12” | 730 34’ 41” | E | Yes | INSAT | - | ( | ( |
|  |  | Sonat | 170 50’ 16” | 730 42’ 32” | E | Yes | INSAT | - | ( | ( |
|  |  | Surul | 170 23’ 39” | 730 54’ 05” | E | Yes | INSAT | - | ( | ( |
| 7 | Mand | Chaphal | 17° 23’ 47” | 74° 01’ 01” | N | Yes | GSM | - | ( | ( |
| 8 | Morna | Belewade | 17°19’37” | 73°55’42” | E | Yes | GSM | - | ( | ( |
| 9 | Warna | Chandoli Bk | 170 08’ 17” | 730 52’ 03” | E | Yes | INSAT | - | ( | ( |
|  |  | Dhangarwada | 170 10’ 29” | 730 52’ 36” | E | Yes | INSAT | - | ( | ( |
|  |  | Dhakale | 170 05’ 50” | 730 46’ 00” | E | Yes | INSAT | - | ( | ( |
|  |  | Patherpunj | 170 18’ 03” | 730 41’ 52” | E | Yes | INSAT | - | ( | ( |
|  |  | Shigoan | 16°52’42” | 74°21’33” | E | Yes | GSM | - | - | ( |
|  |  | Satve Sawarde | 16°54’15” | 74°06’45” | E | Yes | GSM | - | ( | ( |
|  |  | Morna colony | 16°58’51” | 74°06’59” | E | Yes | GSM | - | ( | ( |
| 10 | Wang | Ambawade – 1 | 17°15’53” | 74°03’50” | E | Yes | GSM | - | ( | ( |
| 11 | Kadvi | Kadvi Colony | 170 00’ 34” | 730 52’ 12” | N | Yes | GSM | - | ( | ( |
|  |  | Jambhur | 17°02’10” | 73°55’21” | E | Yes | GSM | - | ( | ( |
| 12 | Kasari | Gajapur | 160 53’ 21” | 730 45’ 43” | N | No | INSAT | - | ( | ( |
|  |  | Borivade | 160 50’ 21” | 740 04’ 00” | N | Yes | GSM | - | ( | ( |
| 13 | Kumbhi | Revachiwadi | 160 33’ 07’’ | 730 52’22’’ | E | Yes | GSM | - | ( | ( |
|  |  | Kumbhi | 160 31’43’’ | 730 51’41’’ | N | Yes | GSM | - | ( | ( |
|  |  | Gaganbawada | 160 32’56’ | 730 47’48’’ | E | Yes | GSM | - | ( | ( |
|  |  | Mandukali | 160 38’28’’’ | 730 56’24’’ | E | No | INSAT | - | - | ( |
| 14 | Dhamani | Padsali | 160 42’12’’ | 730 52’50’’ | N | Yes | GSM | - | ( | ( |
| 15 | Bhogawati | Dajipur | 160 23’ 4’’ | 730 51’54’’ | E | Yes | INSAT | - | - | ( |
|  |  | Hasne | 160 21’ 10” | 730 51’ 44” | N | Yes | INSAT | - | ( | ( |
|  |  | Padali | 160 24’49’’ | 730 58’12’’ | E | Yes | GSM | - | ( | ( |
|  |  | Bhagojipatil wadi | 160 57’ 19” | 730 51’ 20” | N | Yes | GSM | - | ( | ( |
| 16 | Dhudhganga | Dhudhganga nagar | 160 21’ 25” | 740 00’ 24” | E | Yes | GSM | - | ( | ( |
|  |  | Bhandane | 160 20’4’’ | 730 58’12’’ | E | No | INSAT | - | ( | ( |
|  |  | Bagalwadi | 160 14’ 17” | 730 58’ 24” | E | Yes | GSM | - | ( | ( |
|  |  | Waki | 160 17’ 10” | 740 00’ 27” | E | No | INSAT | - | ( | ( |
| 17 | Other | Yelgaon | 17°07’55” | 74°01’33” | E | Yes | GSM | - | ( | ( |
|  | Krishna | Wathar | 17°11’33” | 74°10’53” | E | Yes | GSM | - | ( | ( |
|  |  | Wathar Station | 17°53’02” | 74°08’39” | E | Yes | GSM | - | ( | ( |
|  |  | Rethare Dharan | 17°00’53” | 74°11’12” | E | Yes | GSM | ( | ( | ( |
|  |  | Sangli | 16°51’07” | 74°36’21” | N | Yes | INSAT | - | - | ( |
|  |  | Kirloskarwadi | 17°05’02” | 74°24’52” | N | Yes | GSM | - | ( | ( |
|  | Yerla | Siddhewadi | 17°09’51” | 74°46’09” | E | Yes | GSM | ( | ( | ( |
|  |  | Gorergaon Wangi | 17°26’12” | 74°19’31” | E | Yes | GSM | - | ( | ( |
|  | Vedganga | Songe Bange | 160 25’36’’ | 740 45’32’’ | E | Yes | GSM | - | ( | ( |
|  |  | Kagal NH-4 | 160 33’ 16” | 740 19’ 05’’ | E | Yes | GSM | - | ( | ( |
|  | Jambhli | Tandulwadi | 16°40’51” | 74°00’58” | E | Yes | GSM | - | ( | ( |
|  |  | Nitawade | 16°44’45” | 74°08’35” | E | Yes | GSM | - | - | ( |
|  | Panchganga | Rukadi | 16°43’34” | 74°21’44” | E | Yes | GSM | ( | ( | ( |
|  |  | Wadange | 16°42’43” | 74°16’20” | E | Yes | GSM | - | ( | ( |
|  |  | Total = 67 |  |  |  |  |  |  |  |  |
|  | (1) E = Existing station |  |  |  |  |  |  |  |  |
|  | (2) N = New station |  |  |  |  |  |  |  |  |
|  | (3) ( = Required |  |  |  |  |  |  |  |  |

Category II – Automated Rainfall Stations

RTDAS Network : Bhima basin (including Nira)

| Sr. No | River | Name of Station | Latitude | Longitude | New / Existing Station | GSM / GPRS Connectivity | INSAT / GSM Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Removal of old fencing | Providing chain link fencing with gate & locking arrangement | Foundation block & mounting for rain gauge, building for housing DCP, pole for mounting antenna, solar panel, etc. with accessories |
|  | Bhima Sub-basin: |  |  |  |  |  |  |  |  |
| 1 | Mandvi | Chilewadi Dam site | 190 20’ 26’’ | 730 58’ 09’’ | N | Yes | GSM | - | ( | ( |
| 2 | Aar | Madh | 190 18’ 21’’ | 730 49’ 33’’ | N | Yes | GSM | - | ( | ( |
|  |  | Khireshawar | 190 22’ 03’’ | 730 48’ 48’’ | N | Yes | GSM | - | ( | ( |
|  |  | Pimpalgaon Joga | 19° 18’ 51” | 73° 52’ 55” | E | Yes | GSM | - | ( | ( |
| 3 | Kukadi | Ghatghar | 19° 16’ 53” | 73° 41’ 53” | E | Yes | GSM | - | ( | ( |
|  |  | Manikdoh dam site | 19° 14’ 29” | 73° 48’ 58” | E | Yes | INSAT | - | ( | ( |
|  |  | Ozar | 190 12’ 03’’ | 730 57’ 28’’ | N | Yes | GSM | - | ( | ( |
| 4 | Mina | Amboli | 19° 13’ 59” | 73° 42’ 21” | N | Yes | GSM | - | ( | ( |
| 5 | Ghod | Ahupe | 190 10’ 27’’ | 730 34’ 05’’ | N | Yes | GSM | - | ( | ( |
|  |  | Dimbe Dam Site | 19° 05’ 10” | 73° 45’ 02” | N | Yes | INSAT | - | ( | ( |
|  |  | Bhimashankar | 19° 04’ 22” | 73° 32’ 07” | N | Yes | INSAT | - | ( | ( |
|  |  | Asane | 19° 09’ 54” | 73° 40’ 22” | N | No | INSAT | - | ( | ( |
|  |  | Rajapur | 19° 05’ 23” | 73° 36’ 27” | N | Yes | GSM | - | ( | ( |
|  |  | Chandoh | 18° 58’ 18” | 74° 10’ 37” | E | Yes | GSM | ( | ( | ( |
|  |  | Khodad | 19° 04’ 27” | 74° 02’ 26” | N | Yes | GSM | - | ( | ( |
|  |  | Ambegaon | 19° 07’ 07” | 73° 44’ 00” | N | Yes | GSM | - | ( | ( |
| 6 | Bhima | Aundhe | 18° 57’ 16” | 73° 37’ 41” | E | No | INSAT | ( | ( | ( |
|  |  | Chaskaman dam site | 18° 57’ 24” | 73° 47’ 02” | N | Yes | INSAT | - | ( | ( |
|  |  | Whiram | 18° 57’ 31” | 73° 35’ 36” | E | No | INSAT | ( | ( | ( |
|  |  | Koliye | 18° 53’ 48” | 73° 38’ 06” | E | Yes | GSM | ( | ( | ( |
|  |  | Amboli 1 | 18° 56’ 35” | 73° 36’ 29” | E | No | INSAT | - | ( | ( |
|  |  | Shive | 18° 55’ 36” | 73° 41’ 03” | E | Yes | GSM | ( | ( | ( |
|  |  | Kharoshi | 19° 01’ 19” | 730 40’ 48’’ | N | Yes | GSM | - | ( | ( |
|  |  | Daund | 180 27’’ 31’’ | 74° 34’ 43” | N | Yes | INSAT | - | ( | ( |
|  |  | Nimgaon Ketki | 180 05’’ 12’’ | 74° 55’ 43” | N | Yes | GSM | - | ( | ( |
|  |  | Palasdev | 180 09’’ 45’’ | 74° 57’ 57” | N | Yes | GSM | - | ( | ( |
|  |  | Pabal | 18° 50’ 19” | 74° 03’ 40” | E | Yes | GSM | - | ( | ( |
|  |  | Waki Bk. | 18° 47’ 06” | 73° 52’ 32” | E | Yes | GSM | ( | ( | ( |
|  |  | Bhalawani | 17° 41’ 52” | 75° 07’ 14” | N | Yes | GSM | - | ( | ( |
| 7 | Arala | Ghotewadi | 18° 59’ 21” | 73° 38’ 01” | N | Yes | GSM | - | ( | ( |
| 8 | Andhra | Savale | 18° 57’ 15” | 73° 29’ 25” | E | Yes | GSM | ( | ( | ( |
|  |  | Andhra Dam site | 180 47’ 08’’ | 730 39’ 02’’ | N | Yes | GSM | - | ( | ( |
|  |  | Mau | 180 50’ 22’’ | 730 34’ 13’’ | N | Yes | GSM | - | ( | ( |
|  |  | Nigade | 180 49’ 49’’ | 730 38’ 55’’ | N | Yes | GSM | - | ( | ( |
|  |  | Alandi | 18° 40’ 47” | 73° 53’ 21” | E | Yes | GSM | - | ( | ( |
| 9 | Kundalika | Wadiwale | 18° 49’ 07” | 73° 30’ 54” | E | Yes | GSM | - | ( | ( |
|  |  | Bhudhawadi | 18° 47’ 17” | 73° 32’ 35” | E | Yes | GSM | - | ( | ( |
| 10 | Pawana | Khandala | 18° 45’ 24” | 73° 22’ 12” | E | Yes | GSM | ( | ( | ( |
|  |  | Pawna dam site | 180 20’ 30’’ | 730 29’ 37’’ | N | Yes | INSAT | - | ( | ( |
|  |  | Kole | 180 40’ 27’’ | 730 27’ 33’’ | N | Yes | INSAT | - | ( | ( |
|  |  | Kivale | 18° 39’ 27” | 73° 43’ 22” | E | Yes | GSM | - | ( | ( |
| 11 | Local Nalla | Kasar Sai Dam site | 18° 37’ 07” | 73° 39’ 52” | E | Yes | GSM | - | ( | ( |
| 12 | Mula | Kumbheri | 18° 35’ 41” | 73° 24’ 23” | E | Yes | INSAT | ( | ( | ( |
|  |  | Davdi Camp | 180 28’ 19’’ | 730 26’ 46’’ | N | Yes | INSAT | - | ( | ( |
| 13 | Mutha | Weghre | 18° 27’ 15” | 73° 37’ 05” | E | Yes | INSAT | - | - | ( |
|  |  | Temghar Dam site | 18° 27’ 11” | 73° 32’ 26” | E | Yes | INSAT | ( | ( | ( |
|  |  | Khadakwasla Dam site | 180 26’’ 50’’ | 730 46’ 24’’ | N | Yes | INSAT | - | ( | ( |
|  |  | Katraj Tunnel | 18° 23’ 49” | 73° 51’ 28” | E | Yes | GSM | ( | ( | ( |
|  |  | Khamgaon | 18° 33’ 34” | 74° 13’ 09” | E | Yes | GSM | - | - | ( |
| 14 | Mose | Dasawe | 18° 24’ 31” | 73° 30’ 21” | E | Yes | INSAT | - | ( | ( |
|  |  | Warasgaon Dam site | 180 23’ 05’’ | 730 36’ 42’’ | N | Yes | INSAT | - | ( | ( |
| 15 | Ambi | Shirkoli | 180 20’ 09’’ | 730 33’ 47’’ | N | Yes | INSAT | - | ( | ( |
|  |  | Saiu | 180 23’ 08’’ | 730 35’ 40’’ | N | Yes | INSAT | - | ( | ( |
| 16 | Ghod | Kolgaon | 18°48’18” | 74°39’52” | E | Yes | GSM | ( | ( | ( |
| 17 | Sina | Chinchondi Patil | 18° 59’ 53” | 74° 55’ 02” | E | Yes | GSM | ( | ( | ( |
|  |  | Karmala | 18° 24’ 32” | 75° 11’ 27” | N | Yes | GSM | - | ( | ( |
|  |  | Ashti | 18° 48’ 03” | 75° 10’ 06” | N | Yes | GSM | - | ( | ( |
|  | Total for Bhima | 57 |  |  |  |  |  |  |  |  |
|  | Nira Sub-basin: |  |  |  |  |  |  |  |  |
| 1 | Kanand | Ghisar | 18° 17’ 26” | 73° 33’ 34” | E | Yes | GSM | - | ( | ( |
|  |  | Bhattiwaghdara | 18° 16’ 59” | 730 36’ 28’’ | N | Yes | GSM | - | ( | ( |
|  |  | Velhe | 18° 18’ 08” | 730 38’ 35’’ | E | Yes | GSM | - | - | ( |
| 2 | Yelwandi | Sangvi (Near Dam) | 18° 10’ 04” | 73° 51’ 51” | E | Yes | INSAT | ( | ( | ( |
|  |  | Pangari | 18° 11’ 41” | 73° 43’ 36” | E | Yes | GSM | ( | ( | ( |
|  |  | Bhutonde | 18° 12’ 53” | 730 39’ 06’’ | N | Yes | GSM | - | ( | ( |
|  |  | Kambre(Kh) | 18° 13’ 26” | 730 44’ 18’’ | N | Yes | GSM | - | ( | ( |
| 3 | Nira | Vir Dam Site | 18° 07’ 14” | 74° 05’ 51” | E | Yes | INSAT | ( | ( | ( |
|  |  | Shirgaon | 18° 05’ 55” | 73° 37’ 44” | E | Yes | GSM | ( | ( | ( |
|  |  | Deoghar | 18° 06’ 16” | 73° 43’ 53” | E | Yes | INSAT | ( | ( | ( |
|  |  | Khandala | 18° 03’ 31” | 74° 01’ 16” | N | Yes | GSM | - | ( | ( |
|  |  | Pangare | 18° 15’ 35” | 74° 03’ 21” | N | Yes | GSM | - | ( | ( |
|  |  | Shirvali | 18° 04’ 58” | 730 40’ 29’’ | N | Yes | GSM | - | ( | ( |
|  |  | Hirdoshi | 18° 06’ 59” | 730 40’ 12’’ | N | Yes | INSAT | - | ( | ( |
|  |  | Saswad | 18° 20’ 57” | 74° 01’ 36” | E | Yes | GSM | ( | ( | ( |
|  |  | Morgaon | 18° 16’ 28” | 74° 19’ 22” | E | Yes | GSM | ( | ( | ( |
|  |  | Ambeghar | 18° 08’ 07” | 73° 47’ 59” | E | Yes | GSM | - | - | ( |
|  |  | Sansar | 18° 07’ 00” | 74° 41’ 37” | N | Yes | GSM | - | ( | ( |
|  |  | Dharmpuri | 17° 56’ 06” | 74° 41’ 10” | N | Yes | GSM | - | ( | ( |
|  |  | Banganga Dam | 18° 29’ 11” | 75° 39’ 31” | N | Yes | GSM | - | ( | ( |

| Sr. No | River | Name of Station | Latitude | Longitude | New / Existing Station | GSM / GPRS Connectivity | INSAT / GSM Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Removal of old fencing | Providing chain link fencing with gate & locking arrangement | Foundation block & mounting for rain gauge, building for housing DCP, pole for mounting antenna, solar panel, etc. with accessories |
| 4 | Other |  |  |  |  |  |  |  |  |  |
|  | Man | Siddhewadi | 17° 33’ 28” | 75° 24’ 40” | E | Yes | GSM | ( | ( | ( |
|  | Sina | Madha | 18° 02’ 03” | 75° 31’ 15” | E | Yes | GSM | ( | ( | ( |
|  | Doddanalla | Umadi | 17° 25’ 12” | 75° 35’ 45” | E | Yes | GSM | ( | ( | ( |
|  | Man | Andhali | 17° 45’ 30” | 74° 28’ 48” | E | Yes | GSM | ( | ( | ( |
|  | Man | Mhaswad | 17° 38’ 23” | 74° 48’ 20” | N | Yes | GSM | - | ( | ( |
|  | Total for Nira | 25 |  |  |  |  |  |  |  |  |
| Total | 82 |  |
|  | (1) E = Existing station |  |  |  |  |  |  |  |  |
|  | (2) N = New station |  |  |  |  |  |  |  |  |
|  | (3) ( = Required |  |  |  |  |  |  |  |  |

Category III – Automated Full Climate Stations (AFCS)

RTDAS Network : Krishna basin

| Sr. No. | Name of Station | Latitude | Longitude | New / Existing station | GSM / GPRS Connectivity | INSAT / GSM Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Removal of old fencing | Providing chain link fencing with gate & locking arrangement | Mast for mounting AFCS equipments, building for housing DCP, Antenna, solar panel etc.with accessories and RCC foundation blocks, raingauge with foundation block. |
| 1 | Bhuinj | 17° 51’00” | 73°59’34” | N | Yes | GSM | - | ( | ( |
| 2 | Parali | 17° 39’ 36” | 73°54’ 51” | E | Yes | GSM | - | - | ( |
| 3 | Amabale | 17° 30’ 19” | 73°56’ 52” | E | Yes | GSM | - | - | ( |
| 4 | Shivde | 17° 23’ 49” | 74°06’25” | E | Yes | GSM | - | - | ( |
| 5 | Sarud | 16°54’54” | 74°02’32” | E | Yes | GSM | - | - | ( |
| 6 | Gudhe | 17°14’02” | 73° 58’41” | E | Yes | GSM | - | - | ( |
| 7 | Patrayachiwadi | 16°36’48” | 73°59’51” | E | Yes | GSM | - | - | ( |
| 8 | Mhaisal | 16043’37” | 74042’04” | E | Yes | GSM | - | - | ( |
| 9 | Tasgoan | 17001’26” | 74036’21” | N | Yes | GSM | - | ( | ( |
| 10 | Ichalkaranji | 16042’34” | 74027’58” | N | Yes | GSM | - | ( | ( |
| 11 | Kavthe Mahankal | 17000’16” | 74052’21” | N | Yes | GSM | - | ( | ( |
| 12 | Chandgad | 150 56’12’’ | 740 10’37’’ | N | Yes | GSM | - | ( | ( |
| 13 | Islampur | 17002’29” | 74014’31” | N | Yes | GSM | - | ( | ( |
| 14 | Khanapur | 17015’51” | 74042’24” | N | Yes | GSM | - | ( | ( |
| 15 | Rhimatpur | 17035’36” | 74011’56” | N | Yes | GSM | - | ( | ( |
| 16 | Shelakbao (Arphal Aqueduct) | 17°14’11” | 74°25’30” | N | Yes | GSM | - | ( | ( |
| Total | 16 |  |
| (1) E = Existing station |  |  |  |  |  |  |  |  |
| (2) N = New station |  |  |  |  |  |  |  |  |
| (3) ( = Required |  |  |  |  |  |  |  |  |

Category III – Automated Full Climate Stations (AFCS)

RTDAS Network : Bhima basin (including Nira)

| Sr. No. | Name of Station | Latitude | Longitude | New / Existing station | GSM / GPRS Connectivity | INSAT / GSM Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Removal of old fencing | Providing chain link fencing with gate & locking arrangement | Mast for mounting AFCS equipments, building for housing DCP, Antenna, solar panel etc.with accessories and RCC foundation blocks, raingauge with foundation block. |
|  | Bhima Sub-basin: |
| 1 | Pimpalwandi | 19° 18’ 34” | 73° 52’ 52” | E | Yes | GSM | - | - | ( |
| 2 | Chaskaman | 18° 54’ 31” | 73° 50’ 41” | E | Yes | GSM | - | - | ( |
| 3 | Koregaon Bhima | 18° 38’ 38” | 74° 03’ 15” | N | Yes | GSM | - | ( | ( |
| 4 | Nighoje | 18° 42’ 37” | 73° 47’ 03” | E | Yes | GSM | - | - | ( |
| 5 | Pargaon | 18° 33’ 48” | 74° 22’ 13” | E | Yes | GSM | - | - | ( |
| 6 | Bhigwan | 18° 17’ 48” | 74° 45’ 31” | N | Yes | GSM | - | ( | ( |
| 7 | Kashti | 18° 33’ 04” | 74° 34’ 52” | E | Yes | GSM | - | - | ( |
| 8 | Bhimanagar | 18° 04’ 03” | 75° 07’ 12” | N | Yes | INSAT | - | ( | ( |
| 9 | Nazare | 18° 17’ 51” | 74° 11’ 30” | N | Yes | GSM | - | ( | ( |
| 10 | Takli Barur | 17° 25’ 13” | 75° 51’ 07” | E | Yes | GSM | - | - | ( |
| 11 | Nimgaon Gangurde | 18° 48’ 42” | 74° 56’ 55” | E | Yes | GSM | - | - | ( |
| 12 | Kolawadi (Karjat) | 18° 31’ 10” | 74° 59’ 07” | N | Yes | GSM | - | ( | ( |
| 13 | Rosa | 18° 18’ 04” | 75° 24’ 02” | E | Yes | GSM | - | - | ( |
| 14 | Diksal | 17° 54’ 23” | 75° 41’ 36” | N | Yes | GSM | - | ( | ( |
| 15 | Nannaj | 17° 49’ 46” | 75° 51’ 46” | N | Yes | GSM | - | ( | ( |
| 16 | Sangola | 17° 26’ 39” | 75° 11’ 32” | N | Yes | GSM | - | ( | ( |
| 17 | Nighoj (Parner) | 18° 57’ 51” | 74° 17’ 09” | N | Yes | GSM | - | ( | ( |

| Sr. No. | Name of Station | Latitude | Longitude | New / Existing station | GSM / GPRS Connectivity | INSAT / GSM Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Removal of old fencing | Providing chain link fencing with gate & locking arrangement | Mast for mounting AFCS equipments, building for housing DCP, Antenna, solar panel etc.with accessories and RCC foundation blocks, raingauge with foundation block. |
| 18 | Bhoom | 18° 29’ 11” | 75° 39’ 32” | N | Yes | GSM | - | ( | ( |
| 19 | Bori Dam (Akkalkot) | 17° 37’ 05” | 76° 12’ 46” | N | Yes | GSM | - | ( | ( |
| 20 | Mangalwedha | 17° 30’ 51” | 75° 27’ 10” | N | Yes | GSM | - | ( | ( |
|  | Nira Sub-basin: |  |  |  |  |  |  |  |  |
| 1 | Sakhar | 18° 16’ 32” | 73° 43’ 15” | E | Yes | GSM | - | - | ( |
| 2 | Umbre Kasurdi | 18° 12’45” | 73° 53’ 48” | E | Yes | GSM | - | - | ( |
| 3 | Late | 18° 04’ 18” | 74° 24’ 25” | E | Yes | GSM | - | - | ( |
| 4 | Malshiras (Solapur) | 17° 51’ 30” | 74° 54’ 01” | N | Yes | GSM | - | ( | ( |
| 5 | Dahiwadi | 17° 42’ 03” | 73° 32’ 32” | N | Yes | GSM | - | ( | ( |
| 6 | Barhanpur | 18° 12’ 0” | 74° 32’ 00” | E | Yes | GSM | - | - | ( |
| Total | 26 |  |
| (1) E = Existing station |  |  |  |  |  |  |  |  |
| (2) N = New station |  |  |  |  |  |  |  |  |
| (3) ( = Required |  |  |  |  |  |  |  |  |

Category IV – Automated River Water Level (Stage) and River Discharge Stations

RTDAS Network : Krishna basin

| Sr. No. | Name of G.D.Station | Latitude | Longitude | New / Existing station | HFL observed (m) | Top elevation of gauge well / shaft or bridge (m) | Lowest River bed level (m) | Range of measure – ment (m) = Max of (6-8) or (7-8) | WSR / AWLR / DWLR Availabil-ity | Bridge Availa-bility | GSM / GPRS Connecti –vity | Rainfall Sensor proposed | FCS Sensor proposed | Equipment & Telemetry Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
| 1 | Krishna Bridge (Sangam Mahuli) | 17°41’14” | 74°02’59” | N | 622.500 | 624.000 | 604.000 | 20.00 | No | Yes | Yes | No | No | Radar, GSM | As per note (1) below this table |
| 2 | Navarasta (Sangavad Bridge) | 17°20’05” | 73°57’43” | N | 566.000 | 569.000 | 549.600 | 19.40 | No | Yes | Yes | No | No | Radar, GSM | As per note (1) below this table |
| 3 | Shigaon | 16°52’17” | 74°21’18” | E | 548.850 | 550.800 | 532.750 | 18.05 | AWLR | Yes | Yes | Yes | No | Shaft Encoder, GSM | - |
| 4 | Nitawade | 16°44’45” | 74°08’35” | E | 546.580 | 546.000 | 532.000 | 14.58 | AWLR | No | Yes | Yes | No | Shaft Encoder, GSM | - |
| 5 | Balinga | 160 41’30’’ | 740 09’55’ | E | 545.500 | 550.480 | 530.500 | 19.98 | AWLR | Yes | Yes | No | No | Shaft Encoder, INSAT | - |
| 6 | Wadange | 16042’43’’’ | 740 16’20’’ | E | 542.780 | 545.000 | 527.500 | 17.50 | AWLR | Yes | Yes | Yes | No | Shaft Encoder, GSM | - |
| 7 | Ichalkaranji | 16°39’56” | 74°28’34” | E | 541.460 | 543.675 | 524.500 | 19.18 | AWLR | Yes | Yes | No | Yes | Shaft Encoder, GSM | - |
| 8 | Shivade | 17°23’50” | 74°06’16” | E | 582.600 | 584.000 | 566.000 | 18.00 | WSR | No | Yes | No | Yes | Shaft Encoder, GSM | - |
| 9 | Sangli Byepass | 16°52’01” | 74°33’21” | E | 541.300 | 550.150 | 525.500 | 24.65 | No | Yes | Yes | Yes | No | Radar, INSAT | As per note (1) below this table |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
| 10 | Ankali Bridge | 16°48’19” | 74°33’58” | E | 542.150 | 547.120 | 525.500 | 21.62 | AWLR | Yes | Yes | No | No | Shaft Encoder, GSM | - |
| 11 | Mhaisal | 16°43’33” | 74°42’03” | E | 542.240 | 541.900 | 521.140 | 21.10 | AWLR | No | Yes | No | Yes | Shaft Encoder, GSM | - |
| 12 | Shelakbao (Arphal Aqueduct) | 17°14’11” | 74°25’30” | N | 610.000 | 615.000 | 601.660 | 13.34 | No | Yes | Yes | No | Yes | Radar, GSM | As per note (1) below this table |
| 13 | Karad | 17°17’20” | 74°11’42” | E | 567.162 | 563.115 | 549.500 | 17.66 | No | Yes | Yes | No | No | Bubbler / INSAT | As per note (2) below this table |
| 14 | Kurundwad | 16°14’57” | 74°36’40” | E | 539.760 | Not Applicable | 519.500 | 20.26 | No | No | Yes | Yes | No | Existing Telemetry site of CWC | - |
| Total for Krishna | 14 |  |

| (1) E = Existing station |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (2) N = New station |  |  |  |  |  |  |  |  |

### Note : (1)  Mounting arrangements for radar, pole for mounting solar panel, transmitter, antenna with lightening arrestor & grounding, building for housing DCP.

(2)  Pole for mounting solar panel, transmitter, antenna with lightening arrestor & grounding, gauge house building for housing DCP / equipments, trench for bubbler line embedment in soil, concrete, block for bubbler at river bed.

### Category IV – Automated River Water Level (stage) and River Discharge Stations

RTDAS Network : Bhima basin (including Nira)

| Sr. No. | Name of G.D. Station | Latitude | Longitude | New / Existing station | HFL observed (m) | Top elevation of gauge well / shaft or bridge (m) | Lowest River bed level (m) | Range of measure – ment (m) = Max of (6-8) or (7-8) | WSR / AWLR / DWLR Availa-bility | Bridge Availa-bility | GSM / GPRS Connecti- vity | Rainfall Sensor proposed | FCS Sensor proposed | Equipment & Telemetry Option | Civil Work Require-ments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
|  | Bhima sub basin |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Shirur | 18°50’28” | 74°20’38” | E | 555.660 | 556.350 | 547.000 | 9.35 | AWLR | No | Yes | No | No | Shaft Encoder, INSAT | - |
| 2 | Amdabad | 18°51’20” | 74°15’34” | E | 563.300 | 564.800 | 555.770 | 9.03 | AWLR | Yes | Yes | No | No | Shaft Encoder, GSM | - |
| 3 | Koregaon Bhima | 18°38’38’ | 74°03’15’ | N | 546.500 | 550.250 | 535.857 | 14.39 | No | Yes | Yes | No | Yes | Radar, GSM | As per note (1) below this table |
| 4 | Nighoje | 18°42’35” | 73°47’37” | E | 569.750 | 573.500 | 560.500 | 13.00 | AWLR | Yes | Yes | No | Yes | Shaft Encoder, GSM | - |
| 5 | Pimple Gurav | 18°36’17” | 73°48’48” | E | 558.700 | 556.700 | 547.700 | 11.00 | AWLR | No | Yes | No | No | Bubbler, INSAT | As per note (2) below this table |
| 6 | Paud | 18°31’43” | 73°36’40” | E | 570.750 | 572.750 | 563.750 | 9.00 | AWLR | Yes | Yes | No | No | Shaft Encoder, GSM | - |
| 7 | Dattawadi | 18°30’16” | 73°50’11” | E | 547.500 | 553.000 | 542.000 | 11.00 | AWLR | Yes | Yes | No | No | Shaft Encoder, INSAT | - |
| 8 | Kalyani nagar Bridge | 18°32’27” | 73°54’16” | N | 539.750 | 549.750 | 534.750 | 15.00 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note (2) below this table |

| Sr. No. | Name of G.D. Station | Latitude | Longitude | New / Existing station | HFL observed (m) | Top elevation of gauge well / shaft or bridge (m) | Lowest River bed level (m) | Range of measure – ment (m) = Max of (6-8) or (7-8) | WSR / AWLR / DWLR Availa-bility | Bridge Availa-bility | GSM / GPRS Connecti- vity | Rainfall Sensor proposed | FCS Sensor proposed | Equipment & Telemetry Option | Civil Work Require-ments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
| 9 | Khamgaon | 18°32’42” | 74°13’07” | E | 521.300 | 519.000 | 509.000 | 12.30 | WSR | No | Yes | Yes | No | Bubbler, GSM | As per note (2) below this table |
| 10 | Pargaon | 18°34’10” | 74°22’44” | E | 519.300 | 520.000 | 504.500 | 15.50 | No | Yes | Yes | No | Yes | Radar, GSM | As per note (1) below this table |
| 11 | Kashti | 18°33’01” | 74°34’38” | E | 512.250 | 515.180 | 503.240 | 11.94 | AWLR | Yes | Yes | No | Yes | Shaft Encoder, GSM | - |
| 12 | Pandharpur | 17°41’27” | 75°19’36” | E | 449.590 | 449.980 | 433.800 | 16.18 | AWLR | Yes | Yes | No | No | Shaft Encoder, INSAT | - |
| 13 | Takli Barur | 17°24’53” | 75°50’45” | N | 423.905 | 429.880 | 409.278 | 20.62 | No | Yes | Yes | No | Yes | Existing Telemetry site of CWC | - |
| 14 | Siddhewadi | 17°10’01” | 74°45’53” | E | 450.300 | 450.500 | 441.540 | 8.96 | AWLR | Yes | Yes | Yes | No | Bubbler, GSM | As per note (2) below this table |
| 15 | Daund | 18°28’00” | 74°34’00” | N | 510.000 | Not applicable | 496.000 | 14.00 | No | No | Yes | Yes | No | Bubbler, INSAT | As per note (2) below this table |
| 16 | Wadakbal | 17°32’11” | 75°52’56” | N | 428.970 | 432.000 | 416.883 | 15.12 | No | Yes | Yes | No | No | Existing Telemetry site of CWC | - |
| 17 | Nira Narsinhpur | 17°58’12” | 75°08’15” | N | 461.800 | 466.720 | 449.249 | 17.47 | No | Yes | Yes | No | No | Radar, INSAT | As per note (1) below this table |

| Sr. No. | Name of G.D. Station | Latitude | Longitude | New / Existing station | HFL observed (m) | Top elevation of gauge well / shaft or bridge (m) | Lowest River bed level (m) | Range of measure – ment (m) = Max of (6-8) or (7-8) | WSR / AWLR / DWLR Availa-bility | Bridge Availa-bility | GSM / GPRS Connecti- vity | Rainfall Sensor proposed | FCS Sensor proposed | Equipment & Telemetry Option | Civil Work Require-ments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
|  | Nira Sub Basin |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Umbre Kasurdi | 18°13’25” | 73°54’31” | E | 586.200 | 589.500 | 580.500 | 9.00 | AWLR | No | Yes | No | Yes | Shaft Encoder, GSM | - |
| 2 | Late | 18°04’09” | 74°24’17” | E | 578.810 | 577.810 | 571.310 | 7.50 | AWLR | No | Yes | No | Yes | Bubbler, GSM | As per note (2) below this table |
| 3 | Ambeghar | 18°08’12” | 73°47’59” | E | 598.700 | 602.000 | 593.000 | 9.00 | AWLR | No | Yes | Yes | No | Shaft Encoder, GSM | - |
| Total for Bhima | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |

| (1) E = Existing station |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (2) N = New station |  |  |  |  |  |  |  |  |

### Note : 1)  Mounting arrangements for radar, pole for mounting solar panel, transmitter, antenna with lightening arrestor & grounding, building for housing DCP.

2)  Pole for mounting solar panel, transmitter, antenna with lightening arrestor & grounding, gauge house building for housing DCP/equipments, trench for bubbler line embedment in soil, concrete,  block for bubbler at river bed

### Category V – Automated Reservoir Water Level and Outflow Discharge Stations

### RTDAS Network : Krishna basin

| Sr. No. | Name of Dam | Major/Medium Dam | Latitude | Longitude | Top of Dam (m) | Maximum water level (m) | Lowest outlet sill level (m) | River Bed level (m) | Range of measure- ment (m) (7-8) | Gauge Well / Shaft Availability | GSM / GPRS Connectivity | Proposed additional data sensors | Equipment & Telemetry Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  | Rainfall Sensor | Outlet Sensor | Spillway gate sensor |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |
| 1 | Dhom | Major | 170 58’ 23’’ | 730 49’ 13’’ | 751.300 | 748.300 | 722.170 | 701.350 | 26.130 | Yes | Yes | Yes | Yes | No | Shaft Encoder, INSAT | - |
| 2 | Dhom Balkawadi | Medium | 170 57’ 43’’ | 730 42’ 38’’ | 817.100 | 814.625 | 766.000 | 752.000 | 48.625 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note below this table |
| 3 | Mahu | Medium | 170 53’ 25’’ | 730 48’ 57’’ | 864.735 | 862.235 | 820.600 | 810.380 | 41.635 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| 4 | Kanher | Major | 170 44’ 13’’ | 730 54’ 57’’ | 694.000 | 690.980 | 662.025 | 659.100 | 28.955 | Yes | Yes | No | Yes | No | Shaft Encoder, INSAT | - |
| 5 | Urmodi | Major | 170 39’ 44’’ | 730 54’ 35’’ | 700.600 | 696.500 | 662.850 | 650.500 | 33.650 | Yes | Yes | No | No | No | Shaft Encoder, INSAT | - |
| 6 | Tarali | Major | 170 32’ 01’’ | 730 53’ 55’’ | 713.500 | 711.930 | 647.000 | 641.200 | 64.930 | Yes, Under construction | Yes | Yes | No | No | Shaft Encoder ,INSAT | - |
| 7 | Koyna | Major | 170 24’ 13’’ | 730 44’ 56’’ | 664.464 | 659.892 | 596.545 | 579.120 | 63.347 | Yes | Yes | Yes | No | Yes | Bubbler, INSAT | As per note below this table |
| 8 | Uttarmand | Medium | 170 24’ 11’’ | 740 00’ 39’’ | 690.800 | 688.300 | 656.140 | 646.350 | 32.160 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| 9 | Morna(Gureghar) | Medium | 170 17’ 38’’ | 730 50’ 04’’ | 664.500 | 662.000 | 633.000 | 617.480 | 29.000 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| 10 | Warna | Major | 170 08’ 27’’ | 730 51’ 56’’ | 632.000 | 628.050 | 575.600 | 554.950 | 52.450 | No | Yes | No | Yes | Yes | Bubbler, INSAT | As per note below this table |
| 11 | Wang | Medium | 170 12’ 40’’ | 730 55’ 58’’ | 659.450 | 657.330 | 616.600 | 608.820 | 40.730 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| 12 | Kadvi | Medium | 170 00’34’’ | 730 52’12’’ | 604.750 | 602.750 | 573.600 | 568.700 | 29.150 | No | Yes | Yes | No | No | Bubbler, GSM | As per note below this table |
| 13 | Kasari | Medium | 160 51’27’’ | 730 47’40’’ | 625.300 | 623.300 | 587.930 | 581.100 | 35.370 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| 14 | Kumbhi | Medium | 160 31’27’’’ | 730 51’43’’ | 614.700 | 612.700 | 578.500 | 572.120 | 34.200 | No | Yes | Yes | No | No | Bubbler, GSM | As per note below this table |
| 15 | Dhamni | Medium | 160 29’42’’ | 730 55’40’’ | 648.150 | 645.150 | 588.000 | 573.510 | 57.150 | Yes, Under construction | Yes | No | No | No | Shaft Encoder, GSM | - |
| 16 | Radhanagari | Major | 160 24’19’’ | 730 57’35’’ | 592.350 | 591.280 | 564.310 | 553.940 | 26.970 | Yes | Yes | No | No | Yes | Shaft Encoder, INSAT | - |
| 17 | Dudhganga | Major | 160 21’25’’ | 740 00’24’’ | 649.100 | 647.060 | 582.000 | 575.500 | 65.060 | No | Yes | Yes | No | No | Bubbler, GSM | As per note below this table |
| 18 | Tembhu Barrage | Major | 170 16’ 32’’ | 740 13’ 54’’ | 556.500 | 563.000 | 549.500 | 546.625 | 13.500 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| 19 | Satpewadi Barrage | Major | 170 06’ 59’’ | 740 21’ 24’’ | 553.000 | 541.500 | 536.500 | 534.200 | 5.000 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| Total | 19 |  |

Note:  The stations having bubbler system, the civil works are required like the pole for mounting solar panel, INSAT / GSM / GPRS transmitter, antenna with lightening arrestor & grounding, gauge house building for housing DCP / equipments, trench for bubbler line embedment in soil / concrete / masonry from bubbler orifice position at river bed to the gauge house building, concrete block for bubbler at river bed.

### Category V – Automated Reservoir Water Level and Outflow Discharge Stations

### RTDAS Network: Bhima basin (including Nira)

| Sr. No. | Name of Dam | Major / Medium Dam | Latitude | Longitude | Top of Dam (m) | Maximum water level (m) | Lowest outlet sill level (m) | River Bed level (m) | Range of measure- ment (m) (7-8) | Gauge Well / Shaft Availability | GSM / GPRS Connectivity | Proposed additional data sensors | Equipment & Telemetry Option | Civil Work Requirements |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  | Rainfall Sensor | Outlet Sensor | Spillway Gate Sensor |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |
|  | Bhima Sub Basin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Chilewadi | Medium | 190 20’ 34’’ | 730 58’ 04’’ | 746.735 | 743.735 | 701.670 | 684.175 | 42.07 | Yes | Yes | Yes | No | No | Shaft Encoder, GSM | - |
| 2 | Pimpalgaon Joga | Major | 190 18’ 31’’ | 730 52’ 52’’ | 690.600 | 687.280 | 671.630 | 662.000 | 15.65 | No | Yes | Yes | No | No | Bubbler, GSM | As per note below this table |
| 3 | Manikdoh | Major | 190 14’ 09’’ | 730 48’ 52’’ | 714.300 | 711.860 | 681.990 | 664.000 | 29.87 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note below this table |
| 4 | Yedgaon | Major | 190 10’ 23’’ | 740 01’ 14’’ | 644.600 | 642.200 | 629.715 | 620.000 | 12.49 | No | Yes | No | No | No | Bubbler, INSAT | As per note below this table |
| 5 | Wadaj | Major | 190 09’ 15’’ | 730 51’ 24’’ | 721.000 | 718.460 | 702.150 | 693.000 | 16.31 | No | Yes | No | No | No | Bubbler, INSAT | As per note below this table |
| 6 | Dimbe | Major | 190 05’ 37’’ | 730 44’ 37’’ | 722.100 | 721.180 | 679.094 | 654.000 | 42.09 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note below this table |
| 7 | Chaskaman | Major | 180 57’ 24’’ | 730 47’ 02’’ | 653.000 | 650.500 | 624.840 | 606.720 | 25.66 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note below this table |
| 8 | Kalmodi | Medium | 190 00’ 00’’ | 730 40’ 00’’ | 692.000 | 689.500 | 658.500 | 654.200 | 31.00 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| 9 | Bhama Askheda | Major | 180 49’ 59’’ | 730 43’ 28’’ | 675.600 | 673.100 | 644.250 | 624.475 | 28.85 | No | Yes | No | No | No | Bubbler, INSAT | As per note below this table |
| 10 | Andhra | Medium | 180 47’ 07’’ | 730 39’ 00’’ | 617.500 | 614.900 | 588.250 | 583.000 | 26.65 | Yes | Yes | Yes | No | No | Shaft Encoder, GSM | - |
| 11 | Wadiwale | Medium | 180 49’ 08’’ | 730 30’ 44’’ | 636.430 | 634.580 | 620.270 | 609.150 | 14.31 | No | Yes | Yes | No | No | Bubbler, GSM | As per note below this table |
| 12 | Pawana | Major | 180 40’ 50’’ | 730 29’ 41’’ | 617.520 | 615.090 | 599.240 | 579.420 | 15.85 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note below this table |
| 13 | Kasar Sai | Medium | 180 37’ 07’’ | 730 39’ 52’’ | 629.210 | 627.210 | 609.410 | 600.010 | 17.80 | Yes | Yes | Yes | No | No | Shaft Encoder, GSM | - |
| 14 | Mulshi | Major | 180 31’ 19’’ | 730 30’ 55’’ | 610.725 | 606.100 | 571.195 | 560.840 | 34.91 | No | Yes | No | No | No | Bubbler, INSAT | As per note below this table |
| 15 | Temghar | Major | 180 27’ 11’’ | 730 32’ 26’’ | 711.400 | 710.120 | 645.000 | 641.560 | 65.12 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note below this table |
| 16 | Warasgaon | Major | 180 23’ 13’’ | 730 36’ 45’’ | 642.850 | 640.500 | 586.000 | 579.430 | 54.50 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note below this table |
| 17 | Panshet | Major | 180 22’ 47’’ | 730 36’ 04’’ | 639.130 | 636.720 | 600.600 | 580.350 | 36.12 | No | Yes | No | No | No | Bubbler, INSAT | As per note below this table |
| 18 | Khadakwasala | Major | 180 26’’ 31’’ | 730 46’ 05’’ | 586.130 | 583.380 | 574.300 | 554.450 | 9.08 | Yes | Yes | Yes | Yes | Yes | Shaft Encoder, INSAT | - |
| 19 | Ghod | Major | 180 40’ 48’’ | 740 29’ 49’’ | 551.690 | 548.640 | 539.500 | 522.120 | 9.14 | Yes | Yes | No | No | No | Shaft Encoder, INSAT | - |
| 20 | Ujjani | Major | 180 04’ 0’’ | 750 07’ 15’’ | 501.400 | 497.580 | 470.000 | 458.170 | 27.58 | Yes | Yes | No | Yes | No | Shaft Encoder, INSAT | - |
| 21 | Sina-Kolegaon | Major | 180 18’ 31’’ | 750 24’ 02’’ | 508.000 | 504.490 | 495.200 | 483.800 | 9.29 | Yes | Yes | No | No | No | Shaft Encoder, GSM | - |
| 22 | Sina (Nimgaon) | Medium | 180 49’ 39’’ | 740 56’ 54’’ | 590.500 | 588.000 | 577.600 | 567.500 | 10.40 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
|  | Nira Sub Basin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Gunjawani | Major | 180 18’ 30’’ | 730 38’ 27’’ | 730.800 | 727.800 | 683.310 | 677.975 | 44.49 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| 2 | Bhatghar | Major | 180 10’ 27’’ | 730 52’ 11’’ | 624.910 | 623.280 | 578.480 | 576.040 | 44.80 | No | Yes | No | No | No | Bubbler, INSAT | As per note below this table |
| 3 | Vir | Major | 180 07’ 20’’ | 740 05’ 48’’ | 583.510 | 579.850 | 559.000 | 547.900 | 20.85 | No | Yes | Yes | Yes | Yes | Bubbler, INSAT | As per note below this table |
| 4 | Nira Deoghar | Major | 180 06’ 01’’ | 730 43’ 26’’ | 670.500 | 667.500 | 622.410 | 611.975 | 45.09 | No | Yes | Yes | No | No | Bubbler, INSAT | As per note below this table |
| 5 | Nazare | Medium | 180 17’ 51’’ | 740 11’ 30’’ | 680.770 | 677.080 | 670.680 | 658.225 | 6.40 | No | Yes | No | No | No | Bubbler, GSM | As per note below this table |
| Total | 27 |  |

Note:  The stations having bubbler system, the civil works are required like the pole for mounting solar panel, INSAT / GSM / GPRS transmitter, antenna with lightening arrestor & grounding, gauge house building for housing DCP / equipments, trench for bubbler line embedment in soil / concrete / masonry from bubbler orifice position at river bed to the gauge house building, concrete block for bubbler at river bed.

Category VI – Automated Measurements of Gate Opening

Information on spillway gates, irrigation and/or power outlet gates of selected reservoirs

| Sr. No | Name of Dam | Information |
| --- | --- | --- |
| 1 | Koyna Dam | 1) River Sluice Gate – 1 No. Size – 1.21 m x 2.28 m 2) Penstock for Dam foot Power House – 2 Nos. Size – 2.43 m dia 3) Spillway – Ogee type Radial Gates, 6 Nos. of Size – 12.5 m x 7.62 m |
| 2 | Radhanagari Dam | 1) River Sluice Gate – 5 Nos. Size – 5.71m x 2.43 m 2) Penstock for Power House – 2 Nos. Size – 3.25 m dia. 3) Spillway – Automatic Type Automatic Gates, 7 Nos. of Size – 14.48 m x 1.52 m |
| 3 | Dhom Dam | 1) Service Gate – 2 Nos. Size – 1.90 m x 2.44 m 2) Spillway – Ogee type Radial Gates, 5 Nos. of Size – 12 m x 6.5 m |
| 4 | Kanher Dam | 1) Service Gate - 3 Nos. Size – 1.85 m x 2.40 m 2) Spillway – Ogee type Radial Gates, 4 Nos. of Size – 12 m x 8 m |
| 5 | Warna | 1) Service Gate - 3 Nos. Size – 1.90 m x 2.40 m 2) Spillway – Ogee type Radial Gates, 4 Nos. of Size – 12 m x 8 m |

| Sr. No. | Name of Dam | Information |
| --- | --- | --- |
| 6 | Ujjani Dam | 1) River Sluice Gate - 4 Nos. Size – 1.8 m x 2.7 m 2) Left Bank Canal Main Gates - 5 Nos. Size – 3 m x 3.5 m 3) Power outlet – 1 No. 4) Spillway – Ogee type Radial Gates, 41 Nos. of Size – 12 m x 6.5 m |
| 7 | Khadakwasla Dam | 1) Irrigation Outlet – 3 Nos. Size – 1.83 m x 3.35 m discharging into Right Bank Canal. 2) Pune city Water Supply – 2 Nos. 3) Outlet – 3 Nos. Size – 1.83 m x 2.44 m discharging into CWPRS Canal. 4) Spillway – Ogee type Radial Gates, 11 Nos. of Size – 12 m x 5 m |
| 8 | Vir Dam | 1) Power Outlet Gates – 4 Nos. Size – 2.82 m x 3.96 m (Right Bank Canal) 2) Power Outlet Gates – 2 Nos. Size – 2.44 m x 1.90 m (Left Bank Canal) 3) Irrigation Outlet – 3 Nos. 4) Spillway – Ogee type Radial Gates, 9 Nos. of Size – 12.5 m x 8.23 m |

4.   Drawings

4.   Drawings

This Bidding Document includes the following drawings:-

| List of Drawings |
| --- |
| Drawing No. | Drawing Name | Purpose |
| Figure 1 | Map showing river basins of Maharashtra and Isohyets | To show variable rainfall in Maharashtra state |
| Figure 2 | Index map showing Krishna & Bhima river basins in Maharashtra | To show the proposed RTDAS areas in Krishna and Bhima river basins in Maharashtra |
| Figure 3 | Proposed RTDAS Network (Krishna Basin) : Full Climatic Stations + AWS | To show the proposed locations of stations |
| Figure 4 | Proposed RTDAS Network (Bhima Basin): Full Climatic Stations + AWS | To show the proposed locations of stations |
| Figure 5 | Proposed RTDAS Network ( Krishna Basin):Rainfall Stations | To show the proposed locations of stations |
| Figure 6 | Proposed RTDAS Network (Bhima Basin): Rainfall Stations | To show the proposed locations of stations |
| Figure 7 | Proposed RTDAS Network (Krishna Basin) :River Water Level (Stage) and River Discharge | To show the proposed locations of stations |
| Figure 8 | Proposed RTDAS Network (Bhima Basin): River Water Level (Stage) and River Discharge | To show the proposed locations of stations |
| Figure 9 | Proposed RTDAS Network (Krishna Basin): Reservoir Water Level and Outflow Discharges | To show the proposed locations of stations |
| Figure 10 | Proposed RTDAS Network (Bhima Basin): Reservoir Water Level and Outflow Discharges | To show the proposed locations of stations |

Note: Figure 1 to 10 (Drawings) are attached at the end of this Bidding Documents.

5. Inspections and Tests

5. Inspections and Tests

The following inspections and tests shall be performed:

1.  Testing and Inspection

It is the bidder’s responsibility to ensure that the equipment is sufficiently tested prior to shipment and installation. During final acceptance testing, the bidder will have to demonstrate full functionality and performance of all system components according to specifications. Prior to final acceptance, all expenditures related to unsatisfactory performance of the equipment, such as the costs of repairs, additional site visits, shipping costs etc., will be at the bidder’s expenses.

The costs for all tests and for all inspections to be made under the contract shall be borne by the bidder and shall be deemed to be included in the contract price with the exception of the Purchaser’s costs for witnessing tests.

2.   Factory Acceptance Test

Prior to system shipment, the bidder shall conduct a Factory Acceptance Test (FAT). The FAT shall be conducted at the bidder’s facilities and shall demonstrate “end-to-end” performance of the system components. In order to avoid delays, the factory acceptance testing shall not be witnessed. However, the bidder is required to write a FAT report that will describe the test layout, the individual testing results for each station / component, as well as any problems found. All deficiencies revealed by testing shall be rectified by the bidder at his own expenses and to the approval of the Purchaser. Rectified components shall be subject to re-testing.

3.   Receiving Inspection

The system is to be inspected in-country, after clearing customs, to ensure that 100 percent of the shipment is received and delivered. The bidder is to arrange for this receiving inspection as well as for customs clearance and delivery to appropriate storage facilities near Pune (Maharashtra) to be provided and maintained by the bidder.

4.   Site Installation and Acceptance Tests

The bidder will install all the equipments and will undertake site tests of each gauge and tests for each lot of equipments included in the Schedule of Requirements. The exact locations for installation by bidder shall be decided by the Purchaser in consultation with the bidder. A list of proposed stations is provided in Appendix A.

After final configuration and programming, the bidder will conduct an “end-to-end” operational test for each of these stations. A formal check list shall be followed and the results of the tests shall be recorded. The Purchaser’s personnel will be trained in conducting the same site acceptance tests. A Site Acceptance Test will be passed if all sensors and data collection platforms obtain and store correct values for a period of 24 hours.

5.   Operational Test (OT)

Operational Tests shall be conducted at two stages of project implementation. In each case, any operational problems related to the remote stations are to be fixed before approval can be received for the system OT. The first OT must be conducted immediately after the first lot of remote stations has been installed by the bidder. All hardware and software components of this real time network have to be tested. The OT will be considered to be successful if all components as a whole have been operating without problems during at least 72 hours period.

The second, third, fourth and final OT will be witnessed by the Purchaser’s designated representatives as each lot of stations are completed. It will take place when all the remote stations have been installed; however, the final OT will not be delayed due to delays or problems related to the installation of individual remote stations. The Purchaser shall decide the start date of the test in consultation with the bidder. The bidder shall notify the Purchaser accordingly and shall perform the OT.

The final OT shall be test for “end-to-end” performance of the entire system for a period of one week. The bidder shall demonstrate and document that the system correctly generated 95% of all expected data (normally scheduled data collections and transmissions) for the one week period. The bidder will produce a report documenting the quantities of data expected / received and indicating the success / failure of the OT. The OT will be repeated until the 98% success level is achieved or a specific waiver of the requirement (minimum 95%) is obtained.

All equipment failures will be counted except those that can be specifically determined to be “acts of God”. Failure of stations due to acts of God (natural disasters or other incidents) will not count against the 95%. Equipment needed for testing shall be provided by the bidder.

6.   Final Acceptance

When the system has passed the Final OT, the bidder can apply for Final Acceptance. When Final Acceptance is given, the system will be officially considered to be under Warranty.

# PART 3 - Contract

Section VII. General Conditions of Contract

Table of Clauses

1.	Definitions	165

2.	Contract Documents	166

3.	Fraud and Corruption	166

4.	Interpretation	167

5.	Language	168

6.	Joint Venture, Consortium or Association	169

7.	Eligibility	169

8.	Notices	169

9.	Governing Law	169

10.	Settlement of Disputes	169

11.	Inspections and Audit by the Bank	170

12.	Scope of Supply	170

13.	Delivery and Documents	170

14.	Supplier’s Responsibilities	170

15.	Contract Price	170

16.	Terms of Payment	171

17.	Taxes and Duties	171

18.	Performance Security	171

19.	Copyright	172

20.	Confidential Information	172

21.	Subcontracting	173

22.	Specifications and Standards	173

23.	Packing and Documents	174

24.	Insurance	174

25.	Transportation	174

26.	Inspections and Tests	174

27.	Liquidated Damages	175

28.	Warranty	176

29.	Patent Indemnity	176

30.	Limitation of Liability	178

31.	Change in Laws and Regulations	178

32.	Force Majeure	178

33.	Change Orders and Contract Amendments	179

34.	Extensions of Time	180

35.	Termination	180

36.	Assignment	181

37.	Export Restriction	181

Section VII.  General Conditions of Contract

| Definitions | 1.1 The following words and expressions shall have the meanings hereby assigned to them: “Bank” means the World Bank and refers to the International Bank for Reconstruction and Development (IBRD) or the International Development Association (IDA). “Contract” means the Contract Agreement entered into between the Purchaser and the Supplier, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein. “Contract Documents” means the documents listed in the Contract Agreement, including any amendments thereto. “Contract Price” means the price payable to the Supplier as specified in the Contract Agreement, subject to such additions and adjustments thereto or deductions therefrom, as may be made pursuant to the Contract. “Day” means calendar day. “Completion” means the fulfillment of the Related Services by the Supplier in accordance with the terms and conditions set forth in the Contract. “GCC” means the General Conditions of Contract. “Goods” means all of the commodities, raw material, machinery and equipment, and/or other materials that the Supplier is required to supply to the Purchaser under the Contract. “Purchaser’s Country” is the country specified in the Special Conditions of Contract (SCC). “Purchaser” means the entity purchasing the Goods and Related Services, as specified in the SCC. “Related Services” means the services incidental to the supply of the goods, such as insurance, installation, training and initial maintenance and other such obligations of the Supplier under the Contract. “SCC” means the Special Conditions of Contract. “Subcontractor” means any natural person, private or government entity, or a combination of the above, to whom any part of the Goods to be supplied or execution of any part of the Related Services is subcontracted by the Supplier. “Supplier” means the natural person, private or government entity, or a combination of the above, whose bid to perform the Contract has been accepted by the Purchaser and is named as such in the Contract Agreement. “The Project Site,” where applicable, means the place named in the SCC. |
| --- | --- |
| Contract Documents | Subject to the order of precedence set forth in the Contract Agreement, all documents forming the Contract (and all parts thereof) are intended to be correlative, complementary, and mutually explanatory. The Contract Agreement shall be read as a whole. |
| Fraud and Corruption | 3.1 If the Purchaser determines that the Supplier has engaged in corrupt, fraudulent, collusive, coercive or obstructive practices, in competing for or in executing the Contract, then the Purchaser may, after giving 14 days notice to the Supplier, terminate the Supplier's employment under the Contract and cancel the contract, and the provisions of Clause 35 shall apply as if such expulsion had been made under Sub-Clause 35.1. (a) For the purposes of this Sub-Clause: (i) “corrupt practice” is the offering, giving, receiving or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party; (ii) “fraudulent practice” is any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; (iii) “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party; (iv) “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party; (v) “obstructive practice” is (aa) deliberately destroying, falsifying, altering or concealing of evidence material to the investigation or making false statements to investigators in order to materially impede a Bank investigation into allegations of a corrupt, fraudulent, coercive or collusive practice; and/or threatening, harassing or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation; or (bb) acts intended to materially impede the exercise of the Bank’s inspection and audit rights provided for under Clause 11 [Inspections and Audits by the Bank]. 3.2 Should any employee of the Supplier be determined to have engaged in corrupt, fraudulent, collusive, coercive, or obstructive practice during the purchase of the Goods, then that employee shall be removed. |
| Interpretation | If the context so requires it, singular means plural and vice versa. Incoterms Unless inconsistent with any provision of the Contract, the meaning of any trade term and the rights and obligations of parties thereunder shall be as prescribed by Incoterms. The terms EXW, CIP, FCA, CFR and other similar terms, when used, shall be governed by the rules prescribed in the current edition of Incoterms specified in the SCC and published by the International Chamber of Commerce in Paris, France. Entire Agreement The Contract constitutes the entire agreement between the Purchaser and the Supplier and supersedes all communications, negotiations and agreements (whether written or oral) of the parties with respect thereto made prior to the date of Contract. Amendment No amendment or other variation of the Contract shall be valid unless it is in writing, is dated, expressly refers to the Contract, and is signed by a duly authorized representative of each party thereto. Nonwaiver Subject to GCC Sub-Clause 4.5(b) below, no relaxation, forbearance, delay, or indulgence by either party in enforcing any of the terms and conditions of the Contract or the granting of time by either party to the other shall prejudice, affect, or restrict the rights of that party under the Contract, neither shall any waiver by either party of any breach of Contract operate as waiver of any subsequent or continuing breach of Contract. Any waiver of a party’s rights, powers, or remedies under the Contract must be in writing, dated, and signed by an authorized representative of the party granting such waiver, and must specify the right and the extent to which it is being waived. Severability If any provision or condition of the Contract is prohibited or rendered invalid or unenforceable, such prohibition, invalidity or unenforceability shall not affect the validity or enforceability of any other provisions and conditions of the Contract. |
| Language | The Contract as well as all correspondence and documents relating to the Contract exchanged by the Supplier and the Purchaser, shall be written in the language specified in the SCC. Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by an accurate translation of the relevant passages in the language specified, in which case, for purposes of interpretation of the Contract, this translation shall govern. The Supplier shall bear all costs of translation to the governing language and all risks of the accuracy of such translation, for documents provided by the Supplier. |
| Joint Venture, Consortium or Association | If the Supplier is a joint venture, consortium, or association, all of the parties shall be jointly and severally liable to the Purchaser for the fulfillment of the provisions of the Contract and shall designate one party to act as a leader with authority to bind the joint venture, consortium, or association. The composition or the constitution of the joint venture, consortium, or association shall not be altered without the prior consent of the Purchaser. |
| Eligibility | The Supplier and its Subcontractors shall have the nationality of an eligible country. A Supplier or Subcontractor shall be deemed to have the nationality of a country if it is a citizen or constituted, incorporated, or registered, and operates in conformity with the provisions of the laws of that country. All Goods and Related Services to be supplied under the Contract and financed by the Bank shall have their origin in Eligible Countries. For the purpose of this Clause, origin means the country where the goods have been grown, mined, cultivated, produced, manufactured, or processed; or through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components. |
| Notices | Any notice given by one party to the other pursuant to the Contract shall be in writing to the address specified in the SCC. The term “in writing” means communicated in written form with proof of receipt. A notice shall be effective when delivered or on the notice’s effective date, whichever is later. |
| Governing Law | The Contract shall be governed by and interpreted in accordance with the laws of the Purchaser’s Country, unless otherwise specified in the SCC. |
| Settlement of Disputes | The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract. If, after twenty-eight (28) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Purchaser or the Supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be commenced unless such notice is given. Any dispute or difference in respect of which a notice of intention to commence arbitration has been given in accordance with this Clause shall be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the Goods under the Contract. Arbitration proceedings shall be conducted in accordance with the rules of procedure specified in the SCC. Notwithstanding any reference to arbitration herein, the parties shall continue to perform their respective obligations under the Contract unless they otherwise agree; and the Purchaser shall pay the Supplier any monies due the Supplier. |
| Inspections and Audit by the Bank | The Supplier shall permit the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and/or the accounts and records of the Supplier and its sub-contractors relating to the performance of the Contract, and to have such accounts and records audited by auditors appointed by the Bank if required by the Bank. The Supplier’s attention is drawn to Clause 3, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights provided for under Sub-Clause 11.1 constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility under the Procurement Guidelines). |
| Scope of Supply | 12.1 The Goods and Related Services to be supplied shall be as specified in the Schedule of Requirements. |
| Delivery and Documents | 13.1 Subject to GCC Sub-Clause 33.1, the Delivery of the Goods and Completion of the Related Services shall be in accordance with the Delivery and Completion Schedule specified in the Schedule of Requirements. The details of shipping and other documents to be furnished by the Supplier are specified in the SCC. |
| Supplier’s Responsibilities | 14.1 The Supplier shall supply all the Goods and Related Services included in the Scope of Supply in accordance with GCC Clause 12, and the Delivery and Completion Schedule, as per GCC Clause 13. |
| Contract Price | 15.1 Prices charged by the Supplier for the Goods supplied and the Related Services performed under the Contract shall not vary from the prices quoted by the Supplier in its bid, with the exception of any price adjustments authorized in the SCC. |
| Terms of Payment | 16.1 The Contract Price, including any Advance Payments, if applicable, shall be paid as specified in the SCC. 16.2 The Supplier’s request for payment shall be made to the Purchaser in writing, accompanied by invoices describing, as appropriate, the Goods delivered and Related Services performed, and by the documents submitted pursuant to GCC Clause 13 and upon fulfillment of all other obligations stipulated in the Contract. 16.3 Payments shall be made promptly by the Purchaser, but in no case later than sixty (60) days after submission of an invoice or request for payment by the Supplier, and after the Purchaser has accepted it. 16.4 The currencies in which payments shall be made to the Supplier under this Contract shall be those in which the bid price is expressed. 16.5 In the event that the Purchaser fails to pay the Supplier any payment by its due date or within the period set forth in the SCC, the Purchaser shall pay to the Supplier interest on the amount of such delayed payment at the rate shown in the SCC, for the period of delay until payment has been made in full, whether before or after judgment or arbitrage award. |
| Taxes and Duties | 17.1 For goods manufactured outside the Purchaser’s Country, the Supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside the Purchaser’s Country. 17.2 For goods Manufactured within the Purchaser’s country, the Supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted Goods to the Purchaser. 17.3 If any tax exemptions, reductions, allowances or privileges may be available to the Supplier in the Purchaser’s Country, the Purchaser shall use its best efforts to enable the Supplier to benefit from any such tax savings to the maximum allowable extent. |
| Performance Security | 18.1 If required as specified in the SCC, the Supplier shall, within twenty-eight (28) days of the notification of contract award, provide a performance security for the performance of the Contract in the amount specified in the SCC. 18.2 The proceeds of the Performance Security shall be payable to the Purchaser as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract. 18.3 As specified in the SCC, the Performance Security, if required, shall be denominated in the currency(ies) of the Contract, or in a freely convertible currency acceptable to the Purchaser; and shall be in one of the format stipulated by the Purchaser in the SCC, or in another format acceptable to the Purchaser. 18.4 The Performance Security shall be discharged by the Purchaser and returned to the Supplier not later than twenty-eight (28) days following the date of Completion of the Supplier’s performance obligations under the Contract, including any warranty obligations, unless specified otherwise in the SCC. |
| Copyright | 19.1 The copyright in all drawings, documents, and other materials containing data and information furnished to the Purchaser by the Supplier herein shall remain vested in the Supplier, or, if they are furnished to the Purchaser directly or through the Supplier by any third party, including suppliers of materials, the copyright in such materials shall remain vested in such third party |
| Confidential Information | 20.1 The Purchaser and the Supplier shall keep confidential and shall not, without the written consent of the other party hereto, divulge to any third party any documents, data, or other information furnished directly or indirectly by the other party hereto in connection with the Contract, whether such information has been furnished prior to, during or following completion or termination of the Contract. Notwithstanding the above, the Supplier may furnish to its Subcontractor such documents, data, and other information it receives from the Purchaser to the extent required for the Subcontractor to perform its work under the Contract, in which event the Supplier shall obtain from such Subcontractor an undertaking of confidentiality similar to that imposed on the Supplier under GCC Clause 20. 20.2 The Purchaser shall not use such documents, data, and other information received from the Supplier for any purposes unrelated to the contract. Similarly, the Supplier shall not use such documents, data, and other information received from the Purchaser for any purpose other than the performance of the Contract. 20.3 The obligation of a party under GCC Sub-Clauses 20.1 and 20.2 above, however, shall not apply to information that: the Purchaser or Supplier need to share with the Bank or other institutions participating in the financing of the Contract; now or hereafter enters the public domain through no fault of that party; can be proven to have been possessed by that party at the time of disclosure and which was not previously obtained, directly or indirectly, from the other party; or otherwise lawfully becomes available to that party from a third party that has no obligation of confidentiality. 20.4 The above provisions of GCC Clause 20 shall not in any way modify any undertaking of confidentiality given by either of the parties hereto prior to the date of the Contract in respect of the Supply or any part thereof. 20.5 The provisions of GCC Clause 20 shall survive completion or termination, for whatever reason, of the Contract. |
| Subcontracting | 21.1 The Supplier shall notify the Purchaser in writing of all subcontracts awarded under the Contract if not already specified in the bid. Such notification, in the original bid or later shall not relieve the Supplier from any of its obligations, duties, responsibilities, or liability under the Contract. 21.2 Subcontracts shall comply with the provisions of GCC Clauses 3 and 7. |
| Specifications and Standards | 22.1 Technical Specifications and Drawings The Goods and Related Services supplied under this Contract shall conform to the technical specifications and standards mentioned in Section VI, Schedule of Requirements and, when no applicable standard is mentioned, the standard shall be equivalent or superior to the official standards whose application is appropriate to the Goods’ country of origin. The Supplier shall be entitled to disclaim responsibility for any design, data, drawing, specification or other document, or any modification thereof provided or designed by or on behalf of the Purchaser, by giving a notice of such disclaimer to the Purchaser. Wherever references are made in the Contract to codes and standards in accordance with which it shall be executed, the edition or the revised version of such codes and standards shall be those specified in the Schedule of Requirements. During Contract execution, any changes in any such codes and standards shall be applied only after approval by the Purchaser and shall be treated in accordance with GCC Clause 33. |
| Packing and Documents | 23.1 The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit. 23.2 The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified in the SCC, and in any other instructions ordered by the Purchaser. |
| Insurance | 24.1 Unless otherwise specified in the SCC, the Goods supplied under the Contract shall be fully insured—in a freely convertible currency from an eligible country—against loss or damage incidental to manufacture or acquisition, transportation, storage, and delivery, in accordance with the applicable Incoterms or in the manner specified in the SCC. |
| Transportation | 25.1 Unless otherwise specified in the SCC, responsibility for arranging transportation of the Goods shall be in accordance with the specified Incoterms. |
| Inspections and Tests | 26.1 The Supplier shall at its own expense and at no cost to the Purchaser carry out all such tests and/or inspections of the Goods and Related Services as are specified in the SCC. 26.2 The inspections and tests may be conducted on the premises of the Supplier or its Subcontractor, at point of delivery, and/or at the Goods’ final destination, or in another place in the Purchaser’s Country as specified in the SCC. Subject to GCC Sub-Clause 26.3, if conducted on the premises of the Supplier or its Subcontractor, all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Purchaser. 26.3 The Purchaser or its designated representative shall be entitled to attend the tests and/or inspections referred to in GCC Sub-Clause 26.2, provided that the Purchaser bear all of its own costs and expenses incurred in connection with such attendance including, but not limited to, all traveling and board and lodging expenses. 26.4 Whenever the Supplier is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Purchaser. The Supplier shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Purchaser or its designated representative to attend the test and/or inspection. 26.5 The Purchaser may require the Supplier to carry out any test and/or inspection not required by the Contract but deemed necessary to verify that the characteristics and performance of the Goods comply with the technical specifications codes and standards under the Contract, provided that the Supplier’s reasonable costs and expenses incurred in the carrying out of such test and/or inspection shall be added to the Contract Price. Further, if such test and/or inspection impedes the progress of manufacturing and/or the Supplier’s performance of its other obligations under the Contract, due allowance will be made in respect of the Delivery Dates and Completion Dates and the other obligations so affected. 26.6 The Supplier shall provide the Purchaser with a report of the results of any such test and/or inspection. 26.7 The Purchaser may reject any Goods or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Supplier shall either rectify or replace such rejected Goods or parts thereof or make alterations necessary to meet the specifications at no cost to the Purchaser, and shall repeat the test and/or inspection, at no cost to the Purchaser, upon giving a notice pursuant to GCC Sub-Clause 26.4. 26.8 The Supplier agrees that neither the execution of a test and/or inspection of the Goods or any part thereof, nor the attendance by the Purchaser or its representative, nor the issue of any report pursuant to GCC Sub-Clause 26.6, shall release the Supplier from any warranties or other obligations under the Contract. |
| Liquidated Damages | 27.1 Except as provided under GCC Clause 32, if the Supplier fails to deliver any or all of the Goods by the Date(s) of delivery or perform the Related Services within the period specified in the Contract, the Purchaser may without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in the SCC of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in those SCC. Once the maximum is reached, the Purchaser may terminate the Contract pursuant to GCC Clause 35. |
| Warranty | 28.1 The Supplier warrants that all the Goods are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided otherwise in the Contract. 28.2 Subject to GCC Sub-Clause 22.1(b), the Supplier further warrants that the Goods shall be free from defects arising from any act or omission of the Supplier or arising from design, materials, and workmanship, under normal use in the conditions prevailing in the country of final destination. 28.3 Unless otherwise specified in the SCC, the warranty shall remain valid for twelve (12) months after the Goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the SCC, or for eighteen (18) months after the date of shipment from the port or place of loading in the country of origin, whichever period concludes earlier. 28.4 The Purchaser shall give notice to the Supplier stating the nature of any such defects together with all available evidence thereof, promptly following the discovery thereof. The Purchaser shall afford all reasonable opportunity for the Supplier to inspect such defects. 28.5 Upon receipt of such notice, the Supplier shall, within the period specified in the SCC, expeditiously repair or replace the defective Goods or parts thereof, at no cost to the Purchaser. 28.6 If having been notified, the Supplier fails to remedy the defect within the period specified in the SCC, the Purchaser may proceed to take within a reasonable period such remedial action as may be necessary, at the Supplier’s risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract. |
| Patent Indemnity | 29.1 The Supplier shall, subject to the Purchaser’s compliance with GCC Sub-Clause 29.2, indemnify and hold harmless the Purchaser and its employees and officers from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Purchaser may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract by reason of: the installation of the Goods by the Supplier or the use of the Goods in the country where the Site is located; and the sale in any country of the products produced by the Goods. Such indemnity shall not cover any use of the Goods or any part thereof other than for the purpose indicated by or to be reasonably inferred from the Contract, neither any infringement resulting from the use of the Goods or any part thereof, or any products produced thereby in association or combination with any other equipment, plant, or materials not supplied by the Supplier, pursuant to the Contract. 29.2 If any proceedings are brought or any claim is made against the Purchaser arising out of the matters referred to in GCC Sub-Clause 29.1, the Purchaser shall promptly give the Supplier a notice thereof, and the Supplier may at its own expense and in the Purchaser’s name conduct such proceedings or claim and any negotiations for the settlement of any such proceedings or claim. 29.3 If the Supplier fails to notify the Purchaser within twenty-eight (28) days after receipt of such notice that it intends to conduct any such proceedings or claim, then the Purchaser shall be free to conduct the same on its own behalf. 29.4 The Purchaser shall, at the Supplier’s request, afford all available assistance to the Supplier in conducting such proceedings or claim, and shall be reimbursed by the Supplier for all reasonable expenses incurred in so doing. 29.5 The Purchaser shall indemnify and hold harmless the Supplier and its employees, officers, and Subcontractors from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Supplier may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract arising out of or in connection with any design, data, drawing, specification, or other documents or materials provided or designed by or on behalf of the Purchaser. |
| Limitation of Liability | 30.1 Except in cases of criminal negligence or willful misconduct, (a) the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser and (b) the aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the supplier to indemnify the purchaser with respect to patent infringement |
| Change in Laws and Regulations | 31.1 Unless otherwise specified in the Contract, if after the date of 28 days prior to date of Bid submission, any law, regulation, ordinance, order or bylaw having the force of law is enacted, promulgated, abrogated, or changed in the place of the Purchaser’s country where the Site is located (which shall be deemed to include any change in interpretation or application by the competent authorities) that subsequently affects the Delivery Date and/or the Contract Price, then such Delivery Date and/or Contract Price shall be correspondingly increased or decreased, to the extent that the Supplier has thereby been affected in the performance of any of its obligations under the Contract. Notwithstanding the foregoing, such additional or reduced cost shall not be separately paid or credited if the same has already been accounted for in the price adjustment provisions where applicable, in accordance with GCC Clause 15. |
| Force Majeure | 32.1 The Supplier shall not be liable for forfeiture of its Performance Security, liquidated damages, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure. 32.2 For purposes of this Clause, “Force Majeure” means an event or situation beyond the control of the Supplier that is not foreseeable, is unavoidable, and its origin is not due to negligence or lack of care on the part of the Supplier. Such events may include, but not be limited to, acts of the Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes. 32.3 If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event. |
| Change Orders and Contract Amendments | 33.1 The Purchaser may at any time order the Supplier through notice in accordance GCC Clause 8, to make changes within the general scope of the Contract in any one or more of the following: drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser; the method of shipment or packing; the place of delivery; and the Related Services to be provided by the Supplier. 33.2 If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier’s performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or in the Delivery/Completion Schedule, or both, and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this Clause must be asserted within twenty-eight (28) days from the date of the Supplier’s receipt of the Purchaser’s change order. 33.3 Prices to be charged by the Supplier for any Related Services that might be needed but which were not included in the Contract shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services. 33.4 Subject to the above, no variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties. |
| Extensions of Time | 34.1 If at any time during performance of the Contract, the Supplier or its subcontractors should encounter conditions impeding timely delivery of the Goods or completion of Related Services pursuant to GCC Clause 13, the Supplier shall promptly notify the Purchaser in writing of the delay, its likely duration, and its cause. As soon as practicable after receipt of the Supplier’s notice, the Purchaser shall evaluate the situation and may at its discretion extend the Supplier’s time for performance, in which case the extension shall be ratified by the parties by amendment of the Contract. 34.2 Except in case of Force Majeure, as provided under GCC Clause 32, a delay by the Supplier in the performance of its Delivery and Completion obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 26, unless an extension of time is agreed upon, pursuant to GCC Sub-Clause 34.1. |
| Termination | 35.1 Termination for Default The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part: if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted by the Purchaser pursuant to GCC Clause 34; if the Supplier fails to perform any other obligation under the Contract; or if the Supplier, in the judgment of the Purchaser has engaged in fraud and corruption, as defined in GCC Clause 3, in competing for or in executing the Contract. In the event the Purchaser terminates the Contract in whole or in part, pursuant to GCC Clause 35.1(a), the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed, and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services. However, the Supplier shall continue performance of the Contract to the extent not terminated. 35.2 Termination for Insolvency. The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent. In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser 35.3 Termination for Convenience. The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective. The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect: to have any portion completed and delivered at the Contract terms and prices; and/or to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier. |
| Assignment | 36.1 Neither the Purchaser nor the Supplier shall assign, in whole or in part, their obligations under this Contract, except with prior written consent of the other party. |
| Export Restriction | 37.1 Notwithstanding any obligation under the Contract to complete all export formalities, any export restrictions attributable to the Purchaser, to the country of the Purchaser, or to the use of the products/goods, systems or services to be supplied, which arise from trade regulations from a country supplying those products/goods, systems or services, and which substantially impede the Supplier from meeting its obligations under the Contract, shall release the Supplier from the obligation to provide deliveries or services, always provided, however, that the Supplier can demonstrate to the satisfaction of the Purchaser and of the Bank that it has completed all formalities in a timely manner, including applying for permits, authorizations and licenses necessary for the export of the products/goods, systems or services under the terms of the Contract. Termination of the Contract on this basis shall be for the Purchaser’s convenience pursuant to Sub-Clause 35.3. |

| Section VIII. Special Conditions of Contract |
| --- |
| The following Special Conditions of Contract (SCC) shall supplement and / or amend the General Conditions of Contract (GCC). Whenever there is a conflict, the provisions herein shall prevail over those in the GCC. |
| GCC 1.1 (i) | The Purchaser’s country is: India |
| GCC 1.1 (j) | The Purchaser is: The Chief Engineer, Hydrology Project, Nashik-422 004 (India) |
| GCC 1.1 (o) | The Project Site(s)/Final Destination(s) is/are: As per details given in Appendix A and drawings showing the locations of the proposed RTDAS stations (Figure 3to 10). |
| GCC 4.2 (a) | The meaning of the trade terms shall be as prescribed by Incoterms. If the meaning of any trade term and the rights and obligations of the parties thereunder shall not be as prescribed by Incoterms, they shall be as prescribed by: other internationally accepted trade terms. |
| GCC 4.2 (b) | The version edition of Incoterms shall be : Incoterms 2000 |
| GCC 5.1 | The language shall be: English |
| GCC 8.1 | For notices, the Purchaser’s address shall be: Attention: The Chief Engineer, Hydrology Project, Water Resources Department, Govt. of Maharashtra Address: Jalvidnyan Bhavan, Dindori Road, MERI Campus City: Nashik Pin Code: 422004 Country: India Telephone: +91 253 2530227 Facsimile number: +91 253 2530227 Electronic mail address:cehp.nashik@mahahp.org |
| GCC 9.1 | The governing law shall be the law of : India |
| GCC 10.2 | The rules of procedure for arbitration proceedings pursuant to GCC Clause 10.2 shall be as follows: “Clause 10.2 (a) shall be retained in the case of a Contract with a foreign Supplier/bidder and clause 10.2 (b) shall be retained in the case of a Contract with a national of the Purchaser’s country.” (a) Contract with foreign Supplier/ bidder: GCC 10.2 (a)—Any dispute, controversy or claim arising out of or relating to this Contract, or breach, termination or invalidity thereof, shall be settled by arbitration in accordance with the UNCITRAL Arbitration Rules as at present in force. (b) Contracts with Supplier/bidder national of the Purchaser’s country: In the case of a dispute between the Purchaser and a Supplier/bidder who is a national of the Purchaser’s country, the dispute shall be referred to adjudication or arbitration in accordance with the laws of the Purchaser’s country. |
| GCC 13.1 | Details of Shipping and other Documents to be furnished by the Supplier are a negotiable bill of lading, a non-negotiable sea way bill, an airway bill, a railway consignment note, a road consignment note, insurance certificate, Manufacturer’s or Supplier’s warranty certificate, inspection certificate issued by nominated inspection agency, Supplier’s factory shipping details etc. The above documents shall be received by the Purchaser before arrival of the Goods and, if not received, the Supplier/ bidder will be responsible for any consequent expenses. |
| GCC 15.1 | The prices charged for the Goods supplied and the related services performed shall not be adjustable. |
| GCC 16.1 | The method and conditions of payment to be made to the bidder under this Contract shall be as follows: Payment for Goods supplied from abroad: Payment of foreign currency portion shall be made in which the bid price is expressed. (i) Advance Payment: Ten (10) percent of the Contract Price shall be paid within thirty (30) days of signing of the Contract, and upon submission of claim and a bank guarantee for equivalent amount valid until the Goods are delivered, installed, tested, commissioned and accepted by the purchaser and in the form provided in the bidding documents or another form acceptable to the Purchaser. (ii) On Shipment: Sixty (60) percent of the Contract Price of the Goods shipped shall be paid through irrevocable confirmed letter of credit opened in favour of the Supplier in a bank in its country, upon submission of documents specified in GCC Clause 13. |
|  | (iii) On Acceptance: Thirty (30) percent of the Contract Price of Goods received shall be paid within thirty (30) days of receipt of the Goods, installed, tested, commissioned and upon submission of claim supported by the final acceptance certificate issued by the Purchaser. Payment of local currency portion shall be made in INR within thirty (30) days of presentation of claim supported by a certificate from the Purchaser declaring that the Goods have been delivered and that all other contracted Services have been performed. Payment for Goods and Services supplied from within the Purchaser’s country: Payment for Goods and Services supplied from within the Purchaser’s country shall be made in INR as follows: (i) Advance Payment: Ten (10) percent of the Contract Price shall be paid within thirty (30) days of signing of the Contract and against a simple receipt and a bank guarantee for the equivalent amount valid until the Goods are delivered, installed, tested, commissioned and accepted by the Purchaser and in the form provided in the bidding documents or another form acceptable to the Purchaser. (ii) On Delivery: Sixty (60) percent of the Contract Price shall be paid on receipt of the Goods and upon submission of the documents specified in GCC Clause 13. |

|  | (iii) On Acceptance: The remaining thirty (30) percent of the Contract Price shall be paid to the bidder within thirty (30) days upon submission of claim after the date of the final acceptance certificate for the respective delivery issued by the Purchaser. |
| --- | --- |
| GCC 16.5 | The payment-delay period after which the Purchaser shall pay interest to the bidder shall be thirty (30) days. The interest rate that shall be applied is London Inter-Bank On-Lending Rate (LIBOR) plus 2% for foreign currency; and 5% for local currency. |
| GCC 18.1 | A Performance Security shall be required. The amount of the Performance Security shall be: 10% (percent) of Contract Price. |
| GCC 18.3 | The Performance Security shall be in the form of : Bank Guarantee The Performance security shall be denominated in the currencies of payment of the Contract, in accordance with their portions of the Contract Price. |
| GCC 18.4 | Discharge of the Performance Security shall take place: 90 days after the completion of performance obligations under the contract including warranty obligations. |
| GCC 23.2 | The packing, marking and documentation within and outside the packages shall be: No additional requirements specified. |
| GCC 24.1 | The insurance coverage shall be as specified in the Incoterms. |
| GCC 25.1 | Responsibility for transportation of the Goods shall be as follows: The Bidder shall be responsible, at his costs, for loading, transporting, shipping and unloading of the equipments to be supplied under the contract from the point of manufacture to the delivery at his storage facility near Pune. The transportation of equipments to field locations as specified places of final destination within the Purchaser’s country for installation after the Receiving inspection shall also be the responsibility of the bidder. The bidder shall also be responsible for any storage of the equipments including insurance, and security during any interim period between supply and transportation to field locations for installation. The related all costs shall be included in the contract price. The Bidder shall provide such packing of the equipments as is required to prevent its damage or deterioration during transit to its final destination. |
| GCC 26.1 | The inspections and tests shall be as specified in the “Schedule of Requirements: Inspections and Tests” of the bid document. |
| GCC 26.2 | The inspections and tests shall be conducted at locations as specified in the “Schedule of Requirements: Inspections and Tests” of the bid document. |
| GCC 27.1 | The liquidated damage shall be: Half percent ( 0.5%) per week |
| GCC 27.1 | The maximum amount of liquidated damages shall be: Ten percent (10%) of contract price. |
| GCC 28.3 | The period of validity of the Warranty shall be: Twelve (12) months after the Final Acceptance of real time data acquisition system. For purposes of the Warranty, the place(s) of final destination(s) shall be as specified in sub-clause GCC 1.1 (o) and in SCC referring to GCC 1.1 (o) |
| GCC 28.5 | The period for repair or replacement shall be as follows: (i) For repair: Immediately upon notification (ii) For replacement: Maximum three (3) days. |

Section IX. Contract Forms

Table of Forms

1. Contract Agreement	188

2. Performance Security	188

3. Bank Guarantee for Advance Payment	188

1. Contract Agreement

[The successful Bidder shall fill in this form in accordance with the instructions indicated]

THIS CONTRACT AGREEMENT is made

the [ insert:  number ] day of  [ insert:  month ], [ insert:  year ].

BETWEEN

(1)	[ insert complete name of Purchaser ], a [ insert description of type of legal entity, for example, an agency of the Ministry of .... of the Government of { insert name of  Country of Purchaser }, or corporation incorporated under the laws of { insert name of  Country of Purchaser } ] and having its principal place of business at [ insert address of Purchaser ] (hereinafter called “the Purchaser”), and

(2)	[ insert name of Supplier ], a corporation incorporated under the laws of [ insert:  country of Supplier ] and having its principal place of business at [ insert:  address of Supplier ] (hereinafter called “the Supplier”).

WHEREAS the Purchaser invited bids for certain Goods and ancillary services, viz., [insert brief description of Goods and Services] and has accepted a Bid by the Supplier for the supply of those Goods and Services in the sum of [insert Contract Price in words and figures, expressed in the Contract currency(ies) ] (hereinafter called “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.	The following documents shall constitute the Contract between the Purchaser and the Supplier, and each shall be read and construed as an integral part of the Contract:

- This Contract Agreement

- Special Conditions of Contract

- General Conditions of Contract

- Technical Requirements (including Schedule of Requirements and Technical Specifications)

- The Supplier’s Bid and original Price Schedules

- The Purchaser’s Notification of Award

- [Add here any other document(s)]

3. 	This Contract shall prevail over all other Contract documents. In the event of any discrepancy or inconsistency within the Contract documents, then the documents shall prevail in the order listed above.

4.	In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the Goods and Services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

5.	The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the Goods and Services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the laws of [insert the name of the Contract governing law country] on the day, month and year indicated above.

For and on behalf of the Purchaser

Signed:	[insert signature]

in the capacity of [ insert  title or other appropriate designation ]

in the presence of [insert identification of official witness]

For and on behalf of the Supplier

Signed:	[insert signature of authorized representative(s) of the Supplier]

in the capacity of [ insert  title or other appropriate designation ]

in the presence of [ insert identification of official witness]

2. Performance Security

[The bank, as requested by the successful Bidder, shall fill in this form in accordance with the instructions indicated]

Date: [insert date (as day, month, and year) of Bid Submission]

ICB No. and title: [insert no. and title of bidding process]

Bank’s Branch or Office: [insert complete name of Guarantor]

Beneficiary: [insert complete name of Purchaser]

PERFORMANCE GUARANTEE No.:	[insert Performance Guarantee number]

We have been informed that [insert complete name of Supplier] (hereinafter called "the Supplier") has entered into Contract No. [insert number] dated [insert day and month], [insert year] with you, for the supply of [description of Goods and related Services] (hereinafter called "the Contract").

Furthermore, we understand that, according to the conditions of the Contract, a Performance Guarantee is required.

At the request of the Supplier, we hereby irrevocably undertake to pay you any sum(s) not exceeding [insert amount(s) in figures and words] upon receipt by us of your first demand in writing declaring the Supplier to be in default under the Contract, without cavil or argument, or your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This Guarantee shall expire no later than the [insert number] day of [insert month] [insert year], and any demand for payment under it must be received by us at this office on or before that date.

This guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 458, except that subparagraph (ii) of Sub-article 20(a) is hereby excluded.

[signatures of authorized representatives of the bank and the Supplier]

3. Bank Guarantee for Advance Payment

[The bank, as requested by the successful Bidder, shall fill in this form in accordance with the instructions indicated.]

Date: [insert date (as day, month, and year) of Bid Submission]

ICB No. and title: [insert number and title of bidding process]

[bank’s letterhead]

Beneficiary:	[insert legal name and address of Purchaser]

ADVANCE PAYMENT GUARANTEE No.: [insert Advance Payment Guarantee no.]

We, [insert legal name and address of bank], have been informed that [insert complete name and address of Supplier] (hereinafter called "the Supplier") has entered into Contract No. [insert number] dated [insert date of Agreement] with you, for the supply of [insert types of Goods to be delivered] (hereinafter called "the Contract").

Furthermore, we understand that, according to the conditions of the Contract, an advance is to be made against an advance payment guarantee.

At the request of the Supplier, we hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of [insert amount(s) in figures and words] upon receipt by us of your first demand in writing declaring that the Supplier is in breach of its obligation under the Contract because the Supplier used the advance payment for purposes other than toward delivery of the Goods.

It is a condition for any claim and payment under this Guarantee to be made that the advance payment referred to above must have been received by the Supplier on its account [insert number and domicile of the account]

This Guarantee shall remain valid and in full effect from the date of the advance payment received by the Supplier under the Contract until [insert date].

This Guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 458.

_____________________ 
[signature(s) of authorized representative(s) of the bank]

Figure 1 to 10 (Drawings)

Figure 1 - Map showing river basins of Maharashtra and Isohyets

Figure 2 - Index map showing Krishna & Bhima river basins in Maharashtra

Figure 6- Proposed RTDAS Network (Bhima Basin):  Rainfall Stations

Invitation for Bids (IFB)

Invitation for Bids (IFB)

| Country | : | India |
| --- | --- | --- |
| Project | : | India: Hydrology Project Phase-II |
| Loan Number | : | 4749 – IN |
| IFB Title | : | International Competitive Bidding (ICB) for Implementation of a real time data acquisition system (RTDAS) for the Krishna and Bhima river basins in Maharashtra |
| IFB Number | : |  |

1.	The Government of India has received a loan from the International Bank for Reconstruction and Development towards the cost of Hydrology Project Phase-II and it intends to apply part of the proceeds of this loan to payments under the ICB Contract no. HP II/MAHA (SW)/1 for Procurement of Goods and Related Services for supply, installation, testing, commissioning and maintenance of real time data acquisition system (RTDAS) for the Krishna and Bhima river basins in Maharashtra.

2.	The Chief Engineer, Hydrology Project, Nashik-422004 (India) now invites sealed bids from eligible and qualified bidders for Procurement of Goods and Related Services for Implementation of a RTDAS consisting of automated 149 rainfall stations, 42 full climate stations, 34 river water level stations, 46 reservoir water level stations, 8 gate opening measurement, design and establishment of data center at Pune (Maharashtra) including installation, testing, commissioning, civil work and operation and maintenance support for a period of 5 years. The completion period for this contract is 18 calendar months.

3.	Bidding will be conducted through the International Competitive Bidding (ICB) procedures specified in the World Bank’s Guidelines: Procurement under IBRD Loans and IDA Credits, and is open to all bidders from Eligible Source Countries as defined in the Guidelines.

4.	Interested eligible bidders may obtain further information from the Superintending Engineer, Hydrology Project Circle (Analysis), Jalvidnyan Bhavan, Dindori Road, MERI Campus, Nashik-422004 (India) and e-mail ID : sehpca.nashik@mahahp.org and inspect the Bidding Documents at the address given below from 1000 hrs to 1700 hrs (IST) from Monday to Friday excluding Government holidays from .…./.…./2010 to .…./.…./2010.

5. 	Qualification requirements are given in Section III of Bidding documents. A margin of preference for certain goods manufactured domestically shall not be applied. Additional details are provided in the Bidding Documents.

6.	A complete set of Bidding Documents in English may be purchased by interested bidders on the submission of a written Application to the address below and upon payment of a non refundable fee Rs. five thousand only (Rs. 5000/-).  The method of payment will be direct deposit to Assistant Superintending Engineer, Hydrology Project Circle (Analysis), Nashik, Account Number 30889197478 in State Bank of India, MERI Branch, Nashik-422004, IFS 	Code: SBIN0010376. The Bidding Documents will be sent by airmail for overseas 	delivery and surface mail for local delivery.

7.	Bids must be delivered to the address below at or before 1400 hrs (IST) on .…./.…./2010. Electronic bidding will not be permitted. Late bids will be rejected.  Bids will be opened in the presence of the bidders’ representatives who choose to attend in person at the address below at 1500 hrs (IST) on .…./.…./2010. All bids must be accompanied by a Bid Security of Rs. 1.25 Million (Rs. 1250 Thousands) or its equivalent in a freely convertible currency.

8. 	A pre-bid meeting with potential bidders will be held on .…./.…./2010 at            hrs. (IST) at the office of the Chief Engineer, Hydrology Project, Jalvidnyan Bhavan, Dindori Road, MERI Campus, Nashik-422004 (India) to clarify the issues and to answer questions on any matter that may be raised at that stage as stated in Clause ITB 7.2 of ‘Instructions to Bidders’ of the bidding document.

9.	The address referred to above is:

The Superintending Engineer,

Hydrology Project Circle (Analysis),

Jalvidnyan Bhavan, Dindori Road, MERI Campus,

Nashik, (India)

Pin Code: 422004

Tel:  +91-253-2533408

Fax:   +91-253-2533408

e-mail: sehpca.nashik@mahahp.org

# Footnotes

In this context, any action taken by a bidder, supplier, contractor, or any of its personnel, agents, subcontractors, sub-consultants, service providers, suppliers and/or their employees to influence the procurement process or contract execution for undue advantage is improper.

“Another party” refers to a public official acting in relation to the procurement process or contract execution.  In this context, “public official” includes World Bank staff and employees of other organizations taking or reviewing procurement decisions.

“Party” refers to a public official; the terms “benefit” and “obligation” relate to the procurement process or contract execution; and the “act or omission” is intended to influence the procurement process or contract execution.

“Parties” refers to participants in the procurement process (including public officials) attempting to establish bid prices at artificial, non- competitive levels.

“Party” refers to a participant in the procurement process or contract execution.

a A firm or an individual may be declared ineligible to be awarded a Bank-financed contract upon completion of the Bank’s sanctions proceedings as per its sanctions procedures, including inter alia: (i) temporary suspension in connection with an ongoing sanctions proceeding; (ii) cross-debarment as agreed with other International Financial Institutions, including Multilateral Development Banks; and (iii) the World Bank Group corporate administrative procurement sanctions procedures for fraud and corruption.

b A nominated sub-contractor, consultant, manufacturer or supplier, or service provider (different names are used depending on the particular bidding document) is one which either has been: (i) included by the bidder in its pre-qualification application or bid because it brings specific and critical experience and know-how that are accounted for in the evaluation of the bidder’s pre-qualification application or the bid; or (ii) appointed by the Borrower.

The amount of the Bond shall be denominated in the currency of the Purchaser’s country or the equivalent amount in a freely convertible currency.

“another party” refers to a public official acting in relation to the procurement process or contract execution].  In this context, “public official” includes World Bank staff and employees of other organizations taking or reviewing procurement decisions.

a “party” refers to a public official; the terms  “benefit” and “obligation” relate to the procurement process or contract execution; and the “act or omission” is intended to influence the procurement process or contract execution.

“parties” refers to participants in the procurement process (including public officials) attempting to establish bid prices at artificial, non competitive levels.

a “party” refers to a participant in the procurement process or contract execution.

The Bank shall insert the amount(s) specified in the SCC and denominated, as specified in the SCC, either in the currency(ies) of the Contract or a freely convertible currency acceptable to the Purchaser.

Dates established in accordance with Clause 18.4 of the General Conditions of Contract (“GCC”), taking into account any warranty obligations of the Supplier under Clause 16.2 of the GCC intended to be secured by a partial Performance Guarantee. The Purchaser should note that in the event of an extension of the time to perform the Contract, the Purchaser would need to request an extension of this Guarantee from the Bank.  Such request must be in writing and must be made prior to the expiration date established in the Guarantee. In preparing this Guarantee, the Purchaser might consider adding the following text to the Form, at the end of the penultimate paragraph:  “We agree to a one-time extension of this Guarantee for a period not to exceed [six months] [one year], in response to the Purchaser’s written request for such extension, such request to be presented to us before the expiry of the Guarantee.”

The bank shall insert the amount(s) specified in the SCC and denominated, as specified in the SCC, either in the currency(ies) of the Contract or a freely convertible currency acceptable to the Purchaser.

Insert the Delivery date stipulated in the Contract Delivery Schedule. The Purchaser should note that in the event of an extension of the time to perform the Contract, the Purchaser would need to request an extension of this Guarantee from the bank.  Such request must be in writing and must be made prior to the expiration date established in the Guarantee. In preparing this Guarantee, the Purchaser might consider adding the following text to the Form, at the end of the penultimate paragraph:  “We agree to a one-time extension of this Guarantee for a period not to exceed [six months][one year], in response to the Purchaser’s written request for such extension, such request to be presented to us before the expiry of the Guarantee.”

# Text boxes

Figure 5- Proposed RTDAS Network (Krishna Basin): Rainfall Stations